(A Govt. of India Enterprises)

(CIVIL WING)

O/o Sub-Divisional Engineer (Civil), BSNL Civil SubDivision-I,  SOLAN (HP)

TENDER

FOR

THE  WORK  OF

Day to day  Mntc. of BSNL Building Under the jurisdiction of BSNL Civil Sub-Division-I Solan(H.P) for the year 2016-17 ( Period from July 2016 to September 2016)

(A Govt. of India Enterprises)

(CIVIL WING)

O/o Sub-Divisional Engineer (Civil), BSNL Civil Sub- Division-I,  SOLAN (HP)

NAME OF TENDERER :       	……………………………………….

NAME   OF WORK Day to day  Mntc. of BSNL Building Under the jurisdiction of BSNL Civil Sub-			    Division-I Solan(H.P) for the year 2016-17 ( Period from July 2016 to September 				2016)

I N D E X

| S. No. | DETAILS | PAGES |
| --- | --- | --- |
|  |  | FROM | TO |
|  | Cover Page | 1 | 1 |
|  | Index | 2 | 2 |
|  | Notice Inviting Tender (BSNLW-6) | 3 | 9 |
|  | Application form | 10 | 10 |
|  | Important instructions | 11 | 12 |
|  | Declaration to be given by the tenderers who have downloaded the tender document from the web | 13 | 13 |
|  | Checklist, Eligibility Credentials for enclosures (to be placed in envelope no. 1) | 14 | 14 |
|  | Abridged form BSNL W- 8 | 15 | 16 |
|  | Performa of Schedules ‘A’ TO “F”, General Rules and Directions | 17 | 21 |
|  | Amendments to Clause 37 & 38 and General Rules & Directions of GCC 2006 | 22 | 23 |
|  | Particular specifications of work | 24 | 30 |
|  | Performa of Agreement, Form of Performance Security Bank Guarantee Bond and Affidavit | 31 | 34 |
|  | Schedule of quantity | 35 | 39 |

This N.I.T. contains 39(Thirty Nine) pages only marked as 1 to 39.

SUB DIVISIONAL ENGINEER (C),

BSNL CIVIL SUB DIVISION-I, SOLAN(HP).

(Government of India Enterprise)

(CIVIL WING)

OFFICE OF THE

SUB DIVISIONAL ENGINEER (Civil), BSNL CIVIL SUB DIVISION-I,

T.E.COMPOUND, The Mall Solan-173212.

NOTICE    INVITING   TENDER

NIT No: EE/BSNL/CD/SOL/2016-17/07           				           Dated:20.06.2016

1.0 Item rate tenders are invited on behalf of the BSNL, from approved and eligible contractors of D.O.T./ B.S.N.L. (Civil Wing), DOP, MES, CPWD, Railways and State PWD (B&R) of appropriate class for the work of:-

| Name of work | Estimated Cost Rs. | E.M.D. Rs. | Period of Completion |
| --- | --- | --- | --- |
| Day to day Mntc. of BSNL Building Under the jurisdiction of BSNL Civil Sub- Division-I Solan(H.P) for the year 2016-17 ( Period from July 2016 to September 2016) | 50,982/= | 1,020/= | 3.0[Three) Months |

1.0       The work is estimated to Cost - Rs.  50,982/- ( Rs Fifty Thousand Nine  Hundred and Eighty two only)

  - Tenders will be issued to eligible contractors provided they produce proof of their valid enlistment with the appropriate authority. Applicant shall submit valid registration document. The attested copies of certificates, testimonials and satisfactory completion certificates of works, from the department concerned, obtained from an officer not below the rank of Executive Engineer, in charge of work, shall be submitted while applying for participation in tender / issue of tender forms for the work. He / they shall submit attested copies of Sales tax / VAT registration Certificate issued by concerned department of Govt. of Himachal Pradesh & Service Tax registration Certificate (if applicable) issued by the Central Excise Department Govt. of   India , on acceptance of tender along with Performance Guarantee. In the event of failure on the part of contractor (whose tender is accepted ) to furnish the documents pertaining to Sales Tax / VAT registration Certificate & Service Tax registration Certificate (if applicable)  along with Performance Guarantee within Stipulated Period, the earnest money will be forfeited and tender cancelled.

    - Criteria of eligibility for issue of tender documents for non-BSNL registered contractors Of Public Works Organizations like CPWD, State PWD (B&R), DOP, MES & Railways only.

      - for works upto Rs. 7 lakhs-NIL.

1.2.1.2     The applicant should have completed works as per details below during the last 7 (seven) years ending last day of the month previous to the one in which the tenders are invited.

- Three similar completed works costing not less than 40% of the estimated cost  	                                   Or

- Two similar completed works costing not less than 50% of the estimated cost

or

- One similar completed works costing not less than  80% of the estimated cost

- Agreement shall be drawn with the successful Tenderer on prescribed Form No. BSNL W-8, which is available as a BSNL Publication /BSNL Web site www.hp.bsnl.co.in/circle Tenderer shall quote his rates as per various terms and conditions of the said form, (In case “Tender documents” are downloaded form the BSNL Website in which rates are to be quoted should be properly bound and sealed) which will form part of the agreement.

.

3.0	The time allowed for carrying out the work will be 3.0[Three ] Months  from the 7th (Seventh) day after the date of issue of letter of award of work , or,   from the first day of handing over of the site, which

ever is later, in accordance with phasing, if any, indicated in the Tender Document.

4.0	 The site for the work shall be made available at the time of execution.

5.0	The last date of receipt of application for issue of Tender forms (in prescribed format  can also be downloaded from BSNL web site  “www.hp.bsnl.co.in /circle”  and date of issue of tender forms  will be as follows:

i)  	Last date of receipt of application – 25.06.2016  upto  16.00 Hrs.

ii) 	Last date of issue of tender forms – 27.06.2016 upto 16.00 Hrs.

6.0    Tender documents consisting of plans, specifications, the schedule of quantities of the various    classes of work to be done and set of terms and conditions of the contract to be complied with by the Contractor whose tender may be accepted and other necessary documents, can either be downloaded from the BSNL website “www.hp.bsnl.co.in/circle” or be seen in the office of the Sub Divisional Engineer[C], BSNL CIVIL Sub DIVISION-I ,  SOLAN  (HP)  between 1100 hours. & 1600  hours  from  21.06.2016. to 25.06.2016 everyday except on  Sundays and Public  Holidays. Tender documents, excluding standard form, will be issued from his office, during the  hours specified above on  payment of the following:

i) Rs. 171/= (Rs.One Hundred and Seventy One Only) i/c Sale Tax as cost of tender (Non refundable) in cash or Demand Drafts /Pay Orders of a Scheduled Bank drawn in favour of Accounts Officer (Cash),O/o GMTD Solan (HP), payable at Solan (HP).

ii) The tender shall be accompanied by Earnest Money of Rs. 1,020/= (Rs.One Thousand Twenty Only)/=  in cash  (up to Rs. 2500/= Only) / Bankers  Cheque / deposit at Call receipt of a Scheduled Bank / fixed deposit receipt of a scheduled bank / demand draft of a scheduled bank issued in favour of  Accounts Officer, O/O GMTD SOLAN  (HP), payable at SOLAN (HP). When amount of Earnest money is more than Rs. 5 Lakhs, part of the earnest money is acceptable in the form of Bank Guarantee also. In such case, minimum 50% of Earnest Money (but not less than Rs. 5 Lakhs) or Rs. 25 Lakhs, whichever is less, will have to be deposited in the shape prescribed above. For balance amount of earnest money, bank guarantee will also be acceptable.

Note:- Money due to contractor in any other work or Earnest Money of the previous call of the same work shall not be adjusted towards Earnest money. The ‘Cost of Tender’ and ‘Earnest Money’ should be submitted through separate instruments.

7.0  Tenders, which should always be placed in  sealed envelope, in the manner detailed at para 9 below, will be received by the SUB DIVISIONAL ENGINEER, BSNL CIVIL SUB DIVISION-I,  SOLAN up to 1500 Hrs. on  28.06.2016  and will be opened by him or his authorised representative in his office on the same day at 1530 Hrs., if the eligibility credentials of all tenderers in envelope-1 are found in order. If the eligibility credentials are required to be clarified/verified, then the envelope-2 of all tenderers containing the tender document will be opened on later date to be intimated at the time of opening of tender. After opening the main envelope-3, the envelope-1 containing the Earnest  money along with the cost of the tender as applicable and eligibility credentials shall be opened  first. The envelope-2 containing tender shall  be opened  only for those tenderers whose Earnest  Money, Cost of tender and eligibility is found in order . The unopened tenders shall be returned  to the tenderers after the final decision on  the tender is reached.

8.0  The description of the work is as follows:- : Day to day  Mntc. of BSNL Building Under the jurisdiction of BSNL Civil Sub-  Division-I Solan(H.P) for the year 2016-17 ( Period from  July 2016 to September 2016).

- Submission of tender :

Tender shall be submitted in following manner:

  - In case the tender document is down loaded form BSNL website.

    - “Earnest Money( In the form as  mentioned at Sr. No. -6 (i), Cost of Tender document (Rs. 171/= in form of Demand Draft from Scheduled Bank in favour of Accounts Officer,) O/O GMTD SOLAN  (HP, Application form, Declaration, Eligibility credentials as mentioned in Check List and Check list duly signed” shall be placed in sealed envelope-1 marked “Earnest Money plus cost of Tender and eligibility credentials”.

    - The “Tender” shall be placed in sealed (wax sealed / adhesive tape sealed) envelope-2 and will be superscripted as “Tender”

    - The sealed envelope No. 1, & 2 as above containing “Earnest Money plus cost of Tender, Eligibility Credentials”, and the “Tender” shall be placed in another sealed (wax sealed / adhesive tape sealed) envelope-3.

    - All the three envelopes shall be superscripted with following data on it.

- Name of work.

- Name of tenderer.

- Last date of receipt of tender.

  - In case tender document is purchased form Sub  Division office.

    - Proof for paying the cost of tender documents, proof of payment of EMD and copies of documents showing eligibility credentials to be placed in sealed (wax sealed / adhesive tape sealed) envelope No.-1.

    - Envelope No.- 2 will be as per Para 9.1.2.

    - The sealed envelopes 1&2 shall be placed in another sealed (wax sealed / adhesive tape sealed) envelope No.-3.

    - Same as 9.1.4.

Note:	In case the eligibility credentials are not found in order at any stage i.e. before award of work or during execution of the work or after completion of the work, the contractor will be debarred from tendering in BSNL for three years including any other action under the contract or existing law.

9.3    The tender in which rates/percentage are to be quoted should be properly bound and wax sealed (wax sealed / adhesive tape sealed). Loose/spiral bound submission (in case the tender is down loaded from website) shall be rejected out rightly. In case of any correction/addition/alteration/omission in tender document vis-à-vis tender document available on website shall be treated as non-responsive and shall be summarily rejected.

10.0	Copies of other drawings and documents pertaining to the work will be open for inspection by the tenderers at the office of the above mentioned officer.

10.0.1 Tenderers  are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and subsoil (so far as is practicable), the form and nature of the site, the means of access to the site, The accommodation they may require and in general, shall themselves obtain all Necessary information as to risks, contingencies and other circumstances which may influence or affect their tender. A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed. The tenderer shall be responsible for arranging and maintaining at his own cost all materials tools & plants, water, electricity, access facilities for workers and on all other services required for executing the work unless otherwise specifically provided for in the contract documents. Submission of  tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant, etc. will be issued to him by the BSNL and local conditions and other factors having a bearing on the execution of the work.

11.0   The competent authority on behalf of BHARAT SANCHAR NIGAM LIMITED does not bind    himself to accept the lowest or any other tender, and reserves to himself the authority to reject any or all of the tenders received without the assignment of a reason. All tenders, in which any of the prescribed conditions is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer, shall be summarily rejected.

12.0   Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable to rejection.

13.0  The competent authority on behalf of the BHARAT SANCHAR NIGAM LIMITED reserves with himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to Perform the same at the rate quoted.

14.0   The company or firm or any other person shall not be permitted to tender for works in BSNL Civil Zone in which his near relative (s) (directly recruited or on deputation in BSNL) is/are posted in Any capacity either non executive or executive employee. Near relative (s) for this purpose is/are defined as:

- Member of Hindu Undivided family (UHF).

- They are Husband and Wife.

(iii) The one is related to other in the manner as father, mother, son (s) & Son’s wife (Daughter-in-law), Daughter (s), Daughter’s husband (son-in-law), brother (s), Brother’s wife, sister (s), sister’s husband (brother-in-law).

The contractor shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relative to any executive employee/gazetted officer in the BSNL or Department of Telecom or in the Ministry of Communications.

All the intending tenderers will have to give a certificate that none of his / her such near relative ________ (s) as defined above is/are working in the concerned BSNL Civil Zone where he is going to apply for tender/work. The format of the certificate is as under:-

“I,_______________ S/o Shri _________________ Resident of ________________________ hereby certify that none of my relative (s) as defined above is/are employed in concerned BSNL Civil Zone. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me”.

The certificate in case of Proprietorship Firm shall be given by the proprietor; for Partnership Firm certificate shall be given by all partners and in case of Limited Company, by all Directors of the company. However, Government of India/Financial Institutions nominees and independent nonofficial part time Directors appointed by Govt. of India or the Governor of the State are excluded from the purview of submission of this certificate while submitting tenders by Limited Companies.

Any breach of these conditions by the Company or Firm or any other person, the tender/work will be cancelled and Earnest Money/ Security Deposit will be forfeited at any stage, whenever it is so noticed. BSNL will not pay any damages to the company or Firm or the concerned person but damages arising on account of such cancellation to be borne by the contractor. The Company or Firm or the person will also be debarred for further participation in the tender in the concerned BSNL Civil Zone. Further, any breach of this condition by the tenderer would also render him liable to be removed from the approved list of contractors or BSNL. If however the contractor is registered in any other Department he shall also be debarred from tendering in BSNL for any breach of this condition

15.0	No Engineer of Gazetted rank or other Gazetted Officer employed in engineering or administrative duties in an Engineering Department of the Government of India/State Government or PSU’s is allowed to work as a contractor for a period of two years after his retirement from Govt. service, without previous permission of the Govt. of India or BSNL in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found any time to be such a person who had not obtained the permission of the Govt. of India/State Government or PSU’s as aforesaid before submission of the tender or engagement in the contractor’s service.

16.0	 The tender for the work shall remain open for acceptance for a period of 30 (Thirty)  days from the date of opening of the tenders. If, any tenderer withdraws his tender before the said period or issue of letter of acceptance / intent, whichever is earlier, or, makes any modifications in the terms and conditions of the tender which are not acceptable to the BSNL, then the BSNL shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.

17.0 	In case of works having estimated cost below Rs.15,00,000/, the successful tenderer shall be required to execute an agreement with the Engineer-in-charge in the performa annexed to the tender document, within 15 days of the issue of letter of award by the BSNL. In the event of failure on the part of the successful tenderer to sign the agreement, the earnest money will be forfeited and tender cancelled. In case of works of estimated to cost Rs.15,00,000/ and above, the successful tenderer shall, upon issue of letter of acceptance of Tender, shall be required to furnish Performance Guarantee @ 5% of the tendered value in the form of irrevocable Bank Guarantee of requisite amount to the Engineer in charge in the Performa annexed to the tender document,  with in 15 days of the issue of letter of acceptance of Tender by the BSNL. In the event of failure on the part of the successful tenderer to furnish the Bank Guarantee within 15 days, the earnest money will be forfeited and tender cancelled.

18.0   This Notice Inviting Tender (BSNL W6) shall form a part of the contract Document. In accordance with clause 1 of the contract, the letter of acceptance shall be issued first in favour of the successful Tenderer /  contractor. After submission of the performance guarantee, the letter of award shall be issued.  The contract shall be deemed to have comes into effect on issue of letter of acceptance of the tender. On issue of letter of award, the successful Tenderer /  Contractor shall, with in 15 days from such date, formally sign the agreement consisting of:-

a) The Notice Inviting Tender, all the documents including additional conditional conditions,    specifications and drawings, if any, forming part of the tender, and, as issued at the time of 	invitation of tender and acceptance thereof to gether with any correspondence leading thereto.

b) Standard BSNL W-8 as on  website “www.hp.bsnl.co.in/circle”

c) Agreement signed on non judicial stamp paper as per Performa annexed to the tender document.

19.0   Payment to the contractors shall be made through e-payment system like ECS & EFT as detailed below:-

(a) In cities/areas where ECS/EFT facility is provided by Banks, the tenderer must have Account in  such ECS/EFT facility providing Banks and that Bank A/c No shall be quoted in the tender by the    tenderer.

(b) The cost of ECS/EFT will be borne by BSNL in all cases where the payment to contractor is made in a local Branch i.e. tenderer is having bank account in the same place from where the payment is made by BSNL unit.

(c) In case payment is made to outside branch i.e. tenderer is having back account not in the same place form where the payment is made by BSNL unit, the crediting cost will have to be borne by the tenderer only.

(d) The payments to contractors will compulsorily be made through ECS/EFT in respect of all contracts where the value of the contract is more than Rs.10 lakhs.

20.0 	First running account bill shall be paid only after

(a) Signing of the Agreement / Contract by both the parties, and

(b) Progress chart has been prepared as required under Clause 5 and approved by the competent authority.

21.0 	If a contractor after purchasing the tender does not quote consecutively on three occasions, the contractor may be debarred for further purchase of tenders for a period of  Six months.

22.0	General conditions of contract for works in BHARAT SANCHAR NIGAM LIMITED are available on website “www.hp.bsnl.co.in/circle"  as well as in the Divisional Office.

23.0   	The tenderer shall furnish a declaration to this effect (In case of downloaded tender) that no addition / deletion /correction have been made in the tender document submitted and it is identical to the tender document appearing on website. Every page of down loaded tender shall be  signed  by the tender with stamp (seal) of his firm / organization.

24.0 	The tenderer to be note that the rates quoted should be inclusive of all taxes and levies including service tax up to the extent mentioned in schedule F under clause 37(i)  excluding EPF & ESI contribution paid to the contract workers {employer share})  and all other taxes of Central / HP State Government with loading, unloading and transportation etc. The rates shall be firm and final. Nothing extra shall be paid on any account.

25.0	The contractor shall have to fully abide by the relevant provision of Employee’s Provident Fund and Miscellaneous Provisions Act 1952,  amended from time to time and they have to obtain and produce EPF registration within one month of award of work. First payment shall be made to the contractor only when he submits his valid EPF registration.

26.0  The Contractor will submit computerised measurement books and bill in duplicate for all running and final bills and nothing extra shall be paid on this account.

27.0	There is clause 46 for insurance which is to be complied by the contractor.

28.0	If a contractor fails to start the work within 7 days after stipulated date of start or after handing over of clear site which ever is later, then his EMD & PG shall liable to be forfeited and tender cancelled.

29.0   If there happens to be holiday on any dates mentioned above then the transactions will be made on next working day.

Signature:-

Name:-  Er. Janak Raj Sharma

SUB DIVISIONAL ENGINEER (C),

BSNL CIVIL SUB DIVISION-I , SOLAN (HP).

For & on behalf of

BSNL

NIT No :EE/BSNL/CD/SOL/YEAR 2016-17/07    Dated:- 20 -06 -2016

No:	1(100)SDE/BSNL/CSD-I/SOL/					Date:-        -06  -2016

1.	Notice Board in   Sub-Division office, Solan (HP).

2. 	The Chief General Manager (BSNL) HP, Telecom Circle , Block No-11, S.D.A 					complex Kasumpti,  Shimla-9

3. 	The Chief Engineer (Civil) , BSNL , HP Civil Zone , Phase -1, Sector –II , New 					Shimla,	Shimla-	9 (HP).

4-5.	The Superintending Engineer (C), BSNL,  Civil Circle-I & II, Phase-1, Sector-II,  New Shimla, Shimla -9.

6-7  	The Chief Engineer (Civil), & S.E (Civil), BSNL, Telephone Exchange, Bhawan, IIIrd. Floor, Sector-17,  Chandigarh.

8-10	The Executive Engineer (C), BSNL, Civil Division, Shimla / Dharamshala / Sunder Nagar (HP).

11-13	The A.O /  D/Branch / Auditor, BSNL Civil Division, BCS, Shimla (HP).

14.	The Executive Engineer (C), BSNL, Civil Division-II, SCO-359 / 360, IInd. Floor, 					Sector-	44-D,  Chandigarh.

15.	The S.E (Elect), BSNL, Telecom Electrical Circle, Paranav Niwas BCS, Shimla-9 					(HP).

16-22.	The SDE (C), BSNL Civil Sub Divisions, Dharamshala, Chamba,  Hamirpur, Sunder 				Nagar,  Kullu,  Bassi and Mandi.

23.	The General Manager  (TD), Block No-35, SDA Complex , Kasumpti  Shimla  (HP).

24.	The General Manager (Mobile) BSNL, T.E Bldg, Boundary Estate Chhota Shimla, 				(HP).

25 	The General Manager  (TD) , BSNL, Saproon Solan (HP).

26         The  Executive Engineer (Elect.) , BSNL ,Electrical Division , Khalini, Shimla-2 (HP).

27.	The E.E (C), Postal Civil Division, SDA Complex , Shimla.

28-32	The SDE (C) BSNL , Civil Sub. Division – I , II , Shimla / Solan / Nahan, Una & 					Bilaspur.

33-34	The S.E ( C)  & Executive Engineer  (C) , CPWD , Civil Division, Kendy Cottage 					Shimla	-4, (HP).

35         The Chief Engineer (C), (NZ-1) CPWD, Kendarya  Sadhan , Sector -9-A, Chandigarh.

36-37    The  E. E (C) PWD (B&R) & E.E ( C)  (N&H), Civil Division-I & III,  Winter  Field , 					Shimla   (HP).

38.	The. E.E. (C), PWD (B&R)  Civil Division-II,  Chaura Madan The Mall Shimla (HP)

39-40. 	The. S.E (C), Railway, Ambala & The  A.E (C ) , Railway Shimla  (HP).

41.	The Chief Engineer (C), PWD (B&R) US Club, The Mall Shimla (HP).

42-43.	The S.E (C) & E.E ( C), CPWD,  Civil Division,  Chaura madan  Shimla (HP).

44. 	The All India Radio, Chaura madan, The Mall Shimla (HP).

45 	The CEO cum Secretary , Him Huda, Nigam Vihar Shimla-II, (HP).

46.	The Hony. Secretary, Central Builders Association, 44 Regal Building , New Delhi.

47.	The CPWD Contractor Association, I.P. Bhawan, New Delhi.

48.	The Indian Contractors and Builder Association , G-*0/ 207, Mai, bazaar, Lakshmo 				Nagam , Delhi- 1100002.

49.	The Secretary , Builder Association of India G-1/G-20, Commerce Centre, 7 th Floor , . 				Dadajee  (TARDEO) Road TARDEO, Mumbai- 400034.

SUB DIVISIONAL ENGINEER (C),

BSNL CIVIL SUB DIVISION-I , SOLAN (HP).

(A Govt. of India Enterprises)

(Civil Wing)

SUB DIVISIONAL ENGINEER (Civil), BSNL CIVIL SUB DIVISION-I,

T.E.COMPOUND, The Mall Solan-173212.

APPLICATION FORM

To

The Sub Divisional Engineer (C),

BSNL Civil Sub Division-I,

Solan (HP).

Sub:  	Submission of application for the work of:- Day to day  Mntc. of BSNL Building Under the jurisdiction of 						BSNL Civil Sub- Division-I Solan(H.P) for the year 2016-17 ( 						Period from  July 2016 to September 2016).

Ref :		Your NIT no EE/BSNL/CD/SOL/2016-17/07.     Dated  20 .06.2016.

Sir,

I/We am/are registered with the BSNL, DOP, CPWD, MES, Railways, HP State PWD (B&R) as Class ……  .. contractor and my Registration No. is ……… ………….. ………….. ……………. ……………… I am eligible to submit tenders for works costing up to Rs. ………………Lakhs. The proof of having completed the works of requisite magnitude as per NIT condition from appropriate authority is enclosed herewith.

I/We am/are submitting the application for and behalf of Central/State Govt. undertaking. The proof of having completed the works of requisite magnitude as per NIT condition from appropriate authority is enclosed herewith.

I/We am/are eligible to submit tenders as specialized agency. The proof of having completed the works of requisite magnitude as per NIT condition from appropriate authority is enclosed herewith.

I/We…………….………………………..…..s/o Sh…………………….…………. Resident of …………………..…………………………………hereby certify that none of my relative (s) as defined in para ‘14’ of BSNL W6 is/are employed in concerned BSNL Civil Zone. In case at any stage, it is found out that information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me.

It is certified (confirmed) that this registration is valid as on date and I shall inform the department myself as soon as my registration expires or is cancelled/revoked.

It is requested that we may be allowed to take part in the tendering (Financial bid).

Yours Faithfully,

Date: …………………

Place: ………………...

(Contractor)

Name…………………

Address..……………..

Contact Phone No.:.

IMPORTANT INSTRUCTIONS TO ALL TENDERERS

All tenderers should read the following important instructions carefully before actually quoting rates:-

- The tenderer should read carefully & understand Tender form BSNL W-8, Bharat Sanchar Nigam Limited “General Conditions of Contract for Civil Works (2006) with up to date correction slips no. 1 to 5, schedule of quantity etc. before quoting for the work.

- The schedule of items, estimated cost etc in this contract are based on CPWD DSR 2013 and CPWD specifications 2009, Volume I & II with up to date correction slips.

- The tenderers who have downloaded the tender document from the web, should read the important instructions & declaration given in pages ‘10’, ‘11’ & ‘12’ carefully before submitting the tender.

- All the eligibility credentials submitted by the intending tenderers must be duly self attested.

IMPORTANT INSTRUCTIONS TO TENDERERS WHO HAVE DOWNLOADED THE TENDER DOCUMENT FROM WEB

The tenderers, who have down loaded the tenders from web, should read the following important instructions carefully before actually quoting rates & submitting the tender documents:-

1. The tenderer should see carefully & ensure that the complete tender document including schedule of quantity as per the index given on page ‘2’ has been down loaded and there are as 1 to 39 ( Thirty Nine ) pages only in the tender document.

2. The printout of tender document should be taken on 12” paper only & the printer settings etc. are such that document is printed as appearing in the web & there is no change in formatting, number of pages etc.

3. The tenderer should ensure that no page in the down loaded tender document is missing.

4. The tenderer should ensure that all pages in the down loaded tender document are legible, clear and are printed on a good quality paper.

5. The tenderer should ensure that every page in the down loaded tender document is signed by tenderer with stamp (seal).

6. On page 2 of the down loaded tender document, the name of the tenderer should be filled by the tenderer.

7. The tenderer should ensure that the down loaded tender document is properly bound and sealed (wax sealed/adhesive tape sealed) before submitting the same.

8. The loose/spiral bound tenders, not properly sealed shall be rejected out-rightly.

9. In case of any correction/addition/alteration/omission in the tender document, it shall be treated as non-responsive and shall be rejected.

10. The tenderer shall furnish a declaration to this effect that no addition/deletion/corrections have been made in the tender document submitted and it is identical to the tender document appearing on web site.

11. The tenderer should read carefully & sign the declaration given on the next page before submitting the tender.

12. The cost of tender should be submitted along with the EMD as detailed in NIT.

13. In case of any doubt in the down loaded tender, the same should be got clarified from the o/o Executive Engineer (Civil) BSNL Civil Division, Solan before submitting the tender.

(DECLARATION TO BE GIVEN BY THE TENDERERS WHO HAVE DOWNLOADED THE TENDER DOCUMENT FROM THE WEB)

It is to certify that

1	I / We have submitted the tenders in the Performa as downloaded directly from the website & there is no change in formatting, number of pages etc.

2.	I / We have submitted tender documents which are same / identical as available in the website.

3.  	I / We have not made any modifications / corrections / additions /deletions etc. in the tender documents downloaded from web by me / us.

4.	I / We have checked that no page is missing and all pages as per the index are available & that all pages of tender document submitted by us are clear and legible.

5.	I / We have signed (with stamp) all the pages of the tender document before submitting the same.

6.	I / We have sealed the tender documents by wax /adhesive tape properly before submitting the same.

7.	I / We have submitted the cost of tender along with the EMD and all Credentials.

8.	I / We have read carefully and understood the important instructions to the all tenderers who have downloaded the tenders from the web.

9.  	In case  at any stage later, it is found that there is difference in our downloaded tender documents from  the original, BSNL shall have the absolute right to  take any action as deemed fit without any prior intimation to me / us.

10.	In case at any stage later, it is found that there is difference in our downloaded tender documents from the original, the tender / work will be cancelled and Earnest Money / Performance guarantee/ Security Deposit will be forfeited at any stage whenever it is so noticed. The department will not pay any damages to me / us on this account.

11.	In case at any stage later, it is found that there is difference in our downloaded tender documents from the original, I / We may also be debarred for further participation in the tender in the concerned BSNL Civil  Zone and would render me / us liable to be removed from the approved list of contractors of the Department.

Dated…………………..

(CONTRACTOR)

(SIGN WITH SEAL)

ADDRESS:  . . . . . . . . .

PHONE NOS.: . . . . . . .

Mobile –

CHECK  LIST

Eligibility Credentials for enclosures ( To be placed in envelop No-1 )

Please check that the following documents have been enclosed along with the application:-

| Sr. No. | Document | Attached * | No. of sheets |
| --- | --- | --- | --- |
|  | Attested copy of the registration/ enlistment with BSNL and contractors registered with other public works organisations like CPWD, State PWD (B&R), DOP, MES, and Railways. | Yes / No |  |
|  | Attested copy of the service tax registration with central excise department. | Yes / No |  |
|  | Attested copy of the sales tax /VAT registration, with HP state excise department. | Yes / No |  |
|  | The proof of having completed the works of requisite magnitude as per NIT condition from appropriate authority. | Yes/No |  |
|  | Attested Copy of partnership deed in case of partnership firm and Article & Memorandum of Association and certificate of incorporation in case of a company. | Yes / No /NA |  |
|  | Attested copy of Power of Attorney of signatory of the Tender/ Attested copy of proof of authority to sign the tender. | Yes / No |  |
|  | Tender fee as detailed in the Notice Inviting Tender has been enclosed. | Yes / No |  |
|  | Earnest money as detailed in the Notice Inviting Tender has been enclosed. | Yes / No |  |
|  | Application for participation in tender along with declaration regarding relatives as per para ‘14’ of BSNL - W6 has been enclosed. | Yes / No |  |
|  | Declaration to be given by the tenderers who have downloaded the tender document from the web has been enclosed. | Yes / No |  |
|  | All the pages of application and enclosures have been duly numbered and signed by authorized signatory. | Yes / No |  |

(* Strike out inapplicable portion)

Date: ……………

Place…………..

Signature of Applicant

ABRIDGED   FORM    BSNL    W - 8

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

| STATE — HIMACHAL PRADESH |  | CIRCLE - SHIMLA-I |
| --- | --- | --- |
|  |  | DIVISION - SOLAN |
| ZONE — H.P. |  | SUB DIVISION -II SOLAN. |

# Item Rate Tender & Contract for Works

Tender for the work of:  - Day to day  Mntc. of BSNL Building Under the jurisdiction of BSNL Civil Sub-				Division-I Solan(H.P) for the year 2016-17 ( Period from July 2016 to September 2016)

- To be submitted by  1500  hours  on 28.06.2016 to THE SUB DIVISIONAL ENGINEER (C), BSNL CIVIL SUB DIVISION-I, SOLAN in his office  T.E Compound, The Mall, Solan (H.P).

- To be opened in presence of tenderers who may be present at 1530 hours  on 28.06.2016 in the office of THE SUB-DIVISIONAL ENGINEER (C), BSNL CIVIL SUB DIVISION-I, SOLAN, if the eligibility credentials of all tenderers in envelope-1 are found in order. If the eligibility credentials are required to be clarified / verified, then the envelope-2 of all tenderers containing the tender document will be opened on later date to be intimated at the time of opening of tender.

Issued to           			 :    ……………………………………………………..

(Contractor)

Signature of officer issuing the documents 	:    …………………………..

Designation   					:    …………………….. ………….

Date of Issue  					:   ………………………………….

# T  E  N  D  E  R

I / We have read and examined notice inviting tender, schedule, A, B, C, D, E & F, specifications applicable, Drawings & Design, General Rules and Directions, Conditions of Contract, Clauses of Contract, Special conditions, Schedule of Rate & other documents and Rules referred to in the Conditions of Contract and all other contents in the tender document for the work.

I / We hereby tender for the execution of the work specified for the Bharat Sanchar Nigam Limited within the time specified in schedule ‘F’, viz., schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and Directions and in Clause 11 of the Conditions of the contract and with such materials as are provided for, by and in respect in accordance with, such conditions so far as applicable.

I / We agree to keep the tender open for   30 days from the due date of submission thereof and not to make any modifications in its terms and conditions. If I / we withdraw my / our tender before the said period or issue of letter of acceptance / intent, whichever is earlier, or, makes any modifications in the terms and conditions of the tender which are not acceptable to the BSNL, then the BSNL shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid. A sum of Rs. 1020 /= (Rs. One thousand thirty One Only) has been deposited in prescribed manner as earnest money. If I/we fail to furnish the prescribed Performance Guarantee within prescribed period, I/we agree that the B.S.N.L shall without prejudice to any other right or remedy be at liberty to forfeit the said Earnest Money absolutely. Further if I / We fail to commence the work specified I / We agree that the said Bharat Sanchar Nigam Limited shall without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money and Performance Guarantee absolutely otherwise the said earnest money shall be retained by competent authority on behalf of B.S.N.L towards Security Deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and carry out such deviations as may be ordered, upto maximum of the percentage mentioned in Schedule ‘F’ and those in excess of that limit at the rates to be determined in accordance with the provision contained in Clause 12.2 and 12.3 of the tender form.

I / We agree that, in case of works of estimated cost exceeding Rs. 15,00,000/-, to deposit an amount equal to 5% of Tendered value of the work as performance guarantee in the form of bond of any Scheduled Bank of India in accordance with the proforma prescribed or in the form of Fixed Deposit Receipt etc., within 15 days of the issue of letter of acceptance of Tender by the BSNL. I / We am / are aware that in the event of failure on my/our part to furnish the Bank Guarantee within 15 days, the earnest money will be forfeited and tender cancelled .

I / We hereby intimate that for receiving payments I/we have an account in ……………. Bank with account No. …………….where the ECS / EFT facility of e-payment is available.

I / We hereby declare that I / We shall treat the tender documents drawings and other records connected with the work as secret / confidential documents and shall not communicate information derived there from to any person other than a person to whom I / We am / are authorized to communicate the same or use the information in any manner prejudicial to the safety of the State.

I / We agree that should I / We fail to commence the work specified in the above memorandum, an amount equal to the amount of the earnest money and Performance Guarantee mentioned in the form of invitation of tender shall be absolutely forfeited to the Bharat Sanchar Nigam Limited and the same may at the option of the competent authority on behalf of B.S.N.L be recovered without prejudice to any right or remedy available in law out of the deposit in so far as the same may extend in terms of the said bond and in the event of deficiency out of any other money due to me / us under this contract or otherwise. The information in respect of works in hand is as per Performa enclosed.

I / we agree that this contract is subject to jurisdiction of Court at  SOLAN only.

Dated  :   ………………….

Witness :   …………………						(……………………….)

Address :  …………...					           		Signature of Contractor

Occupation :    ……………………….			                            Postal Address :  …………

A C C E P T A N C E

The above tender [ as modified by you (Contractor) and as provided in the letters mentioned hereunder ]  is accepted by me for and on behalf of Bharat Sanchar Nigam Limited for a sum of Rs. ……… …. ……./= (Rupees ……… …………………… …………………………… ……………………… …………… ……….) 		The letters referred to below shall form part of this Contract Agreement :

(a)

(b)

For & on behalf of

Signature : …………

Dated :  ……………                                            					 Name and Designation  :  ………

For & on behalf of

BSNL

PROFORMA OF SCHEDULES (Operative Schedules to be supplied separately to each of the intending tenderer) SCHEDULE “A” Schedule of Quantities (as per PWD – 3) : Enclosed SCHEDULE “B” Schedule of Materials to be issued to the contractor : NIL. S. No. Description of Item Quantity Rates in figures & words at which the materials will be charged from the contractor Place of issue 1 2 3 4 5 ………………………………………………..NIL…………………………………………………… SCHEDULE “C” Tools and Plants to be hired to the contractor S. No. Description of Item Hire charges per day Place of issue 1 2 3 4 ………………………………………………DELETED……………………………………………. SCHEDULE “D” Extra schedule for specific requirements / documents for the work. If any. SCHEDULE “E” Schedule of component of Materials, Labour etc for escalation CLAUSE 10 : Clause 10 C will not be applicable in this work. Component of Materials expressed as percent of Total Value of Work “X” 75 % Component of Labour expressed as percent of Total Value of Work “Y” 25 % Component of POL expressed as percent of Total value of Work “Z” 0% SCHEDULE “F” Reference to General Conditions of Contract Name of Work Day to day Mntc. of BSNL Building Under the jurisdiction of BSNL Civil Sub- Division-I Solan(H.P) for the year 2016-17 ( Period from July 2016 to September 2016) Estimated cost of Work Rs.50,982 /= ( Rs. Fifty Thousand Nine Hundred and Eighty two Only). Earnest Money Rs.1,020/= ( Rs. One Thousand Twenty Only). Performance Guarantee (5 % of the tendered value in the form of Bank Guarantee from Scheduled Bank in respect of works with estimated cost put to tender exceeding Rs.15,00,000/- ( Rs. Fifteen Lacs ) Rs. ------------------------ ( Rs. -----------------------------) only Security Deposit (10 % of the tendered value for works with estimated cost put to tender up to Rs. 15 Lakhs ) (5 % of the tendered value in respect of works with estimated cost put to tender exceeding Rs. 15,00,000/- ( Rs. Fifteen Lacs ) Rs _________________ ( Rupees ).__________________________ __________________________________________________________ Only). GENERAL RULES AND DIRECTIONS Officers inviting tender Sub Divisional ENGINEER (C), BSNL CIVIL Sub DIVISION-I, SOLAN (HP). Definitions See below 2(v) Engineer-in charge Sub Divisional ENGINEER (C), BSNL CIVIL Sub DIVISION-I, SOLAN (HP). 2(viii) Accepting Authority Sub Divisional ENGINEER (C), BSNL CIVIL Sub DIVISION-I, SOLAN (HP). 2(x) Percentage on cost of materials and Labour to cover all overheads and profit 10 % (Ten Percent) 2(xi) Standard Schedule of Rates DELHI SCHEDULE OF RATES- 2013 PUBLISHED BY CPWD reduced by 110/115 with upto date correction slips as on the date of opening of tenders. 9(ii) Standard BSNL Contract Form BSNL W-7/8 form as modified and corrected upto the date opening of tenders. Clause 2 Authority for fixing compensation under Clause 2 Executive ENGINEER (C), BSNL CIVIL DIVISION, SOLAN (HP). Clause 2A Whether Clause 2 A shall be Applicable NO. Clause 5 i) Time allowed for execution of work. 3.0 (Three ) Months Ii) Authority to give fair and reasonable extension of time for completion of work. EXECUTIVE ENGINEER (C), BSNL CIVIL DIVISION, SOLAN (HP). Clause 7 Clause 10 Reinforcement steel to be used in the work shall have to be procured as below:- (a) CTD bars Manufactured by Secondary Producers. (b) TMT bars Manufactured by Secondary Producers. Clause 11 Specification to be followed for execution of work. Latest CPWD Specifications. Clause 12 12.1.2(iii) Schedule of rates for determining the rates for additional, altered or substituted items that cannot be determined under 12.1.2 (i) and (ii). DELHI SCHEDULE OF RATES - 2013 PUBLISHED BY CPWD with upto date correction slips as on the date of opening of tenders with contractor profit & Overhead charges as specified in General rules and directions of SCHEDULE “F” 12.1.2(iii) Plus/ minus (+ / -) the % over the rate entered in the schedule of rates. ……………%age above / below the estimated cost. 12.2 & 12.3 Limit for value of any item of any individual trade beyond which clauses 12.2.& 12.3 shall apply. 50% (Fifty Percent). Clause 16 Competent authority for deciding reduced rates. Superintending Engineer (Civil), BSNL HP Civil Circle-1, Shimla (HP). Clause 25 Competent authority for conciliation Chief Engineer (Civil), BSNL Civil Punjab Zone, Chandigarh. Clause 36 (i) a) Minimum qualification and experience required for Principal Technical Representative for civil works with estimated cost put to tender : i) More than Rs. 5 lakhs but less than Rs. 10 lakhs. Recognised Diploma Holder in Civil Engineering ii) Rs. 10 lakhs & above but less than Rs. 60 lakhs. Graduate Civil Engineer or retired AE (Civil) possessing at least recognised Diploma in Civil Engineering iii) Rs. 60 lakhs and above. Principal Technical Representative supported by requisite organization. The Principal Technical Representative shall be at least Graduate Civil Engineer with 5 (Five) years of minimum experience of works or retired Executive Engineer (Civil) possessing at least recognised Diploma in Civil Engineering b) Recovery to be affected from the contractor in the event of not fulfilling the provisions of clause 36(i). Rs. 15,000/= per month for Graduate Engineer. Rs. 10,000/= per month for Diploma Holder. Clause 42 i) Schedule / statement for determining theoretical quantities of cement on the basis of Delhi Schedule of Rates 2013 Printed by CPWD. ii) Variation permissible on theoretical quantities a) Cement for works with estimated costs put to tender i) not more than Rs. 5 lakhs 3 % minus ii) more than Rs. 5 lakhs 2 % minus b) Steel reinforcement and structural steel sections for each diameter, section and category. 2 % minus

Clause No. Present Provision in the clause Modified provision in the clause Clause-37 (i) Extent of service Tax payable by contractor for building and construction works. . 50 % of total service tax, as per notification issued by Ministry of finance , Govt. of India vide Notification No. 6/2015-Service Tax dated 01/03/2015[amendments to notification no.25/2012 Service Tax dated 20.06.2012) . Clause 42 i) (a) Schedule / statement for determining theoretical quantities of cement on the basis of Delhi Schedule of Rates 2012 printed by CPWD with up to date correction slips as on the date of opening of tenders. ii) Variation permissible on theoretical quantities a) Cement for works with estimated costs put to tender i) Not more than Rs. 5 lakhs 3 % minus ii) More than 5 lakhs 2 % minus b) Steel reinforcement and structural steel sections for each diameter, section and category. 2 % minus Star Prices to be considered for escalation & recoveries Sl. No Material Star Price (Rate in Figures and Words) 1 For Cement (OPC 43 GRADE) Rs. 6660/= (Rs. Six Thousand Six Hundred Sixty only) per Metric Tonne. 2(a) For Mild steel _____ 2(b) For Reinforcement Steel conforming to BIS 1786 ( Fe 415 Grade) ______ 2(c) For Reinforcement Steel TMT bars (Primary Producer ) Rs. 50453/= (Rs. Fifty Thousand Four Hundred & Fifty Three) only per Metric Tonne. 2(d) For Galvanized steel --------------- The rate for recovery under clause 42 shall be same as the star price. Sub-Divisional Engineer{C]

BSNL CIVIL SUB-DIVISION-I,

Solan[HP]

Amendments to Clause 37 & 38 and General Rules & Directions of GCC 2006 for BSNL Civil works

| Sr. No. | Existing Provision | Modified Provision |
| --- | --- | --- |
| 1 | Page 11 of GCC (item 15 of General Rules & Directions) 16.Sales tax, purchase tax, turnover tax or any other tax on material in respect of the contract shall be payable by the contractor and government will not entertain any claim whatsoever in respect of the same. | (i) Sales Tax/VAT (including Service Tax up to the extent mentioned in Schedule-F), Building and other construction workers Welfare Cess or any other tax or cess in respect of this contract shall be payable by the contractor and BSNL shall not entertain any claim whatsoever in this respect. Note:- Regarding Service Tax refer notification no. 6/2015-Service Tax Dated Ist March2015. The Central Government, being satisfied that it is necessary in the public interest so to do, hereby exempts the following amendments in the notification of the Govt. Of India in the Ministry of Finance(Department of Revnue)No.25/2012-Service Tax.dated 20th June,2012 published in the Gazette of India.Extraordinary,Part-II,Section3,Sub-section(i) vide No.G.S.R467(E),Dated the 20th June2012,namely:- 1.In the said Notification:- 12) Items(a),(c) and (f) shall be omitted. |
| 2 | Clause 37 | Clause 37 |
|  | Levy / Taxes payable by contractor | Levy / Taxes payable by contractor |
|  | (i) Sales Tax/VAT (except Service Tax), Building and other construction workers Welfare Cess or any other tax or cess in respect of this contract shall be payable by the contractor and BSNL shall not entertain any claim whatsoever in this respect. However in respect of Service Tax, same shall be paid by the contractor to the concerned department on demand on demand and it will be reimbursed to him by the Engineer-in-Charge after satisfying that it has been actually and genuinely paid by the contractor. | (i) Sales Tax/VAT (including Service Tax up to the extent mentioned in Schedule-F), Building and other construction workers Welfare Cess or any other tax or cess in respect of this contract shall be payable by the contractor and BSNL shall not entertain any claim whatsoever in this respect. Note:- Regarding Service Tax refer notification no. 6/2015-Service Tax Dated Ist March2015. The Central Government, being satisfied that it is necessary in the public interest so to do, hereby exempts the following amendments in the notification of the Govt. Of India in the Ministry of Finance(Department of Revnue)No.25/2012-Service Tax.dated 20th June,2012 published in the Gazette of India.Extraordinary,Part-II,Section3,Sub-section(i) vide No.G.S.R467(E),Dated the 20th June2012,namely:- 1.Sl.No.I(ii) of notification no. 6/2015-ST Dated 01.03.2015-in entry 12,items (a),(c) and (f) shall be omitted.i.e Services provided to the Government, a local authority or a Government authority by way of construction,erection,commissioning,installation,completion,fittingout,repair, maintenance ,renovation or alteration of- (a) A civil structure or any other original works meant predominantly for use other than for commerce ,industry or any business or profession. (c) A structure meant predominantly for use as(i) an educational,(ii) a clinical, or(iii) an art or cultural establishment: (f) A residence complex predominantly meant for self use or the use of their employees or other persons specified in the Explanation I to clause 44 of section 65B of the said Act. |
| 3 | Clause 38 | Clause 38 |
|  | Conditions for reimbursement of levy/taxes if levied after receipt of tenders | Conditions for reimbursement of levy/taxes of levied after receipt of tenders |
|  | (i)All tendered rates shall be inclusive of all taxes and levies (except Service Tax) payable under respective statutes. However, if any further tax or levy or cess is imposed by statute, after the last stipulated date for the receipt of tender including extensions, if any, and the contractor thereupon necessarily and properly pays such taxes/levies. The contractor shall be reimbursed the amount so paid, provided such payments, if any, is not in the opinion of the Superintending Engineer ( whose decision shall be final and binding on the contractor) attributable to delay in execution of work within the control of the contractor. | (i) All tendered rates shall be inclusive of all taxes and levies [including Service tax up to the extent mentioned in schedule-F under Clause-37(i)] payable under respective statutes. However, if any further tax or levy or cess is imposed by statute, after the last stipulated date for the receipt of tender including extensions, if any, and the contractor thereupon necessarily and properly pays such taxes/levies, the contractor shall be reimbursed the amount so paid, provided such payments, if any, is not in the opinion of the Superintending Engineer ( whose decision shall be final and binding on the contractor) attributable to delay in execution of work within the control of the contractor. Note:- Regarding Service Tax refer notification no. 6/2015-Service Tax Dated Ist March2015. The Central Government, being satisfied that it is necessary in the public interest so to do, hereby makes the following amendments in the notification of the Govt. Of India in the Ministry of Finance(Department of Revnue)No.25/2012-Service Tax.dated 20th June,2012 published in the Gazette of India.Extraordinary,Part-II,Section3,Sub-section(i) vide No.G.S.R467(E),Dated the 20th June2012,namely:- 1.Sl.No.I(ii) of notification no. 6/2015-ST Dated 01.03.2015-in entry 12,items (a),(c) and (f) shall be omitted.i.e Services provided to the Government, a local authority or a Government authority by way of construction,erection,commissioning,installation,completion,fittingout,repair, maintenance ,renovation or alteration of- (a) A civil structure or any other original works meant predominantly for use other than for commerce ,industry or any business or profession. (c) A structure meant predominantly for use as(i) an educational,(ii) a clinical, or(iii) an art or cultural establishment: (f) A residence complex predominantly meant for self use or the use of their employees or other persons specified in the Explanation I to clause 44 of section 65B of the said Act. |

PARTICULAR SPECIFICATIONS OF WORK

1.0	R.C.C. WORK:-

1.1	Construction Joint:

1.1.1	Concreting shall be carried out continuously upto the construction joints, the position and details of which shall be as shown in structural drawing or as indicated in Fig. 26 of CPWD Specification or as directed by Engineer-in-charge. Number of such joints shall be kept to minimum. These shall be straight and shall be at right angles to the direction of main reinforcement. Construction joints should comply with IS : 11817.

1.1.2	In case of columns the joints shall be horizontal and 10 to 15 cm below the bottom of the beam 	running into the column head. The portion of the column between the stepping off level and the top of the slab shall be concreted with the beam.

1.1.3	When stopping the concrete on a vertical plane in slabs and beams, an approved stop-board (see Fig. 26 C of CPWD Specification) shall be placed with necessary slots for reinforcement bars or any other obstruction to pass the bars freely without bending. The construction joints shall be keyed by providing a triangular or trapezoidal fillet nailed on the stop-board. Inclined or feather joints shall not be permitted. Any concrete flowing through the joints of stop-board shall be removed soon after the initial set. When concrete is stopped on a horizontal plane, the surface shall be roughened and cleaned after the initial set.

1.1.4	When the concrete is to be resumed, the joint shall be thoroughly cleaned with wire brush and loose particles removed. A coat of neat cement slurry at the rate of 2.75 kg of cement per square meter shall then be applied on the roughened surface before fresh concrete is laid.

1.2	Compaction:

    - Concrete shall be thoroughly compacted and fully worked around embedded fixtures and into corners of the form work. Compaction shall be done by mechanical vibrator of appropriate type till a dense concrete is obtained. The Mechanical vibrators shall conform to IS 2505, IS:2506, IS:2514, and IS:4656.To prevent segregation, over vibration shall be avoided.

    - Compaction shall be completed before the initial setting starts. For the items where mechanical vibrators are not possible to be used, the contractor shall take permission of the Engineer-in-charge in writing before the start of the work. After compaction, the top surface shall be finished even and smooth with wooden trowel before the concrete begins to set.

1.2.3	Concrete shall be compacted into dense mass immediately after placing by means of mechanical 	vibrators designed for continuous operations. The Engineer-in-Charge may however relax this conditions at his discretion for certain items, depending on the thickness of the members and feasibility of vibrating the same and permit hand compaction instead. Hand compaction shall be done with the help of tamping rods so that concrete is thoroughly compacted and completely worked around the reinforcement, embedded fixtures, and into corners of the form. The layers of concrete shall be so placed that the bottom layer does not finally set before the top layer is placed. The vibrators shall maintain the whole of concrete under treatment in an adequate state of 	agitation, such that de-aeration and effective compaction is attained at a rate commensurate with the supply of concrete. The vibration shall continue during the whole period occupied by placing of concrete, the vibrators being adjusted so that the centre of vibrations approximates to the centre of the mass being compacted at the time of placing.

1.2.4 	Concrete shall be judged to be properly compacted, when the mortar fills the spaces between the 	coarse aggregate and begins to cream up to form an even surface. When this condition has been attained, the vibrator shall be stopped in case of vibrating tables and external vibrators. Needle vibrators / internal vibrators shall be withdrawn slowly so as to prevent formation of loose pockets. In case both internal and external vibrators are being used, the internal vibrator shall be first withdrawn slowly after which the external vibrators shall be stopped so that no loose pocket is left in the body of the concrete. The specific Contractor instructions of the makers of the particular type of vibrator used shall be strictly complied with. Shaking of reinforcement for the purpose of compaction should be avoided. Compaction shall be completed before the initial setting starts or extended initial setting time in case where retarder is used.

  - Curing:

1.3.1	As soon as concrete is compacted and levelled, the exposed surface shall be covered with polythene sheet for initial two to three hours after laying of the concrete so that moisture loss from the concrete can be prevented.

1.3.2 	When the concrete begins to harden i.e. two to three hours after compaction, the exposed surfaces 	shall be kept damp with moist gunny bags, sand or any other material approved by the Engineer-in-charge. 24 hours after compaction, the exposed surface shall be kept continuously in damp or wet conditions by ponding or by covering with a layer of sacking, canvass, Hessian or similar absorbent materials and kept constantly wet for atleast 10 days from the date of placing of concrete.

1.3.4	 Approved curing compounds may be used in lieu of moist curing with the written permission of the Engineer-in-Charge. Such compounds shall be applied to all exposed surfaces of the concrete as soon as possible after the concrete has set.

1.3.4 	Freshly laid concrete shall be protected from rain by suitable covering.

1.3.5	 Over the foundation concrete, the masonry work may be started after 48 hours of its compaction but the curing of exposed surfaces of cement concrete shall be continued along with the masonry work for at least 10 days. And where cement concrete is used as base concrete for flooring, the flooring may be commenced before the curing period of base concrete is over but the curing of base concrete shall be continued along with top layer of flooring for a minimum, period of 10 days.

1.4	Finishing:

1.4.1	In case of roof slabs the top surface shall be finished even and smooth with  wooden trowel, before the concrete begins to set.

1.4.2 	Immediately on removal of forms, the RCC work shall be examined by the Engineer-in-Charge, before any honey combs / defects are made good.

1.4.3	Surface defects of a minor nature may be accepted. On acceptance of such a work by the Engineer-in-Charge, the same shall be rectified as follows :

a) Surface defects which require repair when forms are removed, usually consist of bulges due to 	movement of forms, ridges at form joints, honey combed areas, damage resulting from the stripping 	of forms and bolt holes, bulges and ridges are removed by careful chipping or tooling and the surface is then rubbed with a grinding stone. Honey-combed and other defective areas shall be chipped out, the edges being cut as straight as possible and perpendicular to the surface, or preferably slightly undercut to provide a key at the edge of the patch. patch.LAR SPECIFICATION BSNL

b) Shallow patches shall first treated with a coat of thin grout composed of one part of cement and one part of fine sand and then filled with mortar similar to that used in the concrete. The mortar is placed in layers not more than 10 mm thick and each layer is given a scratch finish to secure bond with the succeeding layer. The last layer is finished to match the surrounding concrete by floating, rubbing or tooling on formed surfaces by pressing the form material against the patch while the mortar is still plastic.

c) Large and deep patches require filling up with concrete held in place by forms. Such patches are reinforced and carefully dowelled to the hardened concrete.

d) Holes left by bolts are filled with mortar carefully packed into places in small amounts. The mortar is mixed as dry as possible, with just enough water so that it will be tightly compacted when forced into place.

e) Tiered holes extending right through the concrete may be filled with mortar with a pressure gun 	similar to the gun used for greasing motor cars.

f) Normally, patches appear darker than the surrounding concrete, possibly owing to the presence on their surface of less cement laitance. Where uniform surface colour is important, this defect shall be remedied by adding10 to 20 percent of white Portland cement to the patching mortar. The exact quantity being determined by trial.

g) The same amount of care to cure the material in the patches should be taken as with the whole 	structure, Curing must be started as soon as possible, after the patch is finished to prevent early drying. Damp Hessian may be used but in some locations it may be difficult to hold it in place. A membrane curing compound in these cases will be most convenient.

1.4.4	The surface which is to receive plaster or where it is to be joined with brick masonry wall, shall be properly roughened immediately after the shuttering is removed, taking care to remove the laitance completely without disturbing the concrete. The roughening shall be done by hacking. Before the surface is plastered, it shall be cleaned and wetted so as to give bond between concrete and plaster. RCC work shall be done carefully so that the thickness of plaster required for finishing the surface is not more than 6 mm.

1.4.5	The surface of RCC slab on which the flooring with cement base is to be laid shall be roughened with brushes while the concrete is green. This shall be done without disturbing the concrete.

1.5	FORM WORK:

1.5.1	The work shall be done in general as per CPWD Specifications.

1.5.2	Only M.S. centring / shuttering and scaffolding material unless & otherwise specified shall be used for all R.C.C. work to give an even finish of concrete surface.

1.5.3	In order to keep the floor finish as per architectural drawings and to provide required thickness of the flooring as per specifications, the level of top surface of R.C.C. shall be accordingly adjusted at the time of its centring, shuttering and casting for which nothing extra shall be paid to the Contractor.

As per general engineering practice, level of floors in toilet / bath, balconies, shall be kept 12 to 20mm or as required, lower than general floors shuttering should be adjusted accordingly. Nothing extra is payable on this account.

1.5.4	Steel shuttering as approved by the Engineer-in-Charge shall be used by the contractor. Minimum size of shuttering plates shall be 600mm x 900mm except for the case when closing pieces are required to complete the shuttering panels. Dented, broken, cracked, twisted or rusted shuttering plates shall not be allowed to be used on the work. The shuttering plates shall be cleaned properly with electrically driven sanders to remove any cement slurry or cement mortar or rust. Proper shuttering oil or de-bonding compound shall be applied on the surface of the shuttering plates in the requisite quantity before assembly of steel reinforcement.

1.6	REINFORCEMENT:

The reinforcement shall be done as per CPWD Specifications.

1.6.1	The rate of item of reinforcement of RCC work includes all operations including straightening, cutting, bending, welding, binding with annealed steel or welding and placing in position at all the floors with all leads and lift complete as per CPWD Specifications.

1.6.2	The contractor shall provide approved type of support for maintaining the bars in position and ensuring required spacing and correct cover of concrete to reinforcement as called for in the drawings, spacer blocks of required shape and size. Chairs and spacer bars shall be used in order to ensure accurate positioning of reinforcement. Spacer blocks shall be cast well in advance with approved proprietary pre-packed free flowing mortars (Conbextra as manufactured by M/S Fosroc Chemicals India Ltd. or approved equivalent) of high early strength and same colour as surrounding concrete, Pre-cast cement mortar/concrete blocks/blocks of polymer shall not be used as spacer blocks unless specially approved by the Engineer-in-charge, rate of RCC items is inclusive of cost of such cover blocks.

2.0	PRE-CAST RCC WORK

2.1	The work shall be done in accordance with CPWD Specifications.

2.2	Pre-cast reinforced concrete units shall be of grade or mix as specified. Provision shall be made in the mould to accommodate fixing devices such as hooks etc. and forming of notches and holes. Each unit shall be cast in one operation. A sample of the unit shall be got approved from Engineer-in-charge before taking up the work.

2.3	Pre-cast units shall be clearly marked to indicate the top of member and its location.

2.4	Pre-cast units shall be stored, transported and placed in position in such a manner that these are not damaged.

2.5	The compaction of the concrete shall be done by vibrating, table or external vibrator, as approved by Engineer-in-charge. The rate quoted for the item shall include the element for framework and mechanical vibration.

2.6	Rate for item includes cost of all materials. labour, and all operations involved. Cost of M.S. frames, lugs including their welding, lifting hooks is also included.

3.0	BRICK WORK:-

3.1	The brickwork shall be carried out with good quality well burnt FPS bricks of class designation 75 as per CPWD Specifications or as specified in the item.

3.2	The rate shall also include for leaving chases / notches for dowels / cramps for all kinds of cladding to come over brick work.

3.3	Brick work provided around shaft or lift walls or around slab cut outs shall be measured in the brick for corresponding floor level. Nothing extra shall be paid on this account.

4.0	WOOD WORK:-

4.1	The wood work in general shall be carried out as per CPWD Specifications.

4.2	The sample of timber to be used shall be deposited by the contractor with Engineer-in-charge before commencement of work.

4.3	The shape and size of beading shall be as per drawings. The joints of beading shall be mitred.

4.4	Timber shall be of specified species, good quality ,kiln seasoned and preservative treated. It shall have uniform colour, reasonably straight grains and shall be free from knots, cracks, shakes and sapwood. It shall be close grained. The contractor shall deposit the samples of species of timber to be used with the Engineer-in-Charge for testing before commencement of the work.

4.5	Wood work shall not be painted, oiled or otherwise treated before it has been approved by the Engineer-in-charge. All portion of timber including architrave abutting against masonry, concrete, stone or embedded in ground shall be painted with approved wood preservative or with boiling coaltar.

4.6	The contractor(s) shall produce cash voucher and certificates from approved Kiln Seasoning Plants about the timber used on the work having been kiln seasoned and chemically treated by them, falling which it would not be so accepted as kiln seasoned and/or chemically treated.

4.7	The shutters should be fabricated in factories & fabrication should conform to CPWD Specifications 2009.

4.8	The contractor shall propose well in advance to Engineer-in-Charge, the names and address of the factory where from the contractor intends to get the shutters manufactured along with the credential of the firm. The contractor shall place the order for manufacturing of shutters only after obtaining approval of the Engineer in Charge whose decision in this case shall be final & binding. In case the firm is not found suitable he shall propose another factory. The factory may also be inspected by a group of officers before granting approval; shutters shall however he accepted only if these meet the specified test.

4.9	Contractor will arrange stage wise inspection of the shutters at factory by the Engineer-in-Charge or his authorized representative. The contractor will have no claim if the shutters brought at site in part or full lot are rejected by the Engineer-in-Charge due to bad workmanship / quality. Such defective shutters will not be measured and paid. The contractor shall remove the same from the site of work with in 7 days after the written instruction in this regard are issued by the Engineer-in-Charge.

5.0       STEEL WORK:-

5.1	The work shall be carried out as per CPWD Specifications.

5.2	Pressed Steel Frame / T Iron Frames: - The work shall be done as per CPWD Specifications 2009 and IS 4351.The frames shall be fabricated in approved workshops as mentioned in the List of preferred makes.

6.0	FLOORING:

  - 6.1	All work in general , shall be carried out as per CPWD Specifications. Only machine cut stone slabs of Marble, Granite, Kota, etc. shall be used for flooring work.

6.2	Whenever flooring is to be done in patterns of tiles and stones, the contractor shall get samples of each pattern laid and approved by the Engineer-in-charge before final laying of such flooring. Nothing extra shall be payable on this account.

6.3	Different stones / tiles used in pattern flooring shall be measured separately as defined in the nomenclature of the item and nothing extra for laying pattern flooring shall be paid over and above the quoted rate. No additional wastage, if any, shall be accounted for any extra payment.

6.4	Samples of flooring stones (Kota/ Marble/ Granite etc.) shall be deposited well in advance with the Engineer-in-Charge for approval. Approved samples should be kept at site with the Engineer-in-Charge and the same shall not be removed except with the written permission of Engineer-in-Charge. No payment whatsoever shall be made for these samples.

6.5	The Marble/ Kota/ Granite or any other stone shall be fully supported by the details establishing the quarry and its location.

  - 6.6		Whenever the Kota stone/marble stone flooring are to be provided in treads of staircase  it should be provided in one piece with pre finished nosing and pre polished exposed surfaces and edges. Kota stone flooring or granite stone flooring to be provided on top of cooking platform shall be pre polished with pre finished nosing.

7.0         FINISHING:

7.1 	The work shall be done in accordance with CPWD Specifications.

7.2	All painting material of approved brand and manufacturer shall be brought to the site of work in the original sealed containers. The material brought to the site of work shall be sufficient for at least 30 days of work. The material shall be kept under the joint custody of contractor and representative of the Engineer-in-charge. The empty containers shall not be removed from the site till the completion of the work without permission of the Engineer-in-charge.

8.0   	SANITARY INSTALLATIONS /WATER SUPPLY / DRAINAGE:-

8.1	The work in general shall be carried out as per CPWD Specifications.

8.2	The tendered rates shall include the cost of cutting holes in walls, floors, RCC slabs etc. wherever required and making good the same for which nothing extra shall be paid.

8.3	The Centrifugally spun cast iron pipe IS: 3989-1984 ,wherever necessary,  shall be fixed to RCC columns, beams etc. with rawl plugs of approved quality and nothing extra shall be paid for on this account. In case the pipe is to be imbedded in the brick wall/RCC/CC, the same shall be got done as per direction of Engineer-in-charge and nothing extra shall be paid on account of this.

9.0	Aluminium doors, windows, ventilators etc. glazing specifications

9.1	The work shall be carried out through an approved specialized Agency, who shall furnish all material, labour, accessories, equipment, tool and plants and incidentals required for providing and installing Polyester powder coated aluminium doors, windows, claddings, louvers and other items as called for on the drawings. The drawings and specifications cover the major requirements only. The supplying of additional fastenings, accessories, fixtures and other items not mentioned specifically herein, but which are necessary to make a complete installation shall be a part of this contract.

9.2	General: - Aluminium doors, windows etc. shall be of sizes, section details as shown on the Architectural drawings. The details shown on the drawings indicate generally the sizes of the component parts and general standards. These may be varied slightly to suit the standard adopted by the manufacturers. Before proceeding with any manufacturing, the contractor shall prepare and submit complete manufacturing and installation drawings for approval of the Engineer-in-Charge and no work shall be performed until the approval of these drawings is obtained.

9.3	Shop Drawings: -The contractor shall submit the shop drawings of doors, windows, louvers, cladding and other aluminium work, based on the architectural drawings to the Engineer-in-Charge for his approval. The shop drawing shall show full size sections of doors, windows etc. thickness of metal (i.e. wall thickness) details of construction, sub frame/rough ground profile, anchoring details hardware as well as connection of windows, doors and other metal work to adjacent work. Samples of all joints and methods of fastening and joining shall be submitted to the Engineer-in-Charge for approval well in advance of commencing the work.

9.4.	Samples: -Samples of doors, windows louvers etc. shall be fabricated, assembled and submitted to Engineer-in-Charge for his approval. They shall be of sizes, types etc. as decided by Engineer-in-Charge. All samples shall be provided at the cost of the contractor and nothing shall be paid on account of these.

9.5.	Sections: -Aluminium doors and windows shall be fabricated from approved sections of profiles as detailed on drawings. The sections shall be  approved by the Engineer-in-Charge. The aluminium  sections shall conform to BIS designation IIE/IIV 9 WP alloy, with chemical composition technical properties, as per IS: 733 and IS: 1285. The permissible tolerance of the sections shall be such as not to impair the proper and smooth function/ operations and appearance of doors and windows.

9.6	Fabrication: -	Doors, windows etc. shall be fabricated to sizes at factory and shall be of section, sizes, combinations and details as shown on the drawings. All doors, windows etc. shall have mechanical joints. The joints shall be designed to withstand a wind load of 150 Kg. per sqm. The design shall also incur that the maximum deflection of any member shall not exceed 1/175 of the span of the member. All members shall be accurately machined and fitted to form hairline joints prior to assembly. The joints accessories such as cleats, brackets etc. shall be of such material as not to cause any bimetallic action. The design of the joints and accessories shall be such that the accessories are fully concealed. The fabrication of doors, windows, etc. shall be done in suitable sections to facilitate easy transportation, handling and installation. Adequate provision shall be made in the door and window members for anchoring to support and fixing of hardware and other fixture as approved by the Architect.

9.7	Polythene tape protection shall be applied on the aluminium section before they are brought to site. All care shall be taken to ensure surface protection during transportation, storage at site and installation. The tape protection shall be removed on installation. The sample will be tested in the approved laboratory and cost of samples; cost of testing etc. shall be borne by the contractor.

9.8 	Protection of finish: - All aluminium members shall be wrapped with approved self-adhesive non-staining. PVC tapes and nothing extra shall be paid on this account.

9.9 	Handing and Stacking: -

9.9.1	Fabricated materials shall be carried in an approved manner to protect the material against any damage during transportation. The loading and unloading shall be carried out with utmost care. On receipt of material at site, it shall be carefully examined to detect any damaged pieces. Arrangements shall be made for expeditious replacement of damaged pieces/ parts. Materials found to be acceptable on inspections shall be repacked in crates and stored safely.

9.9.2	In the case of composite windows and doors, the different units are to be assembled first. The assembled composite units should be checked for line, level and plumb before final fixing is done. 	Units may be serial numbered and identified as out how to be assembled in their final locations if situation so warrants.

9.9.3	The contractor shall be responsible for assembling composite, bedding and filling the grove with polysulphide sealant inside and outside, at transoms and mullions placing the doors, windows etc. in 	their respective openings. After the doors/ windows have been fixed in their correct assigned position, the open hollow sections abutting masonry concrete shall be fitted with approved polysulphide sealant densely packed and finished neat.

9.9.4	The contractor shall be responsible for doors, windows, etc. being set straight, plumb, level and for their satisfactory operation after fixing is complete.

10.0	Installation:

10.1 	Just prior to installation the doors, windows, etc. shall be uncreated and stacked on edge on level bearers and supported evenly. The frame shall be fixed into position true to line and level using adequate number of expansion machine bolts, anchor fasteners, of approved size and manufacture and in an approved manner. The holes in concrete/masonry members for housing anchor bolts shall be drilled with an electric drill.

10.2 	The door/ windows assembled as shown on drawings shall be placed in correct final position on the opening and marks made on concrete members at jambs, sills and heads against the holes provided in frames for anchoring. The frame shall then be removed from the opening and laid aside. Neat holes with parallel sides of appropriate size shall then be drilled in the concrete members with an electric drill at the marking to house the expansion blots. The expansion bolts shall then be inserted in the holes, struck with a light hammer till the nut is forced into the anchor shell. The frame shall then be placed in final position in the opening and anchored to the support thought cadmium plated machine screws of required size and anchored to the support through cadmium plated machine screws of required size threaded to expansion bolts. The frame shall be set in the opening by using wooden wedges at supports and be plumbed in position. The wedges shall invariably be placed at the meeting at points of glazing bars and frame.

10.3	 Neoprene gaskets: - The contractor shall provide and install  Neoprene gaskets of approved size and profile at all locations as shown and as called for to render the doors, windows etc. absolutely air tight and weather tight. The contractor shall produce samples of the gaskets for approval and shall procure the same only after approval of the product.

10.4	The gaps between aluminium frames and adjacent RCC/Brick work/ Stone work etc. and also any gaps in the door and windows sections shall be raked out as directed and filled with approved sealant as per direction of Engineer-in-charge.

10.5	Details of Test: -

10.5.1  	The various tests on aluminium sections shall be conducted in accordance with the relevant CPWD specifications/IS codes. The samples of major member of each unit of doors/ windows shall be selected at random by Engineer-in-Charge as such that all the aluminium section shall be got tested.

10.5.2	Acceptance Criteria: - The aluminium work shall carry one year of guarantee after completion of work against unsound material, workmanship and defective coating as per guarantee bond. Guarantee in prescribed Performa given in the document , must be given by the specified firm, which shall be counter signed by the contractor, in token of his overall responsibility. If any defect is noticed during the guarantee period, the contractor should rectify it within seven days and if not attended to the same will be got done from another agency at the risk and cost of contractor and shall be recovered from Security deposit.

10.5.3	Rates: -

The rates of the item shall include the cost of materials, labour etc.  including all incidental charges in all the above operations as specified in CPWD specifications. The rate also includes the cost of hinges/pivots.

PROFORMA FOR AGREEMENT

(ON NONJUDICIAL STAMP PAPER OF APPROPRIATE VALUE)

CONTRACT AGREEMENT FOR THE WORK OF _________________________________________ DATED ______ Between M/s _______________(refer note) in the town of ___________ hereinafter called the contractor (which term shall unless excluded by or repugnant to be subject or context include its successors and permitted assigns) of the one part and the Bharat Sanchar Nigam Limited hereinafter called the BSNL (which term shall unless excluded by or repugnant to the subject or context include its successes and assigns) of the other part.

# WHEREAS

a.	The BSNL is desirous that the construction of _____________________________________ at _________ should be executed as mentioned, enumerated or referred to in the tender including Press Notice Inviting Tender, General Conditions of the Contract, Special Conditions of the Contract, Specifications, Drawings, Plans, Time Schedule of completion of jobs, Schedule of Quantities and Rates, Agreed Variations, other documents, has called for Tender.

b.   The contractor has inspected the site and surroundings of the work specified in the tender documents and has satisfied himself by carefully examination before submitting his tender as to the nature of the surface, strata, soil, subsoil and grounds, the form and nature of the site and local conditions the quantities, nature and magnitude of the work the availability of labour and materials necessary for the execution of work, the means of access to site, the supply of power and water thereto and the accommodation he may require and has made local and independent enquiries and obtained complete  information as to the matters and things referred to or implied in the tender documents or having any connection therewith, and has considered the nature and extent of all the probable and possible situations, delays, hindrances or interferences to or with the execution and completion of the work to be carried out under the contract, and has examined and considered all other matters, conditions and things and probable and possible contingencies, and generally all matters incidental thereto and ancillary thereof affecting the execution and completion of the work and which might have influenced him in making his tender.

c.	The tender documents including the BSNL’s Press Notice Inviting Tender, General conditions of contract, Special Conditions of Contract, Schedule of Quantities and rates, General obligations, Specifications, Drawings, plan, time schedule for completi0n of work. Letter of Acceptance of tender and any statement of agreed variations with its enclosures copies of which are hereto annexed form part of this contract though separately set out herein and are included in the expression Contract wherever herein used.

# AND WHEREAS

# The BSNL accepted the tender of M/s ___________________ (refer note_______) (Contractor) for the construction of ____________________________________________at _____________ and conveyed vide letter No. _____________________dated _________ at the rates stated in the Schedule of quantities for the work and accepted by the BSNL (hereinafter called the Schedule of Rates) upon the terms and subject to the conditions of the contract.

# NOW THIS AGREEMENT WITNESSTH & IT IS HEREBY AGREED AND DECLARED AS

FOLLOWS.

1.	In consideration of the payment to be made to the contract for the work to be executed by him, the contractor hereby convenient with the BSNL that the contractor shall and will duly provide, execute, complete and maintain the said work and shall do and perform all other acts and things in the contract mentioned or described or which are to be implied and there-from or may be reasonably necessary for the completion of the said works and at the said times and in the manner and subject to the terms and conditions or stipulations mentioned in the contract, AND

- In consideration of the due provisions execution, completion and maintenance of the said work, the BSNL does hereby agree with the contractor that the BSNL will pay to contractor the respective amounts for the work actually done by him and approved by the BSNL at the Schedule or Rates and such other sum payable to the contractor under provision of the contract, such payment to be made at such time in such manner as prescribed for in the contract.

It is specifically and distinctly understood and agreed between the BSNL and the contractor that the contractor shall have no right, title or interest in the site  made available by the BSNL for execution of the works or in the building, structures or works executed on the said site by the contractor or in the goods, articles, materials, etc. brought on the said site (unless the same specifically belongs to the contractor) and the contractor shall not have or deemed to have any lien whatsoever charge for unpaid bills will not be entitled to assume or retain possession or control of the site or structures and the BSNL shall have an absolute and unfettered right to take full possession of site and to remove the contractor, their servants, agents and materials belonging to the contractor and lying on the site.

- “The contract is subject to the jurisdiction of Court at Sunder Nagar only.” (Where the NIT/Tender has been issued).

In Witness whereof the parties hereto have hereinto set their respective hands and seals in the day and the year first above written.

Signed and delivered for and on behalf of BSNL 	Signature and delivered for and on behalf of the contractor

(BHARAT SANCHAR NIGAM LIMITED)					 		     (Contractor)

# OFFICIAL ADDRESS

Date 							Date

Place 							Place

# IN PRESENCE OF TWO WITNESSES

SIGNATURE 						SIGNATURE

NAME						 	NAME

SIGNATURE 						SIGNATURE

NAME							 NAME

# For Proprietory Concern

# Shri………………………s/o…………………………r/o…………………………..carrying on business under the name and style of………………at………………. (hereinafter called the said Contractor which expression shall unless the context requires otherwise include his heirs, executors, administrators and legal representatives).

# For Partnership Concern

M/s …………….………………………. a partnership firm having its registered office at ……….………….. (hereinafter called the said Contractor which expression shall unless the context requires otherwise include his heirs, executors, administrators and legal representatives). The partners of the firms are:

i)  Shri ………………………………….s/o…………………………., And

ii) Shri ……………………………….....s/o……………………….…..etc..

# For Companies

# M/s …………………………………a company duly incorporated under the Indian Companies Act, 1956 and having its registered office at …………………………..in the state of ………………………….(hereinafter called the said Contractor which expression shall unless the context requires otherwise include its successors and assign).

FORM OF PERFORMANCE SECURITY

BANK GUARANTEE BOND

(To be used by approved Scheduled Banks)

1. In consideration of the BHARAT SANCHAR NIGAM LIMITED (hereinafter called “the BSNL”) having agreed under the terms and conditions of agreement No._________________________ Dated __________made between _______________ and __________________________ (hereinafter called “the said contractor(s)”) for the _______________________work (hereinafter called “the said agreement”) for compliance of his obligation in accordance with the terms and conditions in the said agreement.

We _______________________________ (indicate the name of the Bank) (hereinafter referred to as “as Bank) hereby undertake to pay to the BSNL and amount not exceeding Rs.___________(Rupees ___________________only) on demand by the BSNL.

2. We________________________________________(Indicate the name of the Bank) do hereby undertake to pay the amount due and payable under this Guarantee without any demure, merely on a demand from the BSNL stating that the amount claimed is required to meet the recoveries due or likely to be due from the said contractor(s). Any such demand made on the Bank shall be conclusive as regards the amount due and payable by the bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs._________________(Rupees___________________ only).

3. We undertake to pay to the BSNL any money so demanded notwithstanding any dispute or disputes raised by the contractor (s) in any suit or proceeding pending before any court or Tribunal relating thereto our liability under this present being absolute and unequivocal.

The payment made by us under this bond shall be valid discharge of our liability for payment to there-under and the contractor(s) shall have no claim against us making such payment.

4. We ____________________________(Indicate the name of Bank) further agree that the guarantee herein contained shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the BSNL under or by virtue of the said agreement have been fully paid and it is claims satisfied or discharged or till Engineer-in-charge on behalf of the BSNL certifies that the terms and conditions of the said Agreement have been fully and properly carried out be the said contractor(s) accordingly discharges this guarantee.

5. We ___________________________(indicate the name of Bank) further agree with the BSNL that the BSNL shall have the fullest liberty without our consent and without affecting any manner our obligations hereunder to vary any of the terms and conditions of the said agreement or to extend time of performance by the said contractor(s) from time to time or to postpone for any time to time any of the powers exercisable by the BSNL against the said contractor(s) and to forebear or enforce any of the terms and conditions relating to the said agreement shall not be relieved from our liability by reasons of any such variation or extension being granted to the said contractor(s) or for any forbearance act of omission on that part of the BSNL or any indulgence by the BSNL to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effected or so relieving us.

6. The guarantee will not be discharged due to the change in the constitution of the Bank or the contractor(s).

7. We ________________________________________(indicate the name of Bank) lastly undertake not to revoke this guarantee except with the previous consent of the BSNL in writing.

8. This guarantee shall be valid upto _______________ unless extended on demand by BSNL. Notwithstanding any  thing mentioned above our liability against this Guarantee is restricted to  Rs.___________ (Rs. ___________ ________________only) and unless a claim in writing is lodged with us within six months of the date of expiry or the extended date of expiry of this guarantee, all our liabilities under the Guarantee shall stand discharged.

Date the ________________ date of__________

for 	          ________________________        			         (Indicate the name of Bank)

ANNEXURE – (i)

# AFFIDAVIT

# I/We have submitted a bank guarantee for the work______________________________ _____________________________( Name of Work), Agreement No. ____________________

# Dated: _______________________ from ________________________________ (Name of the Division) with a view to seek exemption from payment of performance guarantee in cash. This Bank guarantee expires on ________________________________

# I/We undertake to keep the validity of the bank guarantee intact by getting it extended from time to time at my/our own initiative upto a period of _______________________________ months after the recorded date of completion of the work or as directed by the Engineer in charge.

I/We also indemnify the Bharat Sanchar Nigam Limited against any losses arising out of non-encashment of the bank guarantee if any.

(Deponent)

# Signature of Contractor

Note: The affidavit is to be given by the Executants before a first class Magistrate.

SCHEDULE OF QUANTITY

|  | Name of Work: Day to day Mntc. of BSNL Building Under the jurisdiction of BSNL Civil Sub-Division-I Solan(H.P) for the year 2016-17 ( Period from April 2016 to June 2016) |
| --- | --- |
|  |  | ESTIMATED COST:-Rs.51575/- | Earnest Money:-1032/- |
| Sr.No. | Description of items | Quantity | Rate[both in Figures & words] | Unit | Amount |
|  | SH: REPAIRS TO BUILDING |  |  |  |  |
| 1. | Renewing glass panes, with putty & nails wherever necessary: |  |  |  |  |
|  | a) Float glass panes of thickness 4mm. | 1.00 Sqm |  | One Sqm. |  |
|  | SH: SANITARY INSTALLATION |  |  |  |  |
| 1 | Replacing unserviceable flushing cistern with fittings & providing & fixing new PVC low level flushing cistern with manually controlled device (handle lever)conforming to IS:7231, Parryware / Hindware / Seabird/Orient (Coral) with all fittings & fixtures complete:- |  |  |  |  |
|  | (a).10 litre capacity- white | 1.00 Nos. |  | Each |  |
| 2 | Replacing broken/unserviceable PVC waste pipe of 32 mm and 40mm dia for wash basin/kitchen sink by providing & fixing new PVC flexible pipe i/c PVC waste fittings complete as per the directions of the Engineer-in-charge. |  |  |  |  |
|  | a) 32mm dia. flexible pipe. | 10.00 Nos. |  | Each |  |
| 3 | Cleaning/attending chocked floor traps, gully traps, and like i/c disposal of wastes to the appropriate point and spreading disinfectant (phenyle ) around the area after properly cleaning complete in all respect as per the directions of Engineer-in-charge. | 5.00 Nos. |  | Each |  |
| 4 | Cleaning of existing choked SCI pipes by roding after removing the plug door & re-fixing the same with necessary rubber washers , spreading disinfectant (phenyl) etc. complete as per the directions of Engineer-in-charge. (Rate includes all the operation involved in the work):- |  |  |  |  |
|  | a) 100mm dia. SCI pipe(Full length from choke area/terrace to ground). | 2.00 Jobs |  | Each Job |  |
|  | b) 75mm dia. SCI pipe( Full length from choke area/ terrace to ground) | 2.00 Jobs |  | Each Job |  |
| 5 | Cleaning chocked manhole i/c sewer line by any suitable means, i/c cleaning the site for sewage, disposal of sewage testing, spreading disinfectant (Phenyle) after cleaning the surrounding area complete in all respect as per the directions of the Engineer-in-charge. | 5.00 Nos. |  | Each |  |
| 6 | Cleaning / attending chocked WC seat (European/Indian/ Anglo Indian) i/c cleaning of floor, spreading phenyl etc.& disposal of unwanted material complete in all respect as per the directions of Engineer-in-charge. (Note:- Measurement will be made for individual seat). | 2.00 Nos. |  | Each |  |
|  | SH:::WATER SUPPLY |  |  |  |  |
| 1 | Replacing unserviceable / missing brass bib cock/stop cock by providing & fixing new brass bib cock/stop cock of approved brand & manufacture complete:- |  |  |  |  |
|  | (a). 15mm nominal bore bib cock. | 2.00 Nos. |  | Each |  |
| 2 | Providing & fixing GI union in existing GI line i/c cutting & threading the pipe & making long screws i/c excavation refilling the earth or cutting of walls & making good the same wherever required complete:- |  |  |  |  |
|  | a) 15 mm nominal bore. | 3.00 Nos. |  | Each |  |
| 3 | Replacing unserviceable/missing C.P. brass bib cock by providing & fixing new C.P. brass bib cock of approved quality conforming to IS:8931:- a) 15 mm nominal bore | 1.00 Nos. |  | Each |  |
| 4 | Replacing unserviceable / missing C.P. brass angle valve by providing & fixing new C.P. brass angle valve of approved quality conforming to IS:8931:- a) 15 mm nominal bore. | 1.00 Nos. |  | Each |  |
| 5 | Replacing unserviceable / missing ball valve by providing & fixing new ball(Brass) of approved quality high or low pressure with plastic floats:- a) 15 mm nominal bore | 4.00 Nos. |  | Each |  |
| 6 | Rectification of water supply / leakage problem complete in all respect i/c making necessary threading if required, replacing washers & providing jute packing/ safeda in wheel valve, flushing cistern, Inlet & outlet points of water tanks, joints of water supply pipe line, cracks of water supply line etc. i/c making threads in pipeline all complete as per the directions of the Engineer-in-charge. | 5.00 Nos. |  | Each |  |
| 7 | Rectification of tap leakage by replacing washer / jumper From the bibcock / stopcock/ pillar cock and the like complete in all respect as per the directions of engineer-in-charge. | 10.00 Nos. |  | Each |  |
| 8. | Replacing unserviceable / missing gun metal gate valve with CI wheel of approved quality (screwed end) complete as per the direction of the Engineer-in-charge.: |  |  |  |  |
|  | a) 15mm nominal nominal bore. | 2.00 Nos. |  | Each |  |
| 9. | Replacing unserviceable/missing PVC water storage tank lid (cover) complete as per the directions of Engineer-in-charge. | 2.00 Nos. |  | Each |  |
|  | SH:::MISCELLANEOUS |  |  |  |  |
| 1 | Providing services for sweeping of Offices of The Executive Engineer (Civil) BSNL Civil Division Solan & SDE(C), BSNL Civil Sub Division-I, Solan for all working days, cleaning of tables, chairs and washing the floor & WC sheet all complete as per the directions of the Engineer-in-charge. | 3.00(Months) |  | Per MONTH |  |
| 2 | Providing services for cleaning of all office tables, chairs, racks, switching on/off lights/tubes, heaters, carrying office files and other documents from one section to another section/ from one office to another office, making arrangement to deliver the official letters in the post office for Registered post/ordinary post ,collecting stationery and other items required for office purpose from market, providing drinking water to office staff and the visitors in all the sections on all working days and within working hours complete as per the directions of the Engineer-in-charge. | 3.00(Months) |  | Per Month |  |
| 3 | Credit for following old unserviceable materials:- |  |  |  |  |
|  | Stop cock / bib cock / pillar cock/Angle valve and alike | 8.00 Nos. |  | Each |  |
|  | b) Ball valve (Brass). | 4.00 Nos. |  | Each |  |
|  | c) PVC Cistern. | 1.00 Nos. |  | Each |  |
|  | d) Gun metal gate valve | 4.00 Nos. |  | Each |  |

Last corrected on.20.06.2016

SDE[C] BSNL CIVIL SUB-DIVISION-I,SOLAN[HP]