Name Of Work :- Construction of Govt. Ayurvedic Pharmacy at Majra , Distt. Sirmour

(HP) (SH:- Soil Investigation)

| Sr. No | Description Of Item | Qty. | Rate( In figures & words) | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 (a) (b) (c) (d) (e) | Determination of safe bearing capacity of soil by means of Standard Penetration Test and other relevant tests such as mechanical analysis, Atterberg Limits, Triaxial Shear test for N & Ø values etc. complete as per IS codes/specification up to depth of 7.50 m or up to refusal point whichever is earlier. In case of gravel/ boulder strata/ soft rock, an open pit up to 2.00 m depth or up to hard rock along with DCPT up to refusal or bore hole up to 7.50 m depth. Item includes collection of disturbed/undisturbed soil samples and their testing in the laboratory for the following: Safe bearing capacity. N & Ø values. Settled and unsettled strata. Filled up & Natural strata. Net bearing capacity for isolated /strip footing etc. (Note:- Rate of item include soil investigation report (In triplicate), transportation charges of equipment /machinery, staff and samples from laboratory to site and back.) | 2 Nos |  | Each |  |
|  |  |  |  | Total |  |

Sub Divisional Engineer (C)

BSNL Civil Sub- Division

Nahan ( HP )