Name Of Work :- Strengthening of schools under RMSA  in Distt.- Una (HP).

[S.H.: Soil testing at Dhakki, Ghangret, Gindpur Malaun and Chak Sarai]

| Sr. No | Description Of Item | Qty. | Rate( In figures & words) | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth upto 30 cm measured at a height of 1m above ground level and removal of rubbish upto a distance of 50 m outside the periphery of the area cleared. | 800 Sqm |  | One Sqm |  |
| 2 (a) (b) (c) (d) (e) | Determination of safe bearing capacity of soil by means of Standard Penetration Test and other relevant tests such as mechanical analysis, Atterberg Limits, Triaxial Shear test for N & Ø values etc. complete as per IS codes/specification up to depth of 7.50 m or up to refusal point whichever is earlier. In case of gravel/ boulder strata/ soft rock, an open pit up to 2.00 m depth or up to hard rock along with DCPT up to refusal or bore hole up to 7.50 m depth. Item includes collection of disturbed/undisturbed soil samples and their testing in the laboratory for the following: Safe bearing capacity. N & Ø values. Settled and unsettled strata. Filled up & Natural strata. Net bearing capacity for isolated /strip footing etc. (Note:- 1. Rate of item include soil investigation report (Four Copies), transportation charges of equipment /machinery, staff and samples from laboratory to site and back. 2. The work is at scattered places and BSNL reserves the right to determine number of jobs to be executed at any location/site. ) | 8 Jobs |  | Each Job |  |
|  |  |  |  | Total |  |

Executive  Engineer (C)		                                                                                   BSNL Civil  Division

Hamirpur (HP)