T E N D E R  D O C U M E N T

FOR

THE  WORK  OF

Strengthening of Base of MARR Mast in RSU Compound at Dharamshala (HP).

BSNL CIVIL SUB-DIVISION

DHARAMSHALA

NAME OF TENDERER :       	……………………………………….

NAME   OF WORK        :  	Strengthening of Base of MARR Mast in RSU Compound at Dharamshala (HP).

I N D E X

| SL. NO. | DETAILS | PAGES |
| --- | --- | --- |
|  |  | FROM | TO |
|  | Cover Page | 1 | 1 |
|  | Index | 2 | 2 |
|  | Important instructions to all tendrers | 3 | 3 |
|  | Important instructions to all tenderers who have downloaded the tender document from web | 4 | 4 |
|  | Declaration (to be given by tenderers who have downloaded the tender document from web) | 5 | 5 |
|  | BSNLW-6 | 6 | 10 |
|  | Eligibility documents, checklist for enclosures (to be placed inside envelope no. 1) | 11 | 11 |
|  | BSNL W-7/8 (Abridged form) | 12 | 13 |
|  | Proforma of schedules A to F | 14 | 18 |
|  | Performa of Agreement | 19 | 20 |
|  | Amendments to Clause 37 & 38 and General Rules & Directions of GCC 2006 --Annexure “A” & correction slip No.6 | 21 | 23 |
|  | Schedule of quantity | 24 | 26 |

This N.I.T. / agreement contains  29 (Twenty nine only) pages marked as  1  to 29.

SUB-DIVISIONAL ENGINEER,

BSNL CIVIL SUB-DIVISION,   DHARAMSHALA

IMPORTANT INSTRUCTIONS TO ALL TENDERERS

All tenderers should read the following important instructions carefully before actually quoting rates:-

- The tenderer should read carefully & understand Tender form BSNL W-8, Bharat Sanchar Nigam Limited “General Conditions of Contract for Civil Works (2006) with up to date correction slips, schedule of quantity etc. before quoting for the work.

- The schedule of items, estimated cost etc in this contract are based on CPWD DSR 2014 and CPWD specifications 2009, Volume I & II with up to date correction slips.

- The tenderers who have downloaded the tender document from the web, should read the important instructions & declaration given in pages ‘4’, ‘5’ & ‘11’ carefully before submitting the tender.

IMPORTANT INSTRUCTIONS TO TENDERERS WHO HAVE DOWNLOADED THE TENDER DOCUMENT FROM WEB

The tenderers, who have down loaded the tenders from web,  should read the following important instructions carefully before actually quoting rates & submitting the tender documents:-

1. The tenderer should see carefully & ensure that the complete tender document including schedule of quantity as per the index given on page ‘2’ has been down loaded and there are as  1  to 26 pages only in the tender document.

2. The printout of tender document should be taken on 12” paper only & the printer settings etc. are such that document is printed as appearing in the web & there is no change in formatting, number of pages etc.

3. The tenderer should ensure that no page in the down loaded tender document is missing.

4. The tenderer should ensure that all pages in the down loaded tender document are legible, clear and are printed on a good quality paper.

5. The tenderer should ensure that every page in the down loaded tender document is signed by tenderer with stamp (seal).

6. On page 2 of the down loaded tender document, the name of the tenderer should be filled by the tenderer.

7. The tenderer should ensure that the down loaded tender document is properly bound and sealed before submitting the same.

8. The loose/spiral bound tenders, not properly sealed shall be rejected out-rightly.

9. In case of any correction/addition/alteration/omission in the tender document, it shall be treated as non-responsive and shall be rejected.

10. The tenderer shall furnish a declaration to this effect that no addition/deletion/corrections have been made in the tender document submitted and it is identical to the tender document appearing on web site.

11. The tenderer should read carefully & sign the declaration given on the next page before submitting the tender.

12. The cost of tender should be submitted along with the EMD as detailed in NIT.

13. In case of any doubt in the down loaded tender, the same should be got clarified from the o/o SUB-DIVISIONAL Engineer (Civil) BSNL Civil SUB-DIVISION, DHARAMSHALA before submitting the tender.

DECLARATION

(TO BE GIVEN BY THE TENDERERS WHO HAVE DOWNLOADED THE TENDER DOCUMENT FROM THE WEB)

It is to certify that:

1. I/We have submitted the tenders in the Performa as downloaded directly from the website & there is no change in formatting , number of pages etc.

2. I/We have submitted tender document which is same/identical as available in the website.

3. I/We have not made any modification/corrections/additions etc. in the tender document, downloaded from the web by me/us.

4. I/We have checked that no page is missing and all pages as per the index are available and that all pages of the tender document submitted by me/us are clear & legible.

5. I/We have signed (with stamp) all the pages of the tender document before submitting the same.

6. I/We have sealed the tender document properly before submitting the same.

7. I/We have submitted the cost of tender along with the EMD.

8. I/We have read carefully & understood the important instructions to the all tenderers & to tenderers who have downloaded the tender from the web.

9. In case at any stage later, it is found that there is difference in our downloaded tender document from the original, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me/us.

10. In case at any stage later, it is found that there is difference in our downloaded tender document from the original, the tender/work will be cancelled and earnest money/ Security Deposit will be forfeited at any stage whenever it is noticed. The department will not pay any damage to me/us on this account.

11. In case at any stage later, it is found that there is difference in our downloaded tender document from the original, I/We may also be debarred for further participation in the tender in the concerned BSNL Civil Zone & would also render me/us liable to be removed from the approved list of contractors of the department.

Dated: ……………..

(CONTRACTOR)

(SIGN WITH SEAL)

B S N L       W 6

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

# NOTICE INVITING TENDER

- Item rate tenders are invited on behalf of Bharat Sanchar Nigam Limited, from approved and eligible contractors of D.O.T / BSNL (Civil Wing), DOP, MES, CPWD, Railways and State PWD (B&R) of appropriate class for the work of  “Strengthening of Base of MARR Mast in RSU Compound at Dharamshala (HP). “

  - The work is estimated to Cost - Rs.   34,334/= (Rs. Thirty  Four Thousand  Three Hundred & Thirty Four   only)

  - Tenders will be issued to the eligible contractors provided they produce proof of their valid enlistment with the appropriate authority. Applicant shall submit valid registration documents. The attested copies of certificates, testimonials and satisfactory completion certificates of works, from the department concerned, obtained from an officer not below the rank of Executive Engineer, in-charge of work, shall be submitted while applying for participation in tender/issue of tender forms for the work. He/they shall submit attested copies of GST registration Certificate issued by the Concerned Department of Govt. of India., on acceptance of tender along with Performance Guarantee. In the event of failure on the part of contractor (whose tender is accepted) to furnish the documents pertaining to GST registration Certificate, along with Performance Guarantee within stipulated period, the earnest money will be forfeited and tender cancelled.

    - Criteria of eligibility for issue of tender documents for non-BSNL registered contractors of

Public Works Organizations like CPWD, State PWD (B&R), DOP, MES & Railways only.

1.2.1.1 	for works up to Rs. 7 lakhs-NIL.

1.2.1.2  For works above Rs 7 lakhs and upto Rs. 5 Cr, the applicant should have completed works

as per details below during the last seven years ending last day of the month previous to the one in which the tenders are invited.

a)	Three similar completed works costing not less than the amount equal to 40% of estimated cost.

Or

b)	Two similar completed works costing not less than the amount equal to 50% of estimated cost.

Or

c)	One similar completed works costing not less than the amount equal to 80% of estimated   cost.

For the purpose of this clause 'similar works' means the work of R.C.C Building / Civil works.

The value of the executed works shall be brought to current costing level by enhancing the actual value of work at simple rate of 7% per annum; calculated from the date of completion to last date of receipt of applications for tenders.

- Agreement shall be drawn with the successful Tenderer on prescribed Form No. BSNL W-8, which is available as a BSNL Publication/BSNL Web site www.hp.bsnl.co.in/hpc Tenderer shall quote his rates as per various terms and conditions of the said form, (In case “Tender Documents” are downloaded from the BSNL website in which rates are to be quoted should be properly bound and sealed) which will form part of the agreement.

- The time allowed for carrying out the work will be  8 (EIGHT) Months  from the 10th day after the date of issue of letter of award of work, or , from the first day of handing over of the site, which ever is later, in accordance with phasing, if any, indicated in the Tender Document.

- The site for the work shall be made available at the time execution.

- The last date of receipt of application for issue of Tender forms (in prescribed format can also be downloaded from BSNL web site  www.hp.bsnl.co.in/hpc  and date of issue of tender forms  will be as follows :

i)  	Last date of receipt of application  - 10/05/2018  upto  1600 Hrs.

ii) 	Last date of issue of tender forms  11/05/2018 .

- Tender documents consisting of plans, specifications, the schedule of quantities of the various classes of work to be done and set of terms and conditions of the contract to be complied with by the Contractor whose tender may be accepted and other necessary documents, can either be downloaded from the BSNL website www.hp.bsnl.co.in/hpc or be seen in the office of the Sub Divisional Engineer, BSNL CIVIL Sub DIVISION ,  DHARAMSHALA between 1100 hours. & 1600 hours from 10.05.2018 to 011.05.2018 everyday except on Sundays and Public Holidays. Tender documents, excluding standard form, will be issued from his office, during the hours specified above on payment of the following.

i) Rs. 177/= (Rs. One     Hundred  & Seventy seven)  as cost of tender (Non refundable) in cash or Demand Drafts /Pay Orders of a Scheduled Bank drawn in favour of Accounts Officer (Cash), O/o GMTD BSNL Dharamshala (HP), payable at Dharamshala (HP)..

ii) Earnest money of Rs. 687/= (Rs. Six Hundred & Eighty Seven only) in cash ( up to Rs. 2500/= only) / Bankers Cheque/deposit at Call receipt of a Scheduled Bank / fixed deposit receipt of a scheduled bank / demand draft of a scheduled bank issued in favour of  Accounts Officer (Cash), O/o GMTD BSNL Dharamshala (HP), payable at Dharamshala (HP). When amount of Earnest Money is more than Rs. 5 Lakhs, part of the earnest money is acceptable in the form of Bank Guarantee also. In such case, minimum 50% of Earnest Money (but not less than Rs. 5 lakhs) or Rs.. 25 lakhs, whichever is less, will have to be deposited in the shape prescribed above. For balance amount of earnest money, bank guarantee will also be acceptable.

iii) The tender shall be accompanied by Earnest Money along with cost of tender (in shape DD/Pay orders), if not paid earlier as in the case of downloaded tender from Website in the form as detailed at sub para ii) above.

Note:-	 Money due to contractor in any other work or Earnest Money of the previous call of the same work shall not be adjusted towards Earnest Money. The ‘Cost of Tender’ and ‘Earnest Money’ should be submitted through separate instruments.

- Tenders, which should always be placed in sealed envelope, in the manner detailed at para 9 below, will be received by the Sub Divisional Engineer, BSNL CIVIL DIVISION ,  DHARAMSHALA up to 1500 Hrs. on   15.05.2018 and will be opened by him or his authorised representative in his office on the same day at 1530 Hrs if the eligibility credentials of all tenderers in envelope-1 are found in order. If the eligibility credentials are required to be clarified/verified, then the envelope-2 of all tenderers containing the tender document will be opened on later date to be intimated at the time of opening of tender. After opening the main envelope-3, the envelope-1 containing the Earnest Money along with the cost of the tender as applicable and eligibility credentials shall be opened first. The envelope-2 containing tender shall be opened only for those tenderers whose Earnest Money, cost of tender and eligibility is found in order. The unopened tenders shall be returned to the tenderers after the final decision on the tender is reached.

- The description of the work is as follows:-

- “Strengthening of Base of MARR Mast in RSU Compound at Dharamshala (HP)”

9           Submission of tender :

Tender shall be submitted in following manner:

  - In case the tender document is down loaded form BSNL website.

    - “Earnest Money plus cost of Tender and eligibility credentials (as mentioned on page ‘12’of tender document)” shall be placed in sealed envelope-1 marked “Earnest Money plus cost of Tender and eligibility credentials”.

    - The “Tender” shall be placed in sealed envelope-2 and will be superscripted as “Tender”

    - The sealed envelope No. 1, & 2 as above containing “Earnest Money plus cost of Tender, Eligibility Credentials”, and the “Tender” shall be placed in another sealed envelope-3.

    - All the three envelopes shall be superscripted with following data on it.

- Name of work.

- Name of tenderer.

- Last date of receipt of tender.

  - In case tender document is purchased form Division office.

    - Proof for paying the cost of tender documents, proof of payment of EMD and copies of documents showing eligibility credentials to be placed in sealed envelope No.-1.

    - Envelope No.- 2 will be as per Para 9.1.2.

    - The sealed envelopes 1&2 shall be placed in another sealed envelope No.-3.

    - Same as 9.1.4.

Note:	In case the eligibility credentials are not found in order at any state i.e. before award of work or during execution of the work or after completion of the work, the contractor will be debarred from tendering in BSNL for three years including any other action under the contract or existing law.

9.3    The tender in which rates/percentage are to be quoted should be properly bound and sealed (wax sealed / adhesive tape sealed). Loose/spiral bound submission (in case the tender is down loaded from website) shall be rejected out rightly. In case of any correction/addition/alteration/omission in tender document vis-à-vis tender document available on website shall be treated as non-responsive and shall be summarily rejected.

10.0	Copies of other drawings and documents pertaining to the work will be open for inspection by the tenderers at the office of the abovementioned officer.

10.0.1 Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and subsoil (so far as is practicable), the form and nature of the site, the means of access to the site, The accommodation they may require and in general, shall themselves obtain all Necessary information as to risks, contingencies and other circumstances which may influence or affect their tender. A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed. The tenderer shall be responsible for arranging and maintaining at his own cost all materials tools & plants, water, electricity, access facilities for workers and on all other services required for executing the work unless otherwise specifically provided for in the contract documents. Submission of  tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant, etc. will be issued to him by the BSNL and local conditions and other factors having a bearing on the execution of the work.

11.0    The competent authority on behalf of Bharat Sanchar Nigam Limited does not bind himself to accept the lowest or any other tender, and reserves to himself the authority to reject any or all of the tenders received without the assignment of a reason. All tenders, in which any of the prescribed conditions is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer, shall be summarily rejected.

12.0    Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable to rejection.

13.0   The competent authority on behalf of the Bharat Sanchar Nigam Limited reserves with himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to Perform the same at the rate quoted.

14.0   The company or firm or any other person shall not be permitted to tender for works in BSNL Civil Zone in which his near relative (s) (directly recruited or on deputation in BSNL) is/are posted in Any capacity either non executive or executive employee. Near relative (s) for this purpose is/are defined as:

(i) Member of Hindu Undivided family (UHF).

(ii) They are Husband and Wife.

(iii) The one is related to other in the manner as father, mother, son(s) & Son’s wife (Daughter-in-law), Daughter(s), Daughter’s husband (son-in-law), brother(s),  Brother’s wife, sister(s), sister’s husband (brother-in-law).

The contractor shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relative to any executive employee/gazetted officer in the BSNL or Department of Telecom or in the Ministry of Communications.

All the intending tenderers will have to give a certificate that none of his/her such near relative             (s) as defined above is/are working in the concerned BSNL Civil Zone where he is going to apply for tender/work. The format of the certificate is as under:-

“I,_______________ S/o Shri _________________ Resident of ________________________ hereby certify that none of my relative (s) as defined above is/are employed in concerned BSNL Civil Zone. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me”.

The certificate in case of Proprietorship Firm shall be given by the proprietor; for Partnership Firm certificate shall be given by all partners and in case of Limited Company, by all Directors of the company. However, Government of India/Financial Institutions nominees and independent nonofficial part time Directors appointed by Govt. of India or the Governor of the State are excluded from the purview of submission of this certificate while submitting tenders by Limited Companies.

Any breach of these conditions by the Company or Firm or any other person, the tender/work will be cancelled and Earnest Money/ Security Deposit will be forfeited at any stage, whenever it is so noticed. BSNL will not pay any damages to the company or Firm or the concerned person but damages arising on account of such cancellation to be borne by the contractor. The Company or Firm or the person will also be debarred for further participation in the tender in the concerned BSNL Civil Zone. Further, any breach of this condition by the tenderer would also render him liable to be removed from the approved list of contractors or BSNL. If however the contractor is registered in any other Department he shall also be debarred from tendering in BSNL for any breach of this condition

15.0	No Engineer of Gazetted rank or other Gazetted Officer employed in engineering or administrative duties in an Engineering Department of the Government of India/State Government or PSU’s is allowed to work as a contractor for a period of two years after his retirement from Govt. service, without previous permission of the Govt. of India or BSNL in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found any time to be such a person who had not obtained the permission of the Govt. of India/State Government or PSU’s as aforesaid before submission of the tender or engagement in the contractor’s service.

16.0	 The tender for the work shall remain open for acceptance for a period of 30 (Thirty) days from the date of opening of the tenders. If any tenderer withdraws his tender before the said period or issue of letter of acceptance/intent, whichever is earlier, or, makes any modifications in the terms and conditions of the tender which are not acceptable to the BSNL, then the BSNL shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.

17.0 	In case of works having estimated cost below Rs. 15,00,000/-,the successful tenderer shall be required to execute an agreement with the Engineer-in-charge in the performa annexed to the tender document, within 15 days of the issue of letter of award by the BSNL. In the event of failure on the part of the successful tenderer to sign the agreement, the earnest money will be forfeited and tender cancelled. In case of works of estimated to cost Rs. 15,00,000/- and above, the successful tenderer shall, upon issue of letter of acceptance of Tender, shall be required to furnish Performance Guarantee @ 5% of the tendered value in the form of irrevocable Bank Guarantee of requisite amount to the Engineer in charge in the Performa annexed to the tender document, within 15 days of the issue of letter of acceptance of Tender by the BSNL. In the event of failure on the part of the successful tenderer to furnish the Bank Guarantee within 15 days, the earnest money will be forfeited and tender cancelled.

18.0 	This Notice Inviting Tender (BSNL W6) shall form a part of the Contract Document. In accordance with clause 1 of the contract, the letter of acceptance shall be issued first in favour of the successful Tenderer/Contractor. After submission of the performance guarantee, the letter of award shall be issued. The contract shall be deemed to have come into effect on issue of letter of acceptance of the tender. On issue of letter of award, the successful Tenderer/Contractor shall, within 15 days from such date, formally sign the agreement consisting of:-

a) The Notice Inviting Tender, all the documents including additional conditions, specifications  and drawings, if any, forming part of the tender, and, as issued at the time of invitation of  tender and acceptance thereof together with any correspondence leading thereto.

b) Standard BSNL W- 8 as on website www.hp.bsnl.co.in/hpc

c) Agreement signed on non judicial stamp paper as per Performa annexed to the tender document.

19.	Payment to the contractors shall be made through e-payment system like ECS/EFT/RTGS as detailed below:-

- In cities/areas where ECS/EFT/RTGS facility is provided by Banks, the tenderer must have Account in such ECS/EFT/RTGS facility providing Banks and that Bank A/c Number shall be quoted in the tender by the tenderer.

- The cost of ECS/EFT/RTGS will be  borne by BSNL in all cases where the payment to contractor is made in a local Branch i.e. tenderer is having bank account in the same  place from where the payment is made by BSNL unit.

- In case payment is made to outside branch i.e. tenderer is having bank account not in the same place form where the payment is made by BSNL unit, the crediting cost will have to be borne by the tenderer only.

- The payments to contractors will compulsorily be made through ECS/EFT/RTGS in respect of all contracts where the value of the contract is more than Rs. 10 lakhs.

20.0 	First running account bill shall be paid only after

(a) signing of the Agreement/Contract by both the parties, and

(b) progress chart has been prepared as required under Clause 5 and approved by the competent authority.

21.0 	If a contractor after purchasing the tender does not quote consecutively on three occasions, the contractor may be debarred for further purchase of tenders for a period of six months.

22.0	General conditions of contract for works in BHARAT SANCHAR NIGAM LIMITED are available on website www.hp.bsnl.co.in/hpc as well as in the Divisional Office.

23.0    The Contractor will submit computerised measurement books and bill in duplicate for all running and final bills and nothing extra shall be paid on this account.

24.	Condition for EPF/ESI/GST

(a)   The bidder must comply with the Provisions of EPF & Misc. Provisions Act, 1952 and Employees Provident Fund Scheme 1952, in respect of labourers/employees engaged by the bidder for carrying out works and they have to obtain and produce EPF registration within one month of award of work. First payment shall be made to the contractor only when he submits his valid/applicable EPF registration.

b)	The claim bill of contractor must accompany the list showing the details of labourers/ employees engaged ,duration of their engagement, amount of wages paid to such labours/ employees , & authenticated documents  showing amount of EPF contributions (both employer’s & employees contribution), paid to the  EPF Authorities.  Non compliance of above provision will be treated as breach of contract and necessary action against the bidder will be taken.

- The contractor shall be required to comply the provision of ESIC (wherever applicable), payment of wages act, contractor labour regulation acts, payment of bonus act, payment of gratuity act and GST.   Non compliance of above provision will be treated as breach of contract and necessary action against the bidder will be taken.

d)   The rates shall be quoted inclusive of GSTand all other taxes of Central / HP State Government with loading, unloading and transportation etc. The rates shall be firm and final. Nothing extra shall be paid on any account & BSNL shall not entertain any claim in this respect.

The contractor shall be solely responsible for timely payment of GST to concerned department. Any penalty / interest for late submission etc. arising thereupon and as demanded by the concerned department shall be sole responsibility of the contractor and BSNL shall have absolutely no liability what so ever on this account.

25.0	If any terms and conditions under General Rules and Directions is in contravention to terms and conditions as above, the terms and conditions as above shall prevail..

26.0	If there happens to be holiday on any dates mentioned above then the transaction will be made on next working day.

Signature………………………

Name:  Suresh  Kumar

Sub Divisional  Engineer (C),

BSNL CIVIL SUB DIVISION , DHARAMSHALA

For & on behalf of the Bharat Sanchar Nigam Limited

Eligibility Documents

CHECKLIST FOR ENCLOSURES (To be placed in side envelope no. – 1)

Please check that the following documents have been enclosed along with the application:-

| Sr. No. | Document | Attached * | No. of sheets |
| --- | --- | --- | --- |
|  | Attested copy of the registration/ enlistment with DOT/BSNL and non – BSNL registered contractors of public works organisations like CPWD, State PWD (B&R), DOP, MES, and Railways. | Yes / No |  |
|  | Attested copy of the GST registration, with concerned department. | Yes / No |  |
|  | Attested copy of the EPF registration, with EPF department. | Yes / No |  |
|  | The proof of having completed the works of requisite magnitude as per NIT condition from appropriate authority. | Yes/No |  |
|  | Attested Copy of partnership deed in case of partnership firm and Article & Memorandum of Association and certificate of incorporation in case of a company. | Yes / No /NA |  |
|  | Attested copy of Power of Attorney of signatory of the Tender/ Attested copy of proof of authority to sign the tender. | Yes / No |  |
|  | Tender fee as detailed in the Notice Inviting Tender has been enclosed. | Yes / No |  |
|  | Earnest money as detailed in the Notice Inviting Tender has been enclosed. | Yes / No |  |
|  | Application for participation in tender along with declaration regarding relatives as per para ‘14’ of BSNL - W6. | Yes / No |  |
|  | Declaration to be given by the tenderers who have downloaded the tender document from the web has been enclosed. | Yes / No |  |
|  | All the pages of application and enclosures have been duly numbered and signed by authorized signatory. | Yes / No |  |

(* Strike out inapplicable portion)

Date: ……………

Place…………..

Signature of Applicant

ABRIDGED   FORM    BSNL    W-7/8

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

| STATE—HP |  | BSNL CIVIL CIRCLE-II, SHIMLA |
| --- | --- | --- |
|  |  | BSNL CIVIL DIVISION, DHARAMSHALA |
| ZONE—HP |  | BSNL CIVIL SUBDIVN, DHARAMSHALA |

# Item Rate Tender & Contract for Works

- Tender for the work of : “Strengthening of Base of MARR Mast in RSU Compound at Dharamshala

(HP). “

- To be submitted by  1500  hours  on  15/05/2018  to THE SUB-DIVISIONAL ENGINEER, BSNL CIVIL SUB-DIVISION,  DHARAMSHALA

- To be opened in presence of tenderers who may be present at 1530 hours  on   in the office of THE SUB-DIVISIONAL ENGINEER, BSNL CIVIL SUB-DIVISION,  DHARAMSHALA

Issued to            :    ……………………………………………………..

(Contractor)

Signature of officer issuing the documents :    …………………………..

Designation   :    …………………………………………….. ………….

Date of Issue  :   ………………………………………………………….

# T  E  N  D  E  R

I / We have read and examined the Notice Inviting Tender, Schedule A, B, C, D, E & F, Specifications applicable, Drawings & Design, General Rules and Directions, Conditions of Contract, Clauses of Contract, Special conditions, Schedule of Rate & other documents and Rules referred to in the Conditions of Contract and all other contents in the tender document for the work.

I / We hereby tender for the execution of the work specified for BHARAT  SANCHAR NIGAM LIMITED within the time specified in schedule ‘F’, viz., schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and Directions and in Clause 11 of the Conditions of the contract and with such materials as are provided for, by and in respect in accordance with, such conditions so far as applicable.

I/We agree to keep the tender open for  30 (Thirty) days from the due date of submission thereof and not to make any modifications in its terms and conditions. If I/we withdraw my/our  tender before the said period or issue of letter of acceptance / intent, whichever is earlier, or, makes any modifications in the terms and conditions of the tender which are not acceptable to the BSNL, than the BSNL shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.

A sum of Rs 687/= (Rs. Six hundred  and Eighty Seven   only)/=  has been deposited in prescribed manner as earnest money. If  I / We fail to commence the work specified I / We agree that the said BHARAT SANCHAR NIGAM LIMITED shall without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money absolutely otherwise the said earnest money shall be retained by  competent authority on behalf of Bharat Sanchar Nigam Limited   towards Security Deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and carry out such deviations as may be ordered, up to maximum of the percentage mentioned in Schedule ‘F’ and those in excess of that limit at the rates to be determined in accordance with the provision contained in Clause 12.2 and 12.3 of the tender form.

I / We agree that in case of works of  estimated cost exceeding  Rs. 15,00,000/ to deposit and amount equal to 5 %  of  Tender value of the work as performance guarantee in the form of the bond of any Scheduled Bank of India in accordance with the proforma prescribed or in the form of  fixed deposit Receipt etc., with in 15 days of the issue of letter of acceptance of Tender by the BSNL. I / We am / are  aware that in the event of failure on my / our part of furnished the Bank Guarantee within 15  days, the earnest money will be forfeited and tender cancelled.

I/We hereby intimated that for receiving payment I/We have an account in_______________________________Bank with account No._____________________where the ECS/EFT facility of e-payment facility is available.

I / We hereby declare that I / We shall treat the tender documents drawings and other records connected with the work as secret / confidential documents and shall not communicate information derived there from to any person other than a person to whom I/We am/are authorised  to communicate the same or use the information in any manner prejudicial to the safety of the State.

I / We agree that should I / We fail to commence the work specified in the above memorandum, an amount equal to the amount of the earnest money mentioned in the form of invitation of tender shall be absolutely forfeited to BHARAT SANCHAR NIGAM LIMITED and the same may at the option of the competent authority on behalf of BHARAT SANCHAR NIGAM LIMITED be recovered without prejudice to any right or remedy available in law out of the deposit in so far as the same may extend in terms of the said bond and in the event of deficiency out of any other money due to me/us under this contract or otherwise.

“I/ we agree that this contract is subject to jurisdiction of Court at DHARAMSHALA only.” (Where the NIT/Tender has been issued).

The information in respect of works in hand is as per Performa enclosed.

Dated  :   ………………….

Witness :   …………………						(……………………….)

Address :  …………...					           		Signature of Contractor

Occupation :    ……………………….			Postal Address :  …………………….

A C C E P T A N C E

The above tender (as modified by you (Contractor) and as provided in the letters mentioned hereunder) is accepted by me for and on behalf of BHARAT SANCHAR NIGAM LIMITED for a sum of

Rs. ……………………./= (Rupees …………………………… ……………………… …………… ……………………………………………………………..)

The letters referred to below shall form part of this Contract Agreement :

(a)

(b)

For & on behalf of Bharat Sanchar Nigam Limited.

Signature : ………………………………………....

Dated :  ……………                       	           	 Name & Designation  :  ……………………………..

PROFORMA OF SCHEDULES

(0perative Schedules to be supplied separately to each of the intending tenderer)

# SCHEDULE “A”

Schedule of Quantities (as per PWD3): Enclosed.

# SCHEDULE “B”

# Schedule of Materials to be issued to the contractor

| S. No. | Description of Item | Quantity | Rates in figures & words at which the materials will be charged from the contractor | Place of issue |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |

# SCHEDULE “C”

# Tools and Plants to be hired to the contractor

| S. No. | Description of Item | Hire charges per day | Place of issue |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| DELETED |

# SCHEDULE “D”

# Extra schedule for specific requirements/documents for the work. If any.

# SCHEDULE “E”

# Schedule of component of Materials, Labour etc. for escalation.

# CLAUSE 10:  Clause 10 C will not be Applicable in this work.

# Component of Materials

expressed as percent of Total

Value of Work						“X” 				75 %

# Component of Labour

expressed as percent of Total

Value of Work 					“Y” 				25 %

# Component of POL expressed

as percent of Total Value of

Work 							“Z” 				0 %

| SCHEDULE “F” |
| --- |
| Reference to General Conditions of Contract |
| Name of Work | “Strengthening of Base of MARR Mast in RSU Compound at Dharamshala (HP). |
| Estimated cost of Work | Rs. 34334/= Rs. Thirty Four thousand Three hundred & Thirty Four only)/= |
| Earnest Money | Rs. 687/= (Rs. Six hundred and Eighty Seven only)/= |
| Performance Guarantee (5 % of the tendered value in the form of Bank Guarantee from Scheduled Bank in respect of works with estimated cost put to tender exceeding Rs. 15,00,000/- (Rs. Fifteen Lacs)) | Not Applicable |
| Security Deposit (10 % of the tendered value for works with estimated cost put to tender up to Rs. 15 Lakhs ) (5 % of the tendered value in the form of Bank Guarantee from Scheduled Bank in respect of works with estimated cost put to tender exceeding Rs. 15,00,000/- ( Rs. fifteen Lacs ) | Rs. --------------------------- ( Rs. -----------------------------------------------------------------------------------------------------------------------------------------------) only. |
| GENERAL RULES AND DIRECTIONS |
| Officers inviting tender | SUB-DIVISIONAL ENGINEER (C), BSNL CIVIL SUB-DIVISION, DHARAMSHALA |
| Maximum percentage for quantity of items of work to be executed beyond which rates are to be determined in accordance with Clause 12.2 & 12.3 | 50% |
| Definitions | See below |
| 2(v) | Engineer-in charge | SUB-DIVISIONAL ENGINEER (C), BSNL CIVIL SUB-DIVISION, DHARAMSHALA |
| 2(viii) | Accepting Authority | SUB-DIVISIONAL ENGINEER (C), BSNL CIVIL SUB-DIVISION, DHARAMSHALA |
| 2(x) | Percentage on cost of materials and Labour to cover all overheads and profit | 10 % |
| 2(xi) | Standard Schedule of Rates | DSR 2016 |
| 9(ii) | Standard BSNL Contract Form | BSNL W-7/8 form as modified and corrected upto the date opening of tenders |
| Clause 2 |
| Authority for fixing compensation under Clause 2 | EXECUTIVE ENGINEER (C), BSNL CIVIL DIVISION DHARAMSHALA |
| Clause 2A |
| Whether Clause2A shall be Applicable | NO |
| Clause 3A |
| Whether Clause 3A shall be Applicable | NO |
| Clause 5 |
| i) | Time allowed for execution of work. | 15(Fifteen) Days |
| Ii) | Authority to give fair and reasonable extension of time for completion of work. | SUB-DIVISIONAL ENGINEER (C), BSNL CIVIL SUB-DIVISION, DHARAMSHALA |
| Clause 6A |
| Whether Clause 6A shall be Applicable | NO |
| Clause 7 |
| Gross value of work to be done together with net payment /adjustment of advances for materials collected, if any, since the last such payment for being eligible to interim payment. | Rs. Nine Thousand. |
| Clause10 |
| Reinforcement steel to be used in the work shall have to be procured as below: |
| (a) CTD bars manufactured by secondary producers. |
| (b) TMT bars manufactured by secondary producers. |
| Clause 11 |
| Specification to be followed for execution of work. | CPWD specifications 2009, Volume I & II with up to date correction slips. |
| Clause 12 |
| 12.2 & 12.3 | Limit for value of any item of any individual trade beyond which clauses 12.2.& 12.3 shall apply. | 50% |
| Clause 16 |
| Competent authority for deciding reduced rates. | Superintending Engineer (Civil), BSNL Civil Circle - II, Shimla (HP). |
| Clause 36(i) |
| General guidelines for fixing requirement of technical staff and rate of recovery in case of non-compliance, for a work, shall be as per the following table |
| S. No. | Minimum qualification of Technical Representative | Discipline | Designation | Minimum Experience | Number | Rate at which recovery shall be made from contractor in the event of not fulfilling provision of clause 36(i) |
|  |  |  |  |  |  | Figure (Rs.) | Words (Rs.) |
| -------NIL------ |
| Clause No. Present Provision in the clause Modified provision in the clause Clause-37 (i) Extent of GST (Goods and services Tax) payable by contractor for building and construction works. 100% [Rates shall be inclusive of 100% GST. However, after issue of detailed guidelines / rules, if a portion of GST is to be paid by department (BSNL), the same shall be recovered from the bill of the contractor] |
| Clause 42 |
| i) | Schedule / statement for determining theoretical quantities of cement on the basis of Delhi Schedule of Rates 2014 Printed by CPWD. |
| ii) | Variation permissible on theoretical quantities |  |
| a) | Cement for works with estimated costs put to tender |  |
|  | i) not more than Rs. 5 lakhs | 3 % minus |
|  | ii) more than Rs. 5 lakhs | 2 % minus |
| b) | Steel reinforcement and structural steel sections for each diameter, section and category. | 2 % minus |

# Star prices to be considered for escalation & recoveries

| Sl.No | Material | Star Price (Rate in Figures and Words) |
| --- | --- | --- |
| 1 | For Cement (OPC 43 GRADE) | Rs. 6660/= (Rs. Six Thousand Six Hundred Sixty only) per Metric Tonne. |
| 2(a) | For Mild steel | _____ |
| 2(b) | For Reinforcement Steel conforming to BIS 1786 ( Fe 415 Grade) | ______ |
| 2(c) | For Reinforcement Steel TMT bars (Primary Producer ) | Rs. 50453/= (Rs. Fifty Thousand Four Hundred & Fifty Three) only per Metric Tonne. |
| 2(d) | For Reinforcement Steel TMT bars (Secondary Producer ) | Rs. 45024/= (Rs. Forty Five Thousand & Twenty Four) only per Metric Tonne. |

SUB-DIVISIONAL ENGINEER (C),

BSNL CIVIL SUB-DIVISION, DHARAMSHALA

PROFORMA FOR AGREEMENT

(ON NONJUDICIAL STAMP PAPER OF APPROPRIATE VALUE)

CONTRACT AGREEMENT FOR THE WORK OF _________________________________________ DATED ______ Between M/s _______________(refer note) in the town of ___________ hereinafter called the contractor (which term shall unless excluded by or repugnant to be subject or context include its successors and permitted assigns) of the one part and the Bharat Sanchar Nigam Limited hereinafter called the BSNL (which term shall unless excluded by or repugnant to the subject or context include its successes and assigns) of the other part.

# WHEREAS

a.	The BSNL is desirous that the construction of _____________________________________ at _________ should be executed as mentioned, enumerated or referred to in the tender including Press Notice Inviting Tender, General Conditions of the Contract, Special Conditions of the Contract, Specifications, Drawings, Plans, Time Schedule of completion of jobs, Schedule of Quantities and Rates, Agreed Variations, other documents, has called for Tender.

b. The contractor has inspected the site and surroundings of the work specified in the tender documents and has satisfied himself by carefully examination before submitting his tender as to the nature of the surface, strata, soil, subsoil and grounds, the form and nature of the site and local conditions the quantities, nature and magnitude of the work the availability of labour and materials necessary for the execution of work, the means of access to site, the supply of power and water thereto and the accommodation he may require and has made local and independent enquiries and obtained complete  information as to the matters and things referred to or implied in the tender documents or having any connection therewith, and has considered the nature and extent of all the probable and possible situations, delays, hindrances or interferences to or with the execution and completion of the work to be carried out under the contract, and has examined and considered all other matters, conditions and things and probable and possible contingencies, and generally all matters incidental thereto and ancillary thereof affecting the execution and completion of the work and which might have influenced him in making his tender.

c.	The tender documents including the BSNL’s Press Notice Inviting Tender, General conditions of contract, Special Conditions of Contract, Schedule of Quantities and rates, General obligations, Specifications, Drawings, plan, time schedule for completi0n of work. Letter of Acceptance of tender and any statement of agreed variations with its enclosures copies of which are hereto annexed form part of this contract though separately set out herein and are included in the expression Contract wherever herein used.

# AND WHEREAS

# The BSNL accepted the tender of M/s ___________________ (refer note_______) (Contractor) for the construction of ____________________________________________at _____________ and conveyed vide letter No. _____________________dated _________ at the rates stated in the Schedule of quantities for the work and accepted by the BSNL (hereinafter called the Schedule of Rates) upon the terms and subject to the conditions of the contract.

# NOW THIS AGREEMENT WITNESSTH & IT IS HEREBY AGREED AND DECLARED AS

FOLLOWS.

1.	In consideration of the payment to be made to the contract for the work to be executed by him, the contractor hereby convenient with the BSNL that the contractor shall and will duly provide, execute, complete and maintain the said work and shall do and perform all other acts and things in the contract mentioned or described or which are to be implied and there-from or may be reasonably necessary for the completion of the said works and at the said times and in the manner and subject to the terms and conditions or stipulations mentioned in the contract, AND

- In consideration of the due provisions execution, completion and maintenance of the said work, the BSNL does hereby agree with the contractor that the BSNL will pay to contractor the respective amounts for the work actually done by him and approved by the BSNL at the Schedule or Rates and such other sum payable to the contractor under provision of the contract, such payment to be made at such time in such manner as prescribed for in the contract.

It is specifically and distinctly understood and agreed between the BSNL and the contractor that the contractor shall have no right, title or interest in the site  made available by the BSNL for execution of the works or in the building, structures or works executed on the said site by the contractor or in the goods, articles, materials, etc. brought on the said site (unless the same specifically belongs to the contractor) and the contractor shall not have or deemed to have any lien whatsoever charge for unpaid bills will not be entitled to assume or retain possession or control of the site or structures and the BSNL shall have an absolute and unfettered right to take full possession of site and to remove the contractor, their servants, agents and materials belonging to the contractor and lying on the site.

3.	“The contract is subject to the jurisdiction of Court at DHARAMSHALA only.” (Where the NIT/Tender has been issued).

In Witness whereof the parties hereto have hereinto set their respective hands and seals in the day and the year first above written.

Signed and delivered for and on behalf of BSNL 	Signature and delivered for and on behalf of the contractor

(BHARAT SANCHAR NIGAM LIMITED)					 		     (Contractor)

# OFFICIAL ADDRESS

Date 							Date

Place 							Place

# IN PRESENCE OF TWO WITNESSES

SIGNATURE 						SIGNATURE

NAME						 	NAME

SIGNATURE 						SIGNATURE

NAME							 NAME

# For Proprietory Concern

# Shri………………………s/o…………………………r/o…………………………..carrying on business under the name and style of………………at………………. (hereinafter called the said Contractor which expression shall unless the context requires otherwise include his heirs, executors, administrators and legal representatives).

# For Partnership Concern

M/s …………….………………………. a partnership firm having its registered office at ……….………….. (hereinafter called the said Contractor which expression shall unless the context requires otherwise include his heirs, executors, administrators and legal representatives). The partners of the firms are:

i)  Shri ………………………………….s/o…………………………., And

ii) Shri ……………………………….....s/o……………………….…..etc..

# For Companies

# M/s …………………………………a company duly incorporated under the Indian Companies Act, 1956 and having its registered office at …………………………..in the state of ………………………….(hereinafter called the said Contractor which expression shall unless the context requires otherwise include its successors and assign).

ANNEXURE “A”

Amendments to Clause 37 & 38 and General Rules & Directions of GCC 2006 for BSNL Civil works

| Sr. No. | Existing Provision | Modified Provision |
| --- | --- | --- |
| 1 | Page 11 of GCC (item 16 of General Rules & Directions) 16.Sales tax, purchase tax, turnover tax or any other tax on material in respect of the contract shall be payable by the contractor and government will not entertain any claim whatsoever in respect of the same. | (i) Sales Tax/VAT (including Service Tax up to the extent mentioned in Schedule-F), Building and other construction workers Welfare Cess or any other tax or cess in respect of this contract shall be payable by the contractor and BSNL shall not entertain any claim whatsoever in this respect. Note:- Regarding Service Tax refer notification no. 6/2015-Service Tax Dated 1st March 2015. The Central Government, being satisfied that it is necessary in the public interest so to do, hereby makes the following amendments in the notification of the Govt. of India in the Ministry of Finance (Department of Revenue) No. 25/2012-Service Tax dated 20th June,2012 published in the Gazette of India, Extraordinary. Part II, section 3, Sub-section (i) vide number G.S.R 467 (E), dated the 20th June,2012 namely:- 1. In the said notification .- 12). Items (a), (c) and (f) shall be omitted. |
| 2 | Clause 37 | Clause 37 |
|  | Levy / Taxes payable by contractor | Levy / Taxes payable by contractor |
|  | (i) Sales Tax/VAT (except Service Tax), Building and other construction workers Welfare Cess or any other tax or cess in respect of this contract shall be payable by the contractor and BSNL shall not entertain any claim whatsoever in this respect. However in respect of Service Tax, same shall be paid by the contractor to the concerned department on demand on demand and it will be reimbursed to him by the Engineer-in-Charge after satisfying that it has been actually and genuinely paid by the contractor. | (i) Sales Tax/VAT (including Service Tax up to the extent mentioned in Schedule-F), Building and other construction workers Welfare Cess or any other tax or cess in respect of this contract shall be payable by the contractor and BSNL shall not entertain any claim whatsoever in this respect. Note:- Regarding Service Tax refer notification no. 6/2015-Service Tax Dated 1st March 2015. The Central Government, being satisfied that it is necessary in the public interest so to do, hereby makes the following amendments in the notification of the Govt. of India in the Ministry of Finance (Department of Revenue) No. 25/2012-Service Tax dated 20th June,2012 published in the Gazette of India, Extraordinary. Part II, section 3, Sub-section (i) vide number G.S.R 467 (E), dated the 20th June,2012 namely:- 1. Sl no. 1(ii) of notification no. 6/2015 –ST dated 01.03.2015-in entry 12, items (a), (c) and (f) shall be omitted” i.e Services provided to the Government, a local authority or a government authority by way of construction, erection, commissioning, installation, completion, fitting out, repair, maintenance, renovation, or alteration of- (a) a civil structure or any other original works meant predominantly for use other than for commerce, industry, or any other business or profession; (c) a structure meant predominantly for use as (i) an educational, (ii) a clinical, or (iii) an art or cultural establishment: (f) a residential complex predominantly meant for self-use or the use of their employees or other persons specified in the Explanation 1 to clause 44 of Section 65 B of the said Act. |
| 3 | Clause 38 | Clause 38 |
|  | Conditions for reimbursement of levy/taxes if levied after receipt of tenders | Conditions for reimbursement of levy/taxes of levied after receipt of tenders |
|  | (i)All tendered rates shall be inclusive of all taxes and levies (except Service Tax) payable under respective statutes. However, if any further tax or levy or cess is imposed by statute, after the last stipulated date for the receipt of tender including extensions, if any, and the contractor thereupon necessarily and properly pays such taxes/levies. The contractor shall be reimbursed the amount so paid, provided such payments, if any, is not in the opinion of the Superintending Engineer ( whose decision shall be final and binding on the contractor) attributable to delay in execution of work within the control of the contractor. | (i) All tendered rates shall be inclusive of all taxes and levies [including Service tax up to the extent mentioned in schedule-F under Clause-37(i)] payable under respective statutes. However, if any further tax or levy or cess is imposed by statute, after the last stipulated date for the receipt of tender including extensions, if any, and the contractor thereupon necessarily and properly pays such taxes/levies, the contractor shall be reimbursed the amount so paid, provided such payments, if any, is not in the opinion of the Superintending Engineer ( whose decision shall be final and binding on the contractor) attributable to delay in execution of work within the control of the contractor. Note:- Regarding Service Tax refer notification no. 6/2015-Service Tax Dated 1st March 2015. The Central Government, being satisfied that it is necessary in the public interest so to do, hereby makes the following amendments in the notification of the Govt. of India in the Ministry of Finance (Department of Revenue) No. 25/2012-Service Tax dated 20th June,2012 published in the Gazette of India, Extraordinary. Part II, section 3, Sub-section (i) vide number G.S.R 467 (E), dated the 20th June,2012 namely:- 1. Sl no. 1(ii) of notification no. 6/2015 –ST dated 01.03.2015-in entry 12, items (a), (c) and (f) shall be omitted” i.e Services provided to the Government, a local authority or a government authority by way of construction, erection, commissioning, installation, completion, fitting out, repair, maintenance, renovation, or alteration of- (a) a civil structure or any other original works meant predominantly for use other than for commerce, industry, or any other business or profession; (c) a structure meant predominantly for use as (i) an educational, (ii) a clinical, or (iii) an art or cultural establishment: (f) a residential complex predominantly meant for self-use or the use of their employees or other persons specified in the Explanation 1 to clause 44 of Section 65 B of the said Act. |

Correction Slip No.6

( To GCC for civil works-2006)

| Clause No. | Present Provision | Proposed Provision |
| --- | --- | --- |
| Clause 7 | No payment shall be made for work, ------ rates as decided by Engineer-in-Charge. The amount admissible will as far as possible be paid by 10th working day after the day of presentation of the bill by the contractor to the Engineer-in-Charge or his Asstt. Engineer together with the account of the material issued by the BSNL or dismantled materials, if any. In the case of works outside the headquarter of the Engineer-in-Charge, the period of ten working days will be extended to fifteen working days. All such interim payment .... detailed measurement thereof. | No change. The amount admissible will as far as possible be paid by 30th working day after the day of presentation of the bill by the contractor to the Engineer-in-Charge or his Asstt. Engineer together with the account of the material issued by the BSNL or dismantled materials, if any. In the case of works outside the headquarter of the Engineer-in-Charge, the period of thirty working days will be extended to forty five working days. No change. |

| S C H E D U L E O F Q U A N T I T Y |
| --- |
|  |  |  | Estimated Cost | Rs 34334/= Rs. Thirty Four thousand Three hundred & Thirty Fourt only)/= |
|  |  |  | EMD | Rs 687= (Rs. Six hundred and Eighty Seven only)/= |
|  |  |  | Time Allowed | 15(Fifteen) Days |
| Name of work :- Strengthening of Base of MARR Mast in RSU Compound at Dharamshala (HP). |

| Item No. | Description of Item | Quantity | Unit | Rates (In figures & words) | Amount (Rs) |
| --- | --- | --- | --- | --- | --- |
|  | Sub-Head : Earth Work |  |  |  |  |  |
| 1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  |  |  |  |  |
| a) | All kinds of soil. | 1.00 | Cum | Cum |  |  |
|  | Sub-Head : Concrete Work |  |  |  |  |  |
| 2 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  |  |  |  |
| a) | 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size). | 0.15 | Cum | Cum |  |  |
|  | Sub-Head : Reinforced Cement Concrete |  |  |  |  |  |
| 3 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : |  |  |  |  |  |
| a) | 1: 2 : 4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 4.00 | Cum | Cum |  |  |
| 4 | Centering and shuttering including strutting, propping etc. and removal of form for : |  |  |  |  |  |
| a) | Foundations, footings, bases of columns etc. for mass concrete. | 7.00 | Sqm | Sqm |  |  |
| 5 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete up to plinth level. |  |  |  |  |  |
| a) | Thermo-Mechanically Treated bars of grade Fe-500D or more | 30.00 | Kg | Kg |  |  |
| 6 | Smooth finishing of the exposed surface of R.C.C. work with 6 mm thick cement mortar 1:3 (1 Cement : 3 fine sand) | 10.00 | Sqm | Sqm |  |  |

SUB-DIVISIONAL ENGINEER (C),

BSNL CIVIL SUB-DIVISION,

DHARAMSHALA