| Office of the Executive Engineer (C) BSNL, Civil Division, Block No-5, Set No-4, Phase-III, Secto-6, Kangnadhar, BCS New Shimla-9 Telephone: 0177 2673088 Fax: 2673188 |  |
| --- | --- |

SCHEDULE OF QUANTITIES

Name of work: -Construction of Govt. High School Building at Mahog, Tehsil Theog . Distt. Shimla (HP). (SH: Lying of Foundation Stone).

| Sr. No. | Description | Qty. | Unit | Rate (both in words & figures) | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | SH:- Earth work |  |  |  |  |
|  | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 Sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m. |  |  |  |  |
|  | All kinds of Soil. | 2.40 | Cum |  |  |
|  | SH:- Cement Concrete work |  |  |  |  |
| 1. | Providing and laying cement concrete of specified grade excluding the cost of centering and shuttering- All work upto plinth level. (a)1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size). | 0.40 | Cum |  |  |
|  | SH:-Brick work |  |  |  |  |
| 1. | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in. |  |  |  |  |
|  | Cement mortar 1:6 (1 Cement : 6 coarse sand) | 4.00 | Cum |  |  |
|  | SH:- Misc. Work |  |  |  |  |
| 1 | Execution of miscellaneous item at site clearance, watch & word of pedestal fixing of foundation stone curtain road and other urgent service at site requirement all complete as per direction of Engineer-in-Charge. | 1 | Job. |  |  |
| 2. | Providing and Supplying foundation stone / plate engraving / printed with approved text excluding the cost of fixing on wall complete in all respect as per direction of Engineer-in-Charge. | 3 | Job. |  |  |
|  |  |  |  | Total Rs- |  |

Link Officer (Civil).