S C H E D U L E O F Q U A N T I T Y

Name of work :-

Minor Civil repair works in Q. No. 10 in old P&T Colony Dharamshala (HP).

| S no | Description of items | Quantity | Unit | Rate (both in words & figures) Rs. | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
|  | Sub-Head : Dismantling and Demolishing |  |  |  |  |  |
| 1 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. |  |  |  |  |  |
| a) | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 0.20 | Cum | One Cubic Metre |  |  |
|  | Sub-Head : Flooring |  |  |  |  |  |
| 2 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement including cement slurry, but excluding the cost of nosing of steps etc. complete. |  |  |  |  |  |
| a) | 40mm thick with 20mm nominal size stone aggregate. | 1.08 | Sqm | One Square Metre |  |  |
|  | Sub-Head : Sanitary Installations |  |  |  |  |  |
| 3 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : |  |  |  |  |  |
| a) | W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | No. | Each |  |  |
| 4 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 1.00 | No. | Each |  |  |
| 5 | Providing and fixing soil, waste and vent pipes : |  |  |  |  |  |
| a) | 100 mm dia. |  |  |  |  |  |
| (i) | Sand cast iron S&S pipe as per IS: 1729. | 1.00 | Mtr | One Metre |  |  |
| a) | 75 mm dia. |  |  |  |  |  |
| (i) | Sand cast iron S&S pipe as per IS: 1729. | 1.50 | Mtr | One Metre |  |  |
| 6 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. |  |  |  |  |  |
| a) | 100 mm |  |  |  |  |  |
| (i) | Sand cast iron S&S as per IS - 1729 | 1.00 | No. | Each |  |  |
| a) | 75 mm |  |  |  |  |  |
| (i) | Sand cast iron S&S as per IS - 1729 | 1.00 | No. | Each |  |  |
| 7 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : |  |  |  |  |  |
| a) | 100 mm inlet and 100 mm outlet |  |  |  |  |  |
| (i) | Sand cast iron S&S as per IS: 3989. | 1.00 | No. | Each |  |  |
| 8 | Providing and fixing aluminium curtain rods 20 mm dia with all fixers and screws, all complete as per the direction of engineer-in-charge . |  |  |  |  |  |
|  |  | 25.00 | Meter | One Metre |  |  |
|  | Sub-Head : Water Supply |  |  |  |  |  |
| 9 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. : Internal work – Exposed on wall. |  |  |  |  |  |
| a) | 15 mm dia. nominal bore | 2.00 | metre | One Metre |  |  |
| 10 | Providing and fixing uplasticised PVC connection pipe with brass unions : |  |  |  |  |  |
| a) | 30 cm length |  |  |  |  |  |
| (i) | 15 mm nominal bore | 1.00 | No. | Each |  |  |
| 11 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15 mm nominal bore |  |  |  |  |  |
| a) | 15mm nominal bore | 1.00 | No. | Each |  |  |

SUB DIVISIONAL ENGINEER (C),

BSNL CIVIL SUB DIVISION ,

DHARAMSHALA

Last corrected on 16/08/2018