(A. Govt of India Enterprises)

(Civil Wing)

OFFICE OF THE

EXECUTIVE ENGINEER (C), BSNL,CIVIL DIVISION, BLOCK No-5, 4Th  Floor, PHASE-III, SECTOR-6, KANGNADHAR, NEW SHIMLA (171009).

(TELEPHONE NO-0177-2673088, 2673288).

e - T E N D E R   D O C U M E N T

FOR

THE WORK OF

“Renovation of Block 18A & 18B, and Interior Designing of the O/o Director Medical Education & Research, Kasumpti, Shimla (SH- Furniture works).”

NIT No:  EE/BSNL/CD/SML/DB/Year 2018-19/46                      dated- 05-03-2019

Certified that this document contains 1 To 45 printed pages including the cover page.

To be submitted only online on the website: www.tenderwizard.com/BSNL

by 18.00 hrs on   13-03-2019.

Name of Contractor………………………

Executive Engineer (Civil)

BSNL Civil Division,

Shimla (HP)

(A Govt. of India Enterprise)

(CIVIL WING)

O/o EXECUTIVE ENGINEER (C), BSNL, CIVIL DIVISION, SHIMLA (HP).

INDEX OF e-TENDE R DOCUMENT

Name of work:- “Renovation of Block 18A & 18B, and Interior Designing of the O/o Director Medical Education & Research, Kasumpti, Shimla (SH- Furniture works).”

| S. No. | Item Description | From | To |
| --- | --- | --- | --- |
| 1 | Cover Page | 1 | 1 |
| 2 | Index of Tender Documents | 2 | 2 |
| 3 | Information & instructions for contractors / bidders for e-tendering | 3 | 4 |
| 4 | Certificate for near relatives. | 5 | 5 |
| 5 | Declaration on EPF / ESIC / Labour licence | 6 | 6 |
| 6 | Undertaking regarding Submission of Physical Bid Documents. | 7 | 7 |
| 7 | BSNL W – 6 | 8 | 14 |
| 8 | Important instructions to all tenderers | 15 | 15 |
| 9 | BSNL W –8 (Abridged form) | 16 | 17 |
| 10 | Proforma of Schedules A to F & Preferred make | 18 | 21 |
| 11 | Amendments to Clause 37 & 38 of GCC 2006 | 22 | 22 |
| 12 | Special Conditions | 23 | 30 |
| 13 | Performa of Agreement, Form of Performance Security Bank Guarantee Bond and affidavit. | 31 | 34 |
| 14 | Appendix-XV | 35 | 35 |
| 15 | Schedule of Quantities. | For View purpose Only | 36 | 55 |

Executive Engineer (Civil)

INFORMATION AND INSTRUCTIONS FOR CONTRACTORS / BIDDERS FOR e-TENDERING FORMING PART OF BID DOCUMENT

The Executive Engineer, BSNL Civil Division, Block No-5, Set No-4, Phase-III, Sector-6, Kangnadhar, New Shimla, Phone No-2673088 on behalf of the Director Medical Education, Govt. of HP Shimla, invites online item rate bids from approved and eligible contractors of BSNL and non – BSNL registered contractors registered with other public works organizations like CPWD, HP PWD (B&R), D.O.P., M.E.S. & Railways (in the appropriate class for tendering limit of equal to or more than the estimated cost) for following work. The Specialized agencies having requisite work experience are also eligible for tendering.

| SNo. | NIT No. | Name of Work & Location | Estimated Cost put to bid | Cost of e-tender | Earnest money | Period of Completion | Last Date & Time of submission of bid | Period during which EMD, Bid cost, and other document shall be submitted. | Time & Date of Opening of bid |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 5 | 6 | 7 | 8 | 9 |
| 1 | NIT No: EE/BSNL/ SML/DB/Year 2018-19 /46. | “Renovation of Block 18A & 18B, and Interior Designing of the O/o Director Medical Education & Research, Kasumpti, Shimla (SH- Furniture works).” | Rs. 42,04,491.00 | Rs. 590.00 | Rs.84,090.00 | 45 (Forty Five) Days. | UP to 18.00 Hrs on 13-03-2019. | After last date and time of submission of bid and up to 15.00 Hrs on 16-03-2019. | UP to 11.00 Hrs on 20-03-2019. |

- The intending bidder must read terms and conditions of BSNL W6 carefully. He should only submit his bid if he considers himself eligible and he is in possession of all the documents required.

- Information and instructions for bidders posted on website www.tenderwizard.com/BSNL shall form part of bid document.

- The bid document consisting of plans, specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents can be seen and downloaded from websit- http://eprocure.gov.in,   www.hp.bsnl.co.in/hpc. or  www.tenderwizard.com/BSNL.

4.	But the bid can only be submitted after depositing processing fee in favour of ITI limited and uploading the mandatory scanned document such as Damand draft or Pay order or Banker’s cheque or Deposit at call Receipt or Fixed deposit Receipt and Bank guarantee of any scheduled Bank towards cost of bid document and EMD in favour of “Accounts Officer (EF), O/o The CGMT, BSNL, HP Telecom Circle, Shimla (HP), payable at Shimla (HP)” and other documents as specified.

- Those contractors not registered on the website mentioned above are required to get registered beforehand. If needed they can be imparted training on online bidding process as per details available on the website.

6.       The intending bidder must have valid class III digital signature to submit the bid.

- On opening date the contractor can login and see the bid opening process. After opening of bids he

will receive the competitor bid sheets.

- Contractor can upload documents in the form of JPG format/ PDF format.

- Contractor must ensure to quote rate of each item. If any cell is left blank and no rate is quoted by the bidder, rate of such item shall be treated as “0” Zero.

- If a tenderer quotes nil rates against each item in item rate tender or does not quote any percentage above/below on the total amount of the tender or any section/sub head in percentage rate tender, the tender shall be treated as invalid and will not be considered as lowest tenderer.

- For e-Tendering, BSNL has engaged e-portal maintained by M/s ITI Ltd. The agency intending to participate in tendering process shall have to register with https://www.tenderwizard.com/BSNL  by making online payment of required amount with registration particulars.  For further details kindly visit website  http://www.tenderwizard.com/BSNL  or contact 071239537537, 0826103300 / 096250330 / 08261922200.

- The tenderer should read carefully & understand the tender document, procedure for e- tendering etc. completely before participating in the e-tender procedure. Participation in the e-tendering, presumes that the bidder (s) has/have gone through all the terms & conditions of the bid document and are fully agreeable to it.

13.	List of Documents to be scanned and uploaded within the period of bid submission:

- Enlistment Order of the contractor *.

ii)	        Near relative certificate as stipulated under clause 16 of Notice Inviting Tender (Annexure I)

iii)        Copy of GST Registration.

iv)	        Copy  of EPF& ESIC registration OR an undertaking as per Annexure II.

v)         Demand Draft / Pay order or Banker’s Cheque / Deposit at Call Receipt / FDR of any Scheduled

Bank against EMD.

- Demand Draft / Pay order or Banker’s Cheque of any Scheduled Bank towards Cost of Bid Document.

- Certificates of Work Experience (for non BSNL registered contractors only).

viii).        Undertaking regarding physical submission of bid documents as per Annexure III.

* If the bidder is a firm in partnership / Limited company or Corporation, then the hard copies of Form “A” and partnership  deed / memorandum  of articles of association  and power of attorney  / authorization  to the person who signs the tender in case of companies  etc shall also be uploaded/submitted along with other documents

14.      Self certified copies of all uploaded documents under para 13 and Original financial payment

instrument against EMD & TC shall be deposited within the period of physical form submission.

15.	Financial bid of those tenderer shall be opened who has uploaded the documents mentioned at Sr. No 13 and submitted hard copy before prescribed date.

16.	If the contractors do no submit the physical bid documents / Technical Bid consecutively three times after submission of online bids, action shall be taken to withdraw his / their enlistment & debar him / them from tendering in BSNL for the period of six months. An undertaking in this regard is to be submitted along with the tender by the tenderers as per Annexure III.

ANNEXURE-I

(To be submitted by the contractor regarding near relatives working in BSNL Civil Zone as per clause 16 of BSNL W-6)

CERTIFICATE FOR NEAR RELATIVES

“I……………………………………………………S/o ……………………..……………………………….Resident of……..………………………………………….……………….…………………………………………….………………………. hereby certify that none of my relative(s) as defined in clause 16 of BSNL W-6  is / are employed in BSNL Civil H.P Zone.  In case, at any stage, it is found that the information given by me is false/ incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me”.

SIGNATURE OF CONTRACTOR

(Note: The certificate in case of Proprietorship Firm shall be given by the proprietor and for Partnership firm’s certificate shall be given by all Partners and in case of Limited Company by all Directors of the company. However, Government of India / Financial Institutions nominees and independent non-official part-time Directors appointed by Govt. of India or the Governor of the State are excluded from the purview of submission of this certificate while submitting tenders by Limited Companies.)

Annexure-II

DECLARATION REGARDING EPF, ESIC & Labour licence

“I / We _________________________________________________ do hereby solemnly declare that I shall abide by all the rules / condition / provisions of ‘The Employees Provident Funds Act / Scheme 1961’  and ESIC Act . I/We shall obtain and submit applicable EPF, Labour licence & ESIC  within one month of award of work.  First payment shall be made to me/us  only after submission of applicable  EPF, ESIC  & labour  licence  by me/us.  In case of any default , the sole responsibility shall be mine / us  . I/We shall also be liable for any pecuniary liability arising on account of any violation by me/us of the provisions of the said Acts”.

This declaration shall become part of the Agreement.

SIGNATURE OF CONTRACTOR

Annexure-III

UNDERTAKING REGARDING SUBMISSION OF PHYSICAL BID DOCUMENTS & SIMILAR WORKS

“If I / We _________________________________________________ do not submit the physical bid documents / Technical Bid consecutively three times after submission of online bids, it shall be treated as breach of conditions and action shall be taken to withdraw my / our enlistment / debar me / us from tendering in BSNL for six months”.

“Further I/We undertake and confirm that eligible similar work (s) has/have not been got executed through another contractor on back to back basis. Further that, if such a violation comes to the notice of Department, then I/We shall be debarred for tendering in BSNL contracts in future forever. Also, if such a violation comes to the notice of department before date of start of work, the Engineer-in-charge shall be free to forfeit the entire amount of earnest money deposit / performance guarantee”.

SIGNATURE OF CONTRACTOR

BSNL W-6

( A Government of India Enterprise)

(CIVIL WING)

O/O EXECUTIVE ENGINEER (C), BSNL,CIVIL DIVISION, BLOCK No-5, 4Th  Floor, PHASE-III, SECTOR-6, KANGNADHAR, NEW SHIMLA (171009).

(TELEPHONE NO-0177-2673088, 2673288).

NOTICE INVITING e-TENDER

NIT No:  EE/BSNL/CD/SML/DB/Year 2018-19/ 46                       dated- 05-03-2019

1.	Item rate e-tenders are invited by the Executive Engineer, BSNL Civil Division, Block No.5, Set No-4, Phase-III, Sector-6, Kangnadhar, New Shimla (HP), on behalf of the Director Medical Education, Govt. of HP Shimla, from approved and eligible contractors of BSNL and non – BSNL registered contractors registered with other public works organizations like CPWD, State PWD(B&R), D.O.P., M.E.S. & Railways. (in the appropriate class for tendering limit) for the work of “Renovation of Block 18A & 18B, and Interior Designing of the O/o Director Medical Education & Research, Kasumpti, Shimla (SH- Furniture works).” The Specialized agencies having requisite work experience are also eligible for tendering.

The enlistment of the contractors should be valid on the last date of submission of bids. In case the last date of submission of bid is extended, the enlistment of contractor should be valid on the original date of submission of bids.

1.1	The work is estimated to cost Rs. 42,04,491.00 (Rs. Forty Two Lakh Four Thousand Four Hundred and Ninety One Only. Intending Tenderers have to upload the self attested scanned copy of their valid enlistment document with the appropriate authority and copies of certificates, testimonials and satisfactory completion certificates of works, from the department concerned, obtained from an officer not below the rank of Executive Engineer, in charge of work. He / they shall submit attested copies of GST No, as per latest orders of G.O.I. The hard copies of attested uploaded documents should be submitted along with tender cost and EMD in the wax / adhesive tape sealed envelope, to the office of Executive Engineer (C), BSNL Civil Division, Shimla (HP) within the period mentioned in this NIT.

    - Eligibility criteria regarding Work Experience:

1.2.1.1 BSNL enlisted contractor, Non BSNL registered contractor in Appropriate class (CPWD, State PWD(B&R), D.O.P., M.E.S. &   Railways) and specialized agencies---

The applicant should have completed works as per details below during the last seven years ending last day of the month previous to the one in which the tenders are invited.

a) 	Three similar completed works each costing not less than Rs-16,82,000/-

or

- Two similar completed works each costing not less than Rs-21,03,000/-

or

- One similar completed works each costing not less than Rs- 33,64,000/-

Similar work means ‘‘Providing and fixing modular furniture works”.  The value of executed works shall be brought to current costing level by enhancing the actual value of executed work at simple rate of 7% per annum; calculated from the date of completion to last date of receipt of applications for tenders and shall be rounded off to the nearest hundred rupees.

Above works should have been carried out in Central / State Government / Central or State Public Sector Undertakings.

The experience certificate given by an officer not below the rank of Executive Engineer shall indicate clearly the nature of the work, agreement no. and satisfactory completion of the work along with actual value of work done and actual date of completion and shall be issued by authorized signatory / authority and shall be in original / attested.

1.2.2	Tenderers will be eligible to quote provided they produce proof of their valid enlistment with appropriate authority, copy of valid GST No with the appropriate department etc.

1.2.3	The contractor shall have to fully abide by the relevant provisions of the Employee’s Provident Fund Act 1952, ESIC (wherever applicable) and Rules of The Employees provident Funds Act / Scheme 1961 (as applicable) framed therein from time to time and they have to obtain and produce EPF/ ESI registration within one month of award of work or before payment of 1st RA bill.

1.3	The agency should fulfill the criteria of clause 16 of BSNL form W-6 & should furnish a Certificate regarding near relatives as per Annexure I.

1.4	The agency / agencies, which are Blacklisted / Debarred / Ceased for Financial Transactions by BSNL and/or any Central / state Govt. Department / PSU are not eligible for tendering.

2.	Agreement shall be drawn with the successful bidders on prescribed Form No. BSNL W 8 and General Conditions of Contract with up to date correction slips 1 to 6 which are available as a BSNL Publication and also on BSNL website www.civil.bsnl.co.in. & www.hp.bsnl.co.in/hpc.  Bidders shall quote his rates as per various terms and conditions of the said form which will form part of the agreement.

3.	The time allowed for carrying out the work, will be 45 (Forty Five) Days from the 15th day after the date of issue of letter of award of work or from the first day of handing over of the site whichever is later, in accordance with phasing, if any, indicated in the Tender Document.

4.	The site for the work shall be made is available at the time of execution.

5.	The bid document consisting of plans, Specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents including General Conditions of Contract Form  i/c correction slips can be seen from website http://www.tenderwizard.com/BSNL , www.hp.bsnl.co.in/hpc. and http://eprocure.gov.in

- The last date of submission of bids online, will be 13-03-2019 by 18.00 Hrs.

- The date of submission of eligibility documents etc. and EMD, tender fee, (After submission of online bid) will be 16-03-2019 by 15.00 Hrs. and shall be opened  on same day at 15.30 Hrs.

(iii)   The date of opening of e-tenders will be 20-03-2019 at 11.00 Hrs.

6.	After submission of the bid the contractor can re-submit revised bid any number of times but before last time and date of submission of bid as notified.

7.	While submitting the revised bid, contractor can revise the rate of one or more items any numbers of times (he need not re-enter rate of all the items) but before last date and time of submission of bid as notified.

8.	Interested contractors who wish to participate in the tender had to make following payments and submission as under:.

8.1 (i) Cost of Bid Document –Non refundable in form of Demand Draft / pay orders  amounting to Rs. 590/- (Rs Five Hundred and Ninety Only)  drawn in favour of Accounts Officer (EF), O/o The CGMT, BSNL, HP Telecom Circle, Shimla (HP), payable at Shimla (HP)”

(ii) Earnest Money of Rs. 84,090.00 (Rs. Eighty Four Thousand & Ninety Only) as  Banker’s cheque / deposit at Call receipt of a scheduled bank / fixed deposit receipt of a scheduled bank / Demand draft of a scheduled bank issued in favour of Accounts Officer (EF), O/o The CGMT, BSNL, HP Telecom Circle, Shimla (HP), payable at Shimla (HP)” . When amount of earnest money is more than Rs. 5 lakhs, part of the earnest money is acceptable in the form of bank guarantee also. In such case, minimum 50% of earnest money (but not less than 5 lakhs) or Rs. 25 lakhs, whichever is less, will have to be deposited in the shape prescribed above. For balance amount of earnest money, bank guarantee will also be acceptable.

(iii) e-tender Processing Fee- An amount of Rs. 2,480/- (Rs. Two Thousand Four Hundred & Eighty  Only) as processing fee to “I T I Limited” shall be paid through e-payment mode only through the website www.tenderwizard.com/BSNL.

Note: Money due to contractor in any other work or earnest money of the previous call of the same work shall not be adjusted towards earnest money & the Cost of tender, EMD, Processing fee should be submitted through separate instruments.

The scanned copy of above documents (demand Draft / Pay order or Banker’s cheque / FDR / deposit at call receipt or bank guarantee) is to be uploaded to the e-Tendering web site within the period of online bid submission and original should be submitted along with self attested copies of eligibility documents in the wax / adhesive tape sealed envelope, to the office of Executive Engineer (C), BSNL Civil Division, Shimla HP) within the period mentioned in this NIT.

The intending bidder has to fill all the details such as Banker’s name, Demand draft / Fixed Deposit Receipt / Pay order/ Banker’s cheque/ Bank Guarantee number, amount and the date in the e-tendering website.

8.2     MODE OF SUBMISSION:-

a)  The copy of Earnest money, cost of Tender, Copy of Enlistment Order, copy of GST registration issued, Near relative certificate (annexure I), copy of EPF, ESIC OR an undertaking as per Annexure II, Annexure III , copy of work experience & Power of Attorney, if applicable shall be scanned & uploaded to the e-tendering website within the period of tender submission.

b) The self attested copies of all uploaded documents as per 8.2 (a) e.g enlistment order, certificate of work experience and other documents as well as demand draft / pay order or Bankers cheque in original for tender cost and Banker’s cheque / deposit at call receipt of a scheduled bank/ fixed deposit receipt of a scheduled bank / Demand draft of a Scheduled bank for EMD shall be submitted in the wax / adhesive tape sealed envelope, to the Office of Executive Engineer (C), BSNL Civil Division, Shimla (HP), after last date & time of online submission of bid and up to by 15.00 Hrs on 16-03-2019. The document submitted shall be opened at 15.30 Hrs on the same day in presence of contractors who may be present. The envelope shall be superscripted with name of work, name of tenderer, date and time of opening of bids.

Financial bid documents submitted by intending bidders shall be opened only of those bidders, whose Earnest Money deposit, Cost of Bid Document and other documents uploaded in prescribed manner and hard copies submitted, placed in the envelope are found in order.

The financial bid submitted shall be opened at 1100 Hrs on 20-03-2019.

9. The bid submitted shall become invalid and cost of bid & e-Tender processing fee shall not be

refunded if:

- The bidder is found ineligible.

ii)     The bidder does not upload all the documents as stipulated in the bid document.

- If any discrepancy is noticed between the details/ documents as uploaded at the time of submission of bid and hard copies as submitted physically in the office of tender opening authority.

- The bidder does not submit documents in physical form as specified in the bid document before

specified date and time.

Note:-  In case the eligibility credentials are not found genuine at any stage i.e. before award of work   or   during   execution   of   the work   or   after   completion   of   the   work,   the contractor will be debarred from tendering in BSNL for three years including any other action under the contract or existing law.

10.	The description of the work is as follows:- “Renovation of Block 18A & 18B, and Interior Designing of the O/o Director Medical Education & Research, Kasumpti, Shimla (SH- Furniture works).”

11. Copies of other drawings and documents pertaining to the work will be open for inspection by the tenderers at the office of the Executive Engineer (Civil) BSNL Civil Division,  Shimla (HP).

12.	Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general, shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender. A tenderer shall be deemed to have full

knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed. The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity, access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract documents. Submission of tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant, etc. will be issued to him by the BSNL and local conditions and other factors having a bearing on the execution of the work.

13.	The competent authority on behalf of the BSNL does not bind itself to accept the lowest or any other bid and reserves to itself the authority to reject any or all the bids received without assigning any reason. All bids in which any of the prescribed condition is not fulfilled or any condition including that of conditional rebate is put forth by the bidder shall be summarily rejected.

14.	Canvassing whether directly or indirectly, in connection with bids is strictly prohibited and the bids submitted by the contractors who resort to canvassing will be liable to rejection.

15.	The competent authority on behalf of BSNL reserves to himself the right of accepting the whole or any part of the bid and the bidder shall be bound to perform the same at the rate quoted.

- The company or firm or any other person shall not be permitted to tender for works in BSNL Civil Zone,  in which his near relative(s) (directly recruited or on deputation in BSNL is/are posted in any capacity either non-executive or executive employee. Near relative (s) for this purpose is/are defined as:

- Member of Hindu Undivided family (HUF).

- They are Husband and Wife.

- The one is related to other in the manner as father, mother, son(s) & Son’s wife (daughter-in-law), Daughter(s), Daughter’s husband (son-in-law), brother(s), brother’s wife, sister(s), sister’s husband (brother-in-law).

The contractor shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relative to any executive employee/gazetted officer in the BSNL or Department of Telecom or in the Ministry of Communications.

All the intending tenderers will have to give a certificate/ Declaration that none of his/her such near relative (s) as defined above is/are working in the concerned BSNL Civil Zone where he is going to apply for tender/work. The format of the certificate is as under:

“I___________________________________ S/o  Shri _________________________________________________________ Resident of_______________________________________________________ hereby certify that none of my relative(s) as defined above is/are employed  in concerned BSNL Civil Zone. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me.”

The certificate in case of Proprietorship Firm shall be given by the proprietor, for Partnership Firm certificate shall be given by all partners and in case of Limited Company, by all Directors of the company. However, Government of India/ Financial Institutions nominees and independent non-official

part-time Directors appointed by Govt. of India or the Governor of the State are excluded from the purview of submission of this certificate while submitting tenders by Limited Companies.

Any breach of these conditions by the Company or Firm or any other person, the tender/ work will be cancelled and Earnest Money/ Security Deposit will be forfeited at any stage, whenever it is so noticed. BSNL will not pay any damages to the company or Firm or the concerned person but damages arising on account of such cancellation to be borne by the contractor. The Company or Firm or the person will also be debarred for further participation in the tender in the concerned BSNL Civil Zone. Further, any breach of this condition by the tenderer would also render him liable to be removed from the approved list of contractors of BSNL. If however the contractor is registered in any other Department he shall also be debarred from tendering in BSNL for any breach of this condition.

17.	No Engineer of Gazetted rank or other Gazetted officer employed in Engineering or Administrative duties in an Engineering Department of the Government of India including State Government or PSU’s (including BSNL) is allowed to work as a contractor for a period of two years after his retirement from Government service, without previous permission of the Government of India or BSNL in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found any time to be such a person who had not obtained the permission of the Government of India /State Government or PSU’s as aforesaid before submission of the tender or engagement in the contractor's service.

18.	The bid for the works shall remain open for acceptance for a period of 60 days from the date of opening of Bids. If any bidder withdraws his bid before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of the bid which are not acceptable to the department, then BSNL shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid. Further the bidder shall not be allowed to participate in the re-bidding process of the work.

19. 	In case of works having estimated cost below Rs.15,00,000/-, the successful tenderer shall be  required to execute an agreement with the Engineer-in-charge in the Proforma annexed to the tender document, within 15 days of the issue of letter of award by the BSNL. In the event of failure on the part of the successful tenderer to sign the agreement, the earnest money will be forfeited and tender cancelled. In case of works of estimated to cost Rs.15, 00,000/- and above, the successful tenderer shall, upon issue of letter of acceptance of Tender, shall be required to furnish performance guarantee at rate of 5% of the tendered value in the form of irrevocable Bank Guarantee of requisite amount to the Engineer-in-charge in the Proforma annexed to the tender document, within 15 days of the issue of letter of acceptance of Tender by the BSNL. In the event of failure on the part of the successful tenderer to furnish the Bank Guarantee within 15 days, the earnest money will be forfeited and tender cancelled.

- This Notice Inviting Tender (BSNL W-6) shall form a part of the contract document. In accordance with clause 1 of the contract, the letter of acceptance shall be issued first in favor of the successful tenderer/ contractor. After submission of the performance guarantee, the letter of award shall be issued. The contract shall be deemed to have come into effect on issue of letter of acceptance of the tender. On issue of letter of award, the successful Tenderer/Contractor shall, within 30 days from such date, formally sign the agreement consisting of :-

- The notice inviting tender, all the documents including additional conditions, specifications and drawings, if any, forming part of the tender, and, as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

- Standard BSNL W8 as on Website www.hp.bsnl.co.in/hpc ,  www.civil.bsnl.co.in. and http://eprocure.gov.in.

- Agreement signed on non-judicial stamp paper as per proforma annexed to the tender document.

- Payment to the contractors shall be made through e-payment system like ECS/EFT/RTGS as

detailed below:-

- In cities/areas where ECS/EFT/RTGS facility is provided by Banks, the tenderer must have Account in such ECS/EFT/RTGS facility providing Banks and that Bank A/c Number shall be quoted in the tender by the tenderer.

- The cost of ECS/EFT/RTGS will be  borne by BSNL in all cases where the payment to contractor is made in a local Branch i.e. tenderer is having bank account in the same  place from where the payment is made by BSNL unit.

- In case payment is made to outside branch i.e. tenderer is having bank account not in the same place form where the payment is made by BSNL unit, the crediting cost will have to be borne by the tenderer only.

- The payments to contractors will compulsorily be made through ECS/EFT/RTGS in respect of all contracts where the value of the contract is more than Rs. 10 lakhs.

22.	First running account bill shall be paid only after

- Signing of the Agreement/Contract by both the parties, and

- Progress chart has been prepared as required under Clause 5 and approved by the competent authority.

23.	If a contractor after purchasing the tender does not quote consecutively on three occasions, the contractor may be debarred for further purchase of tenders for a period of six months.

24.	General conditions of works in BHARAT SANCHAR NIGAM LTD  and all correction slips are available on website www.hp.bsnl.co.in/hpc   as well as in the Divisional/ Sub divisional Office.

25.	The Contractor will submit computerized measurement books and bill in duplicate for all running and final bills and nothing extra shall be paid on this account.

26.	Condition for EPF/ESI/ GST

(a) The bidder must comply with the Provisions of EPF & Misc. Provisions Act, 1952 and Employees Provident Fund Scheme 1952, in respect of labourers/employees engaged by the bidder for carrying out works and they have to obtain and produce EPF registration within one month of award of work. First payment shall be made to the contractor only when he submits his valid / applicable EPF registration.

b)  The claim bill of contractor must accompany the list showing the details of labourers / employees engaged, duration of their engagement, amount of wages paid to such labours/ employees , & authenticated documents  showing amount of EPF contributions (both employer’s & employees contribution), paid to the  EPF Authorities.  Non compliance of above provision will be treated as breach of contract and necessary action against the bidder will be taken.

- The contractor shall be required to comply the provision of ESIC, payment of wages act, contractor labour regulation act, payment of bonus act, payment of gratuity act and GST tax regulation. Non compliance of above provision will be treated as breach of contract and necessary action against the bidder will be taken.

- All tendered rates shall be inclusive of all tax, levy or cess applicable on last stipulated date of receipt of tender including extension if any.   No adjustment i.e. increase or decrease shall be made for any variation in the rate of GST, Building and Other Construction Workers Welfare Cess or any tax, levy or cess applicable on inputs. However, effect of variation in rates of GST or Building and Other Construction Workers Welfare Cess or imposition or repeal

of any other tax, levy or cess applicable on output of the works contract shall be adjusted on either side, increase or decrease. Provided further that for Building and Other Construction Workers Welfare Cess or any tax (other than GST), levy or cess varied or imposed after the last date of receipt of tender including extension if any, any increase shall be reimbursed to the contractor only if the

contractor necessarily and properly pays such increased amount of taxes/levies/cess_ Provided further that such increase including GST shall not be made in the extended period of contract for which the contractor alone is responsible for delay as determined by authority for extension of time under Clause 5 in Schedule F.

  - The invoices raised by the contractor shall indicate GST as a separate component of the gross bill raised.  Since, the Service Tax is subsumed in GST, there will not be any reimbursement/payment of Service Tax and the Clause- 37 of GCC of BSNL W-6 stands modified accordingly. Income Tax, TDS Towards GST (if made applicable subsequently) , Labour Cess & other statutory deductions etc., shall be deducted at source as per the prevalent laws. The contractor shall be solely responsible for timely payment of GST to the concerned department as per extant law. Any penalty / interest for late submission etc. arising thereupon and as demanded by the concerned department shall be sole responsibility of the contractor and BSNL shall have absolutely no liability what so ever on this account.

27.	For e-Tendering, BSNL has engaged e-portal maintained by M/s ITI, New Delhi. The agency intending to participate in tendering process shall have to register with M/s ITI, New Delhi. The ITI helpline nos. are 01723953753, 08261033300 / 09625033300 / 08261922200.

28.	If any terms and conditions under General Rules and Directions is in contravention to terms and conditions as above, the terms and conditions as above shall prevail.

- It there happens to be holiday on any dates mentioned above, then the transactions will be made on next working day.

Signature:-

Executive Engineer (Civil)

BSNL Civil Division

Shimla

For & on behalf of Director Medical Education,

Govt. of HP Shimla.

IMPORTANT INSTRUCTIONS TO ALL TENDERERS

All tenderers should read the following important instructions carefully before actually quoting rates:-

- The tenderer should read carefully & understand Tender form BSNL W-8, Bharat Sanchar Nigam Limited “General Conditions of Contract for Civil Works (2006) with up to date correction slips no. 1 to 6 (available on website :- www.bsnl.co.in / www.hp.bsnl.co.in/hpc) and in division office) schedule of quantity site location, site conditions, head load, preferred list of items for the work etc. carefully before quoting for the work.

- The schedule of items, estimated cost etc in this contract are based on Market Rates & Manufacture Specification.

- GST and any other tax on material / labour / contract shall be paid by the contractor and Government / Department will not entertain any claim whatsoever in respect of the same. The contractor shall quote his rates in accordance with Government of India, Ministry of finance, Department of Revenue Central Board of Excise and customs Notification No. 10 / 2017-Central Tax Dated 28, June, 2017 and subsequent modification issued up to date. The applicable GST rate under work contract Service is 12%, as per extant order.

- All the eligibility credentials submitted by the intending tenderers must be duly self attested.

BSNL W- 8

BHARAT   SANCHAR   NIGAM   LIMITED

(A Government of India Enterprise)

## STATE: Himachal Pradesh                                                 CIRCLE: BSNL Civil Circle-I ,Shimla

ZONE: H.P Civil Zone (North)                                             DIVISION: BSNL Civil Division  Shimla

SUB-DIVISION: BSNL, CSD-I, Shimla

Item rate Bid for the work of: “Renovation of Block 18A & 18B, and Interior Designing of the O/o Director Medical Education & Research, Kasumpti, Shimla (SH- Furniture works).”

i) To be submitted online on the sebsite- www.tenderwizard/BSNL by 18:00 hours on 13-03-2019. Documents which are to be submitted by the bidders to THE EXECUTIVE ENGINEER (C), BSNL CIVIL DIVISION , SHIMLA (HP) after last date & time of submission of online bid and up to 15:00 Hrs on  16-03-2019,  will be opened in the presence of bidders who may be present at 15.30 Hrs on the same day i.e 16-03-2019.

ii)	The financial Bids shall be opened online at 11.00 hours on 20-03-2019 In the office of Executive Engineer (C), BSNL Civil Division, SHIMLA (HP).

Executive Engineer (Civil)

BSNL Civil Division

Shimla

T E N D E R

I/We have read and examined Notice Inviting Tender, Schedules A, B, C, D, E & F, Specifications applicable, Drawings & Design, General Rules and Directions, Conditions of Contract, Special conditions, Schedule of Rate & other document & Rules referred to in the Conditions of contract and  all other contents in the Tender Document for the work.

I / we hereby tender for the execution of work specified for the Bharat Sanchar Nigam Limited within the time specified in schedule ‘F’ viz., schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and Directions (Civil and Electrical) and in Clause 11 of the Conditions of the contract and with such materials as are provided for, by and in respect in accordance with, such conditions so far as applicable.

I/We agree to keep the tender open for 60  days from the due date of submission thereof and not to make any modifications in its terms and conditions. If I/we withdraw my/our tender before the said period or issue of letter of acceptance/intent, whichever is earlier, or, makes any modifications in the terms and conditions of the tender which are not acceptable to the BSNL, then the BSNL shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.

A sum of Rs.84,090.00 (Rs. Eighty Four Thousand & Ninety Only) has been deposited in prescribed manner as earnest money. If I/We fail to commence the work specified I/We agree that the said Bharat Sanchar Nigam Limited shall without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money absolutely otherwise the said earnest money shall be retained by competent authority on behalf of the Bharat Sanchar Nigam Limited towards Security Deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and carry out such deviations as may be ordered, upto maximum of the percentage mentioned in Schedule ‘F’ and those in excess of that limit at the rates to be determined in accordance with the provision contained in Clause 12.2 and 12.3 of the tender form.

I/We agree that, in case of works of estimated cost exceeding Rs.15,00,000/-, to deposit an amount equal to 5% of Tendered value of the work as performance guarantee in the form of bond of any Scheduled Bank of India in accordance with the proforma prescribed or in the form of Fixed Deposit Receipt etc., within 15 days of the issue of letter of acceptance of Tender by the BSNL. I/We am/are aware that in the event of failure on my/our part to furnish the Bank Guarantee within 15 days, the earnest money will be forfeited and tender cancelled. Further, I / We agree that in case of forfeiture of earnest money or both Earnest Money & Performance Guarantee as aforesaid, I / We shall be debarred for participation in the rebiding process of the work.

“I/WE undertake and confirm that eligible similar work(s) has/have not been got executed through another contractor on back to back basis. Further that, if such a violation comes to the notice of Department, then I/We shall be debarred for bidding in BSNL in future forever. Also, if such a violation comes to the notice of

Department before date of start of work, the Engineer-in-Charge shall be free to forfeit the entire amount of Earnest Money Deposit/Performance Guarantee.”

I/we hereby intimate that for receiving payments I/we have an account in ________________ Bank with account No. ______________ where the ECS/EFT/RTGS facility of e-payment is available.

I/We hereby declare that I/we shall treat the tender documents, drawings and other records connected with the work as secret/ confidential documents and shall not communicate information derived there-from to any person other than a person to whom I/we am/are authorized to communicate the same or use the information in any manner prejudicial to the safety of the State.

I / We agree that should I / we fail to commence the work specified in the above memorandum, an amount equal to the amount of the earnest money mentioned in the form of invitation of tender shall be absolutely forfeited to the Bharat Sanchar Nigam Limited and the same may at the option of the competent authority on behalf of the Bharat Sanchar Nigam Limited be recovered without prejudice to any  right or remedy available in law out of the deposit in so far as the same may extend in terms of the said bond and in the event of deficiency out of any other money due to me / us under this contract or otherwise.

The information in respect of works in hand is as per proforma enclosed. .

I/We agree that this contract is subject to jurisdiction of court at Shimla Only.

| Name of Work | Name and Particulars of Division where work is being executed | Value of Work | Position of Work in progress | Remarks |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |

Dated  :   ………………….

Witness :   …………………						……………………….

Address :  …………...					           		Signature of Contractor

Occupation :    ……………………….

Postal Address :  …………

A C C E P T A N C E

The above tender [as modified by you (Contractor) and as provided in the letters mentioned hereunder ]  is accepted by me for and on behalf of Bharat Sanchar Nigam Limited for a sum of Rs. ……… …. ……./= (Rupees …………… …………………… ……………………… ………………….… ……….)

The letters referred to below shall form part of this Contract Agreement :

(a)

(b)

For & on behalf of the Director Medical Education,

Govt. of HP Shimla

Dated …………..………

Signature:…………………

Executive Engineer (Civil)

BSNL Civil Division

Shimla

| PROFORMA OF SCHEDULES (Operative Schedules to be supplied separately to each of the intending tenderer) |
| --- |
| SCHEDULE - “A” |
| Schedule of Quantities (as per PWD – 3): As per Extra Excel Work Sheet |
| SCHEDULE - “B” |
| Schedule of Materials to be issued to the contractor |
| S. No. | Description of Item | Quantity | Rates in figures & words at which the materials will be charged from the contractor | Place of issue |
| 1 | 2 | 3 | 4 | 5 |
| ……………………………….. NIL ………………………………… |
| SCHEDULE - “C” |
| Tools and Plants to be hired to the contractor |
| S. No. | Description of Item | Hire charges per day | Place of issue |
| 1 | 2 | 3 | 4 |
| …………………………………DELETED ………………………………. |
| SCHEDULE - “D” |
| Extra schedule for specific requirements / documents for the work. (a) Proforma of Agreement (b) Form of Performance Guarantee (c) Specifications and conditions including conditions for procurement of steel reinforcement and cement (d) Additional conditions and additional specifications (e) Performa of Guarantee Bond (f) Special conditions (g) Important instructions to all tenderers (h) Correction slips and Amendments (i) list of Preferred makes.. |
| SCHEDULE - “E” |
| Schedule of component of Materials, Labour etc. for escalation. |
| Component of Materials expressed as percent of Total Value of Work | “X” | 75% | -N.A- |
| Component of Labour expressed as percent of Total Value of Work | “Y” | 25% | -N.A- |
| Component of POL expressed as percent of Total value of Work | “Z” | 0% | -N.A- |

| SCHEDULE - “F” |
| --- |
| Reference to General Conditions of Contract: |
| Name of Work | “Renovation of Block 18A & 18B, and Interior Designing of the O/o Director Medical Education & Research, Kasumpti, Shimla (SH- Furniture works).” |
| Estimated cost of Work | Rs-42,04,491.00 (Rs. Forty Two Lakhs Four Thousand Four Hundred & Ninety One Only. |
| Earnest Money | Rs. 84,090.00 (Rs. Eighty Four Thousand & Ninety Only). |

| Performance Guarantee (5% of the tendered value in the form of Bank Guarantee from Scheduled Bank in respect of works with estimated cost put to tender exceeding Rs. 15.00 Lakhs) | Rs. ………………………. ( Rupees ….……………………… ……………………………………………………………………. …………………………………………………………………… ) |
| --- | --- |
| Security Deposit (10% of the tendered value for works with estimated cost put to tender upto Rs. 15.00 Lakhs) (5% of the tendered value in the form of Bank Guarantee from Scheduled Bank in respect of works with estimated cost put to tender exceeding Rs. 15 Lakh) | Rs. ………………………. (Rupees ….……………………… ……………………………………………………………………. …………………………………………………………………… ) |
| GENERAL RULES AND DIRECTIONS |
| Officer Inviting tender | Executive Engineer (C), BSNL Civil Division, Shimla (HP). |
| Maximum percentage for quantity of items of work to be executed beyond which rates are to be determined in accordance with Clause 12.2 & 12.3 | 50% (Fifty Percent) |
| Definitions: |
| 2 (v) | Engineer-in-charge | Executive Engineer (C), BSNL Civil Division, Shimla (HP). |
| 2 (viii) | Accepting Authority | Jt. Chief Engineer (Civil) / Superintending Engineer (C), BSNL Civil Circle -I, Shimla. |
| 2 (x) | Percentage on cost of materials and labour to cover all overheads and profit | 15 % (Fifteen Percent) . |
| 2 (xi) | Standard Schedule of Rates | Market rate items |
| 9 (ii) | Standard BSNL Contract Form | From BSNL W – 8 with up to date correction slips (1 to 6) as on the date of opening of tenders. |
| Clause 2 |
|  | Authority for fixing compensation under Clause -2 | Jt. Chief Engineer (Civil) / Superintending Engineer (C), BSNL Civil Circle -I, Shimla. |
| Clause 2A |
|  | Whether Clause 2A shall be applicable | No |
| Clause 3A |
|  | Whether Clause 3A shall be applicable | No |
| Clause 5 |
| i) | Time allowed for execution of work | 45 (Forty Five) Days. |
| ii) | Authority to give fair and reasonable extension of time for completion of work. | Jt. Chief Engineer (Civil) / Superintending Engineer (C), BSNL Civil Circle -I, Shimla. |
| Clause 6A |
|  | Whether Clause 6A shall be applicable | Yes |
| Clause 7 |
|  | Gross value of work to be done together with net payment / adjustment of advances for materials collected, if any, since the last such payment for being eligible to interim payment. | Rs. 28,50,000/- (Rs-Twenty Eight Lakhs Fifty Thousand Only). |

| Clause 10 |
| --- |
|  | Reinforcement steel to be used in the work shall have to be procured as below: | Not Applicable |
| Clause 11 |
|  | Specification to be followed for execution of work. | Manufacturers Specifications & CPWD Specification 2009 Volume: I & II, with up to date correction slips. |
| Clause 12 |
| 12.2 & 12.3 | limit for value of any item of any individual trade beyond which sub clauses (i) to (ii) shall not apply and clauses 12.2 and 12.3 shall apply. | 50% |
| Clause 16 |
|  | Competent authority for deciding reduced rates | Jt. Chief Engineer (Civil) / Superintending Engineer (C), BSNL Civil Circle -I, Shimla. |
| Clause 36(i) |
| General guideline for fixing requirements of technical staff and rate of recovery in case of non compliance for a work, shall be as per the following. |
| Sr. No. | Minimum qualification of Technical representative | Discipline | Designation | Minimum Experience | Number | Rate at which recovery shall be made from contractor in event of non deployment |
|  |  |  |  |  |  | Figures | Words |
| 1 | Graduate Engineer Or Diploma Engineer | Civil | Project planning / site / billing Engineer. | 2 Years Or 5 Years | 1 No. | Rs-15,000/- Per month | Rs. Fifteen Thousand Only Per months. |

| Clause-37 (i) |
| --- |
| Clause No. | Present Provision in the clause | Modified provision in the clause |
| Clause-37 (i) | Extent of service Tax payable by contractor for building and construction works. | Modified due to enactment of GST. The agency shall be fully responsible to follow the latest law. GST and any other tax on material / labour / contract shall be paid by the contractor and no claim will be entertained whatsoever in respect of the same. The contractor shall quote his rates all inclusive (in accordance with Government of India, Ministry of finance, Department of Revenue Central Board of Excise and customs Notification No. 10/2017-Central Tax Dated 28,June, 2017) and subsequent modification issued up to date). |

| Clause 42 |
| --- |
| i) (a) | Schedule / statement for determining theoretical quantities of cement. | Not Applicable |
| ii) | Variation permissible on theoretical quantities |  |
| a) | Cement for works with estimated cost put to tender: |  |
|  | i) Not more than Rs. 5.00 Lakhs |  |
|  | ii) More than Rs. 5.00 Lakhs |  |

| b) | Steel reinforcement and structural steel sections for each diameter, section and category. |  |
| --- | --- | --- |
| Star prices to be considered for Escalation and Recoveries: |
| S. No. | Material | Star Price (Rate in Figures and Words) |
| 1 | For Cement (OPC 43 grade only) Excluding GST | Not Applicable |
| 2 (a) | For Mild steel | Not Applicable |
| 2 (b) | For Reinforcement Steel conforming to BIS 1786 ( Fe 415 Grade) | Not Applicable |
| 2 (b) | For Reinforcement Steel TMT bars (Secondary Producer). Excluding GST | Not Applicable |
| 2(d) For Galvanized steel Not Applicable | For Galvanized steel Not Applicable | Not Applicable |

(The base rates of the material to be taken for MRJ is to be stipulated as star prices above under clause-10 CA).

Executive Engineer (Civil)

BSNL Civil Division,

Shimla (HP)

Amendments to Clause 37 & 38 of GCC 2006

| Sr. No. | Existing Provision | Modified Provision |
| --- | --- | --- |
| 1 | Page 12 of GCC (item 15 of General Rules & Directions) 15. Sales tax, purchase tax, turnover tax or any other tax on material in respect of the contract shall be payable by the contractor and government will not entertain any claim whatsoever in respect of the same. | Page 12 of GCC (item 15 of General Rules & Directions) 15. GST {up to the extent mentioned in Schedule- F under clause-37(i)}, Sale Tax / purchase tax, turnover tax or any other tax on material in respect of the contract shall be payable by the contractor and BSNL will not entertain any claim whatsoever in respect of the same. |
| 2 | Clause 37 | Clause 37 |
|  | Levy / Taxes payable by contractor (i) Sales Tax/VAT [including Service Tax up to the extent mentioned in Schedule-F under Clause-37(i)], Building and other construction workers Welfare Cess or any other tax or cess in respect of this contract shall be payable by the contractor and BSNL shall not entertain any claim whatsoever in this respect. | Levy / Taxes payable by contractor (i) Sale Tax / Vat (i/c GST up to the extent mentioned in Schedule-F under Clause-37(i)], Building and other construction workers Welfare Cess or any other tax or cess in respect of this contract shall be payable by the contractor and BSNL shall not entertain any claim whatsoever in this respect. |
| 3 | Clause 38 | Clause 38 |
|  | Conditions for reimbursement of levy/taxes if levied after receipt of tenders (i) All tendered rates shall be inclusive of all taxes and levies [including Service tax up to the extent mentioned in schedule-F under Clause-37(i)] payable under respective statutes. However, if any further tax or levy or cess is imposed by statute, after the last stipulated date for the receipt of tender including extensions, if any, and the contractor thereupon necessarily and properly pays such taxes/levies, the contractor shall be reimbursed the amount so paid, provided such payments, if any, is not in the opinion of the Superintending Engineer (whose decision shall be final and binding on the contractor) attributable to delay in execution of work within the control of the contractor. | Conditions for reimbursement of levy/taxes of levied after receipt of tenders (i) All tendered rates shall be inclusive of all taxes and levies [including GST up to the extent mentioned in schedule-F under Clause-37(i)] payable under respective statutes. However, if any further tax or levy or cess is imposed by statute, after the last stipulated date for the receipt of tender including extensions, if any, and the contractor thereupon necessarily and properly pays such taxes/levies, the contractor shall be reimbursed the amount so paid, provided such payments, if any, is not in the opinion of the Superintending Engineer (whose decision shall be final and binding on the contractor) attributable to delay in execution of work within the control of the contractor. |

SPECIAL CONDITIONS

1.0 	General:

1.1.      The eligible tenderers of civil component will quote rates for various items of electrical components of work also. The lowest tender shall be decided after adding quotes for Civil work component (Part B) and Electrical component (Part C). The quoted rates for various items in the tender shall be inclusive of all terms and conditions such as additional conditions, special conditions, particular specifications etc.  and   for adherence   to   all  terms,  conditions  and    specifications mentioned in the tender document . No extra payment shall be made to the contractor on account of this.  Any infringement and/or breach of these specification and condition(s) etc. shall render the contractor liable for action(s) under various clauses of the contract and such action stipulated in conditions therein.

1.2	GST (upto the extent mentioned in Schedule F under clause 37 (i), Sales tax / Vat,  purchase tax, turnover tax or any other tax on materials in respect  of  this  contract  shall  be   payable  by  the Contractor   and BSNL will not entertain any claim whatsoever in respect of the same.

1.3.	The Contractor shall make his own arrangements for electricity required for the execution of the work. Necessary payment shall be made by the Contractor directly to the department concerned. In case the statutory authority fails to sanction the electric connection or delays the sanction of electric connection, the Contractor shall make his own arrangements by providing diesel generators of adequate capacity at his own cost. No delay on this account shall be accepted. Nothing extra shall be paid on this account.

1.4. 	The Contractor shall make his own arrangement for back up power at his own cost. No interruption of work shall be accepted due to power failure. Nothing extra shall be paid on this account.

1.5. 	No walls or terraces shall be cut for making any opening after water proofing has been done without written approval of Engineer-in-Charge. When permitted cutting of water proofing work shall be done very carefully so that other portion of water proofing is not damaged. On completion of work at such place the water proofing work shall be made good and ensured that the opening / cutting is made fully water proof as per contract specifications/ directions of Engineer-in-Charge. Nothing extra shall be payable on this account.

1.6. 	No structural member shall be chased or cut without the written permission of the Engineer-in-

Charge.

1.7. 	The order or preference in case of any discrepancy as indicated in condition No. 8.1 under “Conditions of Contract” given in the General Conditions of Contract for BSNL 2006 form may be read as the following:

    - Nomenclature of items as per schedule of quantities.

    - Particular specifications, special and additional conditions etc., as stipulated in tender 			document.

    - Contract clauses of Standard BSNL Contract form 2006 as corrected and modified up to last date of receipt of tenders.

    - CPWD Specifications.

    - Architectural Drawings.

    - Indian Standard Specifications.

    - Sound Engineering Practice.

    - Manufacture Specifications.

    - Decision of Engineer-in-Charge shall be final and binding.

A references made to any Indian Standard Specifications in these documents, shall imply to the latest version of that standard, including such revisions / amendments as issued by the Bureau of Indian Standards up to last date of receipt of tenders. The contractor shall keep at his own cost all such publications of relevant Indian Standard applicable to the work at site.

1.8. 	The Contractor shall be bound to follow the instructions and restrictions imposed by the Local Administration / Police authorities on the working and /or movement of labour, materials etc. and or due to less/ restricted working hours or any detours in movement of vehicles. Nothing extra shall be payable on this account.

1.9. 	The Contractor shall take all precautions to avoid accidents by exhibiting necessary caution boards such as day and night boards, speed limit boards and flags, red lights and providing barriers, etc. He shall be responsible for all damages and accidents caused due to negligence on his part. No hindrance shall be caused to traffic during the execution of work. Nothing extra shall be payable on this account.

1.10. 	All material shall only be brought at site as per programme finalized with the respective Engineer-Charge. Any pre-delivery of the material, not required for immediate consumption shall not be accepted and thus not paid for.

1.11. 	Large scale details and manufacture‘s dimensions for material to be incorporated shall take precedence over small scale drawings.

1.12.	No foreign exchange shall be made available by the BSNL for the purchase of equipments, plants, 	machinery, material of any kind or other items required to be carried out in execution of work.

1.13. 	Construction spoils, including bituminous material and other hazardous materials, must not be allowed to contaminate watercourses and the dump sites for such material must be secured so that 	they should not leach into the ground water. Nothing extra shall be payable on this account.

1.14. 	In accordance with requirements of the pollution control board, the DG sets installed during construction activity must be provided with necessary acoustic measures and exhaust pipe above the height of nearest tall building. The vehicles must possess necessary Pollution certificate. Nothing extra shall be payable on this account.

1.15 	In accordance with requirements of the pollution control board, the diesel generator sets to be used during construction phase shall be low sulphur diesel type and shall conform to E(P) Rules prescribed for air and noise emission standards. Nothing extra shall be payable on this account.

1.16. 	 In accordance with requirements of the pollution control board, the safety equipments like boots, helmets, safety belts, gloves etc. must be provided for the workers and best and safe engineering practices must be adopted. Nothing extra shall be payable on this account.

1.17 	In accordance with requirements of the pollution control board, the stipulations under the provisions of Water (Prevention and Control of Pollution) Act, 1974, the Air (Prevention and control of 	Pollution) Act 1981, the Environment (Protection) Act, 1986, the Public Liability (Insurance) Act, 1991 and EIA Notification, 2006 shall be ensured. Nothing extra shall be payable on this account.

1.18. 	If, any levy / fine is imposed by the regulatory authorities / inspecting authorities on account of violation of the above specified norms, the same shall be recovered from the contractor.

1.19	Except for the items, for which Particular Specifications are given or where it is specifically mentioned otherwise in the description of the items in the schedule of quantities, the work shall generally be carried out in accordance with the “CPWD Specifications” (Refer Schedule F) and as per instructions of Engineer-in-Charge. Wherever CPWD Specifications are silent, the latest IS Codes / Specifications shall be followed and the rates should be all inclusive.

1.20	Any reference made to any Indian Standard Specifications, shall imply to the latest version of that standard, including such revisions / amendments as issued by the Bureau of Indian Standards up to last date of receipt of tenders. The Contractor shall keep at his own cost all such publications including relevant Indian Standard applicable to the work at site.

1.21	The work shall be executed and measured as per metric dimensions given in the Schedule of Quantities, drawings etc. (FPS units wherever indicated are for guidelines only).

1.22	The work should be planned in a systematic manner so that chase cuttings in the walls, ceilings and floors is minimized. Wherever absolutely essential, the chase shall be cut using chase cutting machines. Chases will not be allowed to be cut using hammer / chisel. The electrical boxes should be fixed in walls simultaneously while raising the brick work. The contractor shall ensure proper co-ordination of various disciplines viz. sanitary & water supply, horticulture & electrical etc.

1.23	All the hidden items such as water supply lines, drainage pipes, conduits, sewers etc. are to be properly tested before covering.

1.24	Samples including brand / quality of materials and fittings to be used in the work shall be got approved from the Engineer-in-Charge, well in advance of actual execution and shall be preserved till the completion of the work.

1.25	Equipment like concrete pump excavators/Transit mixer etc. shall be allowed to be moved away from the site when, in written opinion of Engineer-in-Charge, the same are no longer required at site of work.

1.26	The contractor, his agents / representative, workman etc. shall strictly observe orders pertaining to fire precautions prevailing in the area.

1.27	Contractor(s) shall study the soil investigation report for the site, available in the office of the Engineer-in-Charge and satisfy himself about complete characteristics of soil and other parameters at site. However, no claim on the alleged inadequacy or incorrectness of the soil data supplied by the department shall be entertained.

1.28	The tenderer shall see the approaches to the site. In case any approach from main road is required at site or existing approach is to be improved and maintained for cartage of materials by the contractor, the same shall be provided, improved and maintained by the contractor at his own cost.

1.29	Contractor shall take all precautionary measures to avoid any damage to adjoining property. All necessary arrangement shall be made at his own cost.

1.30	The contractor shall take all precautions to avoid accidents by exhibiting necessary caution boards day and night, speed limit boards, red flags, red lights and providing barriers. He shall be responsible for all damages and accidents caused to work due to negligence on his part. No hindrances shall be caused to traffic, during the execution of the work.

1.31	The contractor shall take instructions from the Engineer-in-Charge regarding collection and stacking of materials at any place. No excavated earth or building rubbish shall be stacked on areas where other buildings, roads, compound wall, services etc are to be constructed.

1.32	The contractor shall provide at his own cost suitable weighing, surveying and levelling and measuring arrangements as may be necessary at site for checking. All such equipments shall be got calibrated in advance from laboratory, approved by the Engineer-in-Charge. Nothing extra shall be payable on this account.

1.33	Contractor shall provide permanent bench marks, flag tops and other reference points for the proper execution of work and these shall be preserved till the end of work. All such reference points shall be in relation to the levels and locations, given in the Architectural and plumbing drawings.

1.34	Water tanks, taps, sanitary, water supply and drainage pipes, fittings and accessories should   conform to byelaws and municipal body / corporation where CPWD Specifications are not applicable. The contractor should get the materials (fixtures / fittings) tested by the Municipal Body / Corporation authorities wherever required at his own cost.

1.35	The work shall be carried out in accordance with the Architectural drawings and Structural drawings, to be issued from time to time, by the Engineer-in-Charge. Before commencement of any item of work, the contractor shall correlate all the relevant architectural and structural drawings issued for the work, nomenclature of items, specifications etc. and satisfy himself that the information available

there from is complete and unambiguous. The figures & the written dimensions of the drawing shall supersede the measurement by scale.  The discrepancy, if any, shall be brought to the notice of the Engineer-in-Charge for immediate decision before execution of the work. The contractor alone shall be responsible for any loss or damage occurring by the commencement of work on the basis of any erroneous and/ or incomplete information and no claim, whatsoever shall be entertained on this account.

1.36	The Architectural drawings other than those indicated in nomenclature of items are only indicative of the nature of the work and materials/fittings involved unless and otherwise specifically mentioned.

1.37	The contractor should submit the shop drawing of staging and shuttering for approval of Engineer-in-Charge before actually commencing the execution of work under the item.  Nothing extra shall be payable on this account.

1.38	Other agencies may also simultaneously execute and install the works and the contractor shall afford necessary facilities for the same. The contractor shall leave such recesses, holes, openings, trenches etc. as may be required for such related works (for which inserts, sleeves, brackets, conduits, base plates, clamps etc. shall be available as specified elsewhere in the contract) and the contractor shall fix the same at the time of casting of concrete, stone work and brick work, if required, and nothing extra shall be payable on this account.

1.39	The contractor shall conduct his work, so as not to interfere with or hinder the progress or completion of the work being performed by other contractor(s) or by the Engineer-in-Charge and shall as far as possible arrange his work and shall place and dispose off the materials being used or removed so as not to interfere with the operations of other contractor or he shall arrange his work with that of the others in an acceptable and coordinated manner and shall perform it in proper sequence to the complete satisfaction of others.

1.40    	All material shall only be brought at site as per program finalized with the Engineer-in-Charge. Any pre-delivery of the material not required for immediate consumption shall not be accepted and thus not paid for.

1.41	The contractor shall procure the required materials in advance so that there is sufficient time for testing of the materials and approval of the same before use in the work.

1.42	Existing drains, pipes, cables, over-head wires, sewer lines, water lines and similar services encountered in the course of the execution of work shall be protected against the damage by the contractor at his own expense. The contractor shall not store materials or otherwise occupy any part of the site in a manner likely to hinder the operation of such services.  In case temporary supporting/shifting of such services is required to facilitate the work, the same shall be done by the contractor at no extra cost.

In case the existing services are to be shifted permanently, then before dismantling the existing services, alternate/diversion of service lines has to be laid by the contractor so that there is no interruption in use of existing services.  The contractor has to plan the alternate suitable route for diversion/shifting of service lines and get the same approved from the Engineer-in-Charge before starting shifting of services.  Nothing extra shall be paid except the payment of dismantling and laying of new service lines as per conditions of contract.

1.43	The contractor shall be responsible for the watch and ward / guard of the buildings, safety of all fittings and fixtures including sanitary and water supply fittings and fixtures provided by him against pilferage and breakage during the period of installations and thereafter till the building is physically handed over to the department. No extra payment shall be made on this account.

1.44	The contractor shall be fully responsible for the safe custody of materials brought by him/ issued to him even though the materials may be under double lock key system.

1.45	For construction works which are likely to generate malba / rubbish to the tune of more than a tempo / truck load, contractor shall dispose of malba, rubbish & other unserviceable materials and wastes at his own cost to the notified /specified dumping ground and under no circumstances these shall be stacked / dumped even temporarily, outside the construction premises.

1.46	Surplus excavated earth which is beyond the requirement of the B.S.N.L. / Client Department shall have to be disposed of the contractor at his own cost beyond the municipal limits or at places identified by the local bodies or as directed by the Engineer-in-Charge after obtaining written permission of the Engineer-in-Charge and no payment will be made by the Department for such disposal of this surplus excavated earth.

1.47	With each Running Bill, the details of test carried out shall be submitted by the contractor as per perform given in the document.

1.48	On completion of work, the contractor shall submit at his own cost four prints of “as built” drawings to the Engineer-in-Charge. These drawings shall have the following information.

a) Run off of all piping and their diameters including soil, waste pipes and vertical stacks.

b) Ground and invert level of all drainage pipes together with locations of all manholes and connections, up to out fall.

c) Run off of all water supply lines with diameters, location of control valves, access panels etc.

In case the contractor fails to supply “as built drawing” aforesaid within 30 days of the date of completion, then the recovery @ Rs.10, 000/- each for such set of drawings shall be made from the contractor’s final bill.

1.49	In the item of providing and fixing precast reinforced cement concrete in shelves the cost of cutting chases and making good the same shall be inclusive in the item and nothing extra shall be paid on this account.

1.50	In the item of finishing walls with exterior paint, only the plain/flat area shall be measured for payment and nothing extra shall be paid on account of pointed wall surface.

- Rates:

Unless otherwise specified in the schedule of quantities, the rates for respective items shall be all inclusive and apply to the following: -

- All lifts & all heights, floors including terrace, leads and depths.

(ii)   	All labour, material, tools and plants and other inputs involved in the execution of the item.

(iii)  	Any of the conditions and specifications mentioned in the tender documents.

(iv)  	Pumping / bailing out surface water / rain water / sub soil water, if necessary for any reason.

(v)   	Providing sunk flooring in bath-rooms, kitchen, etc.

- Any legal or financial implications resulting out of disposal of earth, unserviceable building materials, debris, malba, if any.

(vii) 	Payment of Royalty at the prevailing rates, if any, on the boulders, metal, shingle, sand and bajri etc. or any other material 	collected by him for the work direct to revenue authorities.

(viii) 	Performance test of the entire installation(s) before the work is finally accepted.

(ix)  	 Any cement slurry added over base surface (or) for continuation of concreting for better bond is deemed to have been built in the tems.

(x)   	All incidental charges for cartage, storage and safe custody of materials brought to site.

3.0	SECRECY

3.1	The contractor shall take all steps necessary that all persons employed on any work in connection with the contract have notice that the Indian Official Secrets Act 1923 applies to them & will continue so to apply even after the execution of such works under the contract.

3.2	The contract in confidential and must be strictly confirmed to the contractor’s own use (except so far as confidential disclosure to sub-contractors or suppliers as necessary) and to the purpose of the contract.

3.3	All documents, copies thereof & extracts there from furnished to the contractor shall be returned to the Engineer-in-Charge on the completion of the work / works or the earlier determination of the contract.

4.0	LABOUR AND SECURITY

4.1	The contractor shall employ only Indian Nationals after verifying their antecedents and loyalty. The contractor shall, on demand submit list of his agents, employees and work people concerned & shall satisfy as to the bonafides of such people.

4.2	The contractor & his work people shall observe all relevant rules regarding security promulgated in which work is to be carried out by the Controlling Administrative Authority of the Client Department   (hereinafter referred to as “Administrator”).

4.3	The contractor, his representative, workman shall be allowed to enter through specified gates & timing as laid down by the controlling authority. They shall be issued an identity card or an individual pass in accordance with the standing rules & regulations & they should possess the same while working. The contractor shall be responsible for the conduct & actions of his workman, agents / representatives.

4.4	Normally contractor shall be allowed to carryout work between 7 AM to 6 PM. However, he may also be allowed to carryout the work beyond 6 PM & up to 7 AM if the site conditions / circumstances so demand with prior written permission from the “Administrator”. However, if the work is carried out in more than one shift or at night, no claim on this account shall be entertained.

5.0	OFFICE INFRASTRUCTURE:

5.1        The agency shall setup quality assurance lab for testing of material at site office including engagement of necessary personnel and infrastructure for the same. For quality assurance lab necessary equipment  for testing of cubes, bricks , arrangement of silt test, bulkiness of sand, moisture content test , slump test on concrete.  Instruments like electronic weighing machine, vernier calliper, sieves sets, cement concrete moulds 15x15x15cm (Two set of  6 Nos.) slump test apparatus, depth gauge 20cm , rubber hammer , steel foot plate etc shall be available at lab.

6.0	PROGRAM CHART: -

6.1	The Contractor shall prepare an integrated program chart for the execution of work, showing clearly all activities from the start of work to completion, with details of manpower, equipment and machinery required for the fulfilment of the program within the stipulated period or earlier and submit the same for approval of the Engineer-in-Charge within 15 days of the issue of letter of acceptance for the contract.

6.2	The work has to be completed in stages as indicated in the Milestones under clause 5 and the program should be prepared in such a manner to achieve these Milestones as indicated therein or even earlier.

6.3	The program chart should include the following: -

a)	Descriptive note explaining sequence of various activities.

b)	Network (PERT / CPM / BAR CHART) which will indicate resources in financial terms, manpower and specialized equipment for every important stage.

- Program for procurement of materials by the contractor.

- Program of procurement of machinery / equipments having adequate capacity, commensurate with the quantum of work to be done within the stipulated period, by the contractor.

6.4	If at any time, it appears to the Engineer-in-Charge that the actual progress of work does not conform to the approved program referred above, the contractor shall produce a revised program showing the modifications to the approved program by additional inputs to ensure completion of the work within the stipulated time.

  - The submission of revised program or approval by the Engineer-in-Charge of such program or the furnishing of such particulars shall not relieve the contractor of any of his duties or responsibilities under the contract. This is without prejudice to the right of Engineer-in-Charge to take action against the contractor as per terms and conditions of the agreement.

Notwithstanding the fact that the contractor will have to pay to the labourers and other staff engaged directly or indirectly on the work according to the provisions of the labour regulations and the agreement entered upon and/or extra amounts for any other reason.

7.0	PROGRESS AND MONITORING OF WORK:

Contractor shall give the Engineer-in-Charge on the 10th day of each month, progress report of the work done during the previous month.  Such progress report will include the project progress summary, work progress (planned v/s. actual), PERT chart, milestone status, financial progress status, manpower deployment status, important materials consumed, materials at site at the beginning of the month, materials consumed during the month and the balance quantities at the end of month and progress of the work stating the reasons for shortfall, if any including the steps and measures to be taken for making good the shortfall in the succeeding period. Non submission of aforesaid progress report shall make contractor liable for action under breach of contract conditions.

8.0	SAMPLE OF MATERIALS:-

8.1	All materials and fittings brought by the contractor to the site for use shall conform to the samples approved by the Engineer-in-Charge which shall be preserved till the completion of the work. If a particular brand of material is specified in the item of work in Schedule of Quantity, the same shall be used after getting the same approved from Engineer-in-Charge. Wherever brand / quality of material is not specified in the item of work, the contractor shall submit the samples as per List of Preferred Makes stated in the document   for approval of Engineer-in-Charge. For all items, ISI Marked materials and fittings shall be used with the approval of Engineer-in-Charge. Wherever ISI Marked material / fittings are not available, the contractor shall submit samples of materials / fittings manufactured by firms of repute conforming to relevant Specifications or IS codes for the approval of Engineer-in-Charge.

8.2	To avoid delay, contractor should submit samples as stated above well in advance so as to give timely orders for procurement. If any material, even though approved by Engineer-in-Charge is found defective or not conforming to specifications shall be replaced / removed by the contractor at his own risk & cost.

8.3.	BIS marked materials, except otherwise specified, shall also be subjected to quality test besides testing of other materials as per the specifications described for the item/material. Wherever BIS marked materials are brought to the site of work, the contractor shall, furnish manufacturer’s test certificate or test certificate from approved testing laboratory to establish that the material procured by the contractor for incorporation in the work satisfies the provisions of specifications relevant to the material and / or the work done.

BIS marked items (except cement & steel for which separate provisions have been made in para 10.0) required on the work shall be got tested, for only important tests, which govern the quality of the product, as decided by the Engineer-in-Charge.  For mandatory test, frequency shall be as specified in CPWD Specifications.

8.4	For certain items, if frequency of tests is neither mentioned in the CPWD Specifications & BIS, then tests shall be carried out as per decision of Engineer-in-Charge.

9.0	ENGAGING SPECIALISED AGENCIES FOR WORKS: -

9.1	The Contractor shall engage specialized agency unless otherwise approved by any Government Department having adequate technical capability and experience of having executed at least one work of similar items of 80% or more magnitude or two works of similar items of minimum 60% magnitude or three works of similar items of minimum 40% magnitude individually for executing the following items of the work and/or any other items of work where specialized firm is required to be engaged as per contract conditions. For determining the required magnitude, the value of the work executed may be suitably enhanced with the prevailing approved cost index.

- Water proofing treatment work of all types.

- Fabrication and erection of Skylights with necessary fittings

- Pile work

- Stainless steel railing

- False ceiling and wall panelling

- Glass partitions

9.2	The Specialized agency for the work shall be got approved from the Engineer-in-Charge well before actual commencement of the item of work. The contractor shall submit the list of Specialized agencies, proposed to be engaged by him along with necessary performance certificates, within 15 days from the date of issue of acceptance letter to substantiate technical capability and experience of the agency for prior approval of the Engineer-in-Charge.

9.3	The conditions of approval of specialized agency shall be final and binding on the contractor and he shall comply with such conditions of approval.

10.0      QUALITY ASSURANCE & QUALITY CONTROL

10.1.  	The work shall be subjected to a strict quality assurance and quality control as prescribed in the tender documents and as may be further required by the Engineer-in-charge.

10.2. 	The Contractor shall be required to carry out all mandatory tests as per the CPWD specifications and other tests prescribed in this tender document. In addition, the Engineer-in-charge may at his discretion, order carrying out additional tests, as may be felt necessary by him.

10.3. 	Tests shall be carried out from one of the following laboratories/test houses as shall be decided  by the Engineer in- charge.

i. National Test House, Delhi

ii. Shri Ram Institute for Industrial Research, New Delhi

iii. CBRI, Roorkee

iv. PEC, Chandigarh.

v. Indian Institute of Technology, Roorkee/Delhi

vi. NABL accredited labs.

vii. Any other labs approved by O/o CE (C), BSNL Chandigarh/Shimla.

10.4GODOThe agency shall essentially deploy equipment & machinery (owned or hired) as per the list given the document, in addition to  any other T & P required to achieve the Milestone(s) at his own cost.

PROFORMA FOR AGREEMENT

(ON NON-JUDICIAL STAMP PAPER OF APPROPRIATE VALUE)

CONTRACT AGREEMENT FOR THE WORK OF …………………………………………………………. DATED …………………… between M/s ……………………………………………………………………. (refer note) in the town of ………………………….. hereinafter called the contractor (which term shall unless excluded by or repugnant to be subject or context include its successors and permitted assigns) of the one part and the Bharat Sanchar Nigam Limited hereinafter called the BSNL (which term shall unless excluded by or repugnant to the subject or context include its successes and assigns) of the other part.

WHEREAS:

- The BSNL is desirous that the construction of ……………………………………………… at ……………………… should be executed as mentioned, enumerated or referred to in the tender including Press Notice Inviting Tender, General Conditions of the Contract, Special Conditions of the Contract, Specifications, Drawings, Plans, Time Schedule of completion of jobs, Schedule of Quantities and Rates, Agreed Variations, other documents, has called for Tender.

- The contractor has inspected the site and surroundings of the work specified in the tender documents and has satisfied himself by carefully examination before submitting his tender as to the nature of the surface, strata, soil, sub-soil and grounds, the form and nature of the site and local conditions the quantities, nature and magnitude of the work the availability of labour and materials necessary for the execution of work, the means of access to site, the supply of power and water thereto and the accommodation he may require and has made local and independent enquiries and obtained complete information as to the matters and things referred to or implied in the tender documents or having any connection therewith, and has considered the nature and extent of all the probable and possible situations, delays, hindrances or interferences to or with the execution and completion of the work to be carried out under the contract, and has examined and considered all other matters, conditions and things and probable and possible contingencies, and generally all matters incidental thereto  and ancillary thereof affecting the execution and completion of the work and which might have influenced him in making his tender.

- The tender documents including the BSNL’ s Press Notice Inviting Tender, General conditions of contract, Special Conditions of Contract, Schedule of Quantities and rates, General obligations, Specifications, Drawings, plan, time schedule for completi0n of work.  Letter of Acceptance of tender and any statement of agreed variations with its enclosures copies of which are hereto annexed form part of this contract though separately set out herein and are included in the expression Contract wherever herein used.

AND WHEREAS

The BSNL accepted the tender of M/s ……………………………….………………….. (Refer note below) (Contractor) for the construction of ……………………………………………….…………………………… at ………………….and conveyed vide letter No……………………….dated …………………at the rates stated in the Schedule of quantities for the work and accepted by the BSNL (hereinafter called the Schedule of Rates) upon the terms and subject to the conditions of the contract.

NOW THIS AGREEMENT WITNESSTH & IT IS HEREBY AGREED AND DECLARED AS FOLLOWS:

- In consideration of the payment to be made to the contract for the work to be executed by him, the contractor hereby convenient with the BSNL that the contractor shall and will duly provide, execute, complete and maintain the said work and shall do and perform all other acts and things in the contract mentioned or described or which are to be implied and there-from or may be reasonably necessary for the completion of the said works and at the said times and in the manner and subject to the terms and conditions or stipulations mentioned  in the contract,  AND

- In consideration of the due provisions execution, completion and maintenance of the said work, the BSNL does hereby agree with the contractor that the BSNL will pay to contractor the respective amounts for the work actually done by him and approved by the BSNL at the Schedule or Rates and such other sum payable to the contractor under provision of the contract, such payment to be made at such time in such manner as prescribed for in the contract.

It is specifically and distinctly understood and agreed between the BSNL and the contractor that the contractor shall have no right, title or interest in the site made available by the BSNL for execution of the works or in the building, structures or works executed on the said site by the contractor or in the goods, articles, materials, etc. brought on the said site (unless the same specifically belongs to the contractor) and the contractor shall not have or deemed to have any lien whatsoever charge for unpaid bills will not be entitled to assume or retain possession or control of the site or structures and the BSNL shall have an absolute and unfettered right to take full possession of site and to remove the contractor, their servants, agents and materials belonging to the contractor and lying on the site.

3. “The contract is subject to the jurisdiction of Court at Shimla (HP) only.” (Where the e-NIT/Tender has been issued).

In Witness whereof the parties hereto have hereinto set their respective hands and seals in the day and the year first above written.

| Signed and delivered for and on behalf of BSNL | Signature and delivered for and on behalf of the contractor |
| --- | --- |
| (BHARAT SANCHAR NIGAM LIMITED) | (Contractor) |
| OFFICIAL ADDRESS |  |
| Date | Date |
| Place | Place |
| IN PRESENCE OF TWO WITNESSES |
| SIGNATURE | SIGNATURE |
| NAME | NAME |
| SIGNATURE | SIGNATURE |
| NAME | NAME |

In Witness whereof the parties hereto have here-into set their respective hands and seals in the day and the year first above written.

For Proprietary Concern

Shri ……………………S/o………………………… R/o …………………….. Carrying on business under the name and style of ……………… at ………………. (Hereinafter called the said Contractor which expression shall unless the context requires otherwise include his heirs, executors, administrators and legal representatives)

For Partnership Concern

M/s …………………..………………………………. a partnership firm having its registered office at ………………………………………………….. (hereinafter called the said Contractor which expression shall unless the context requires otherwise include his heirs, executors, administrators and legal representatives).  The partners of the firms are:

- Shri ………………….………….S/o………………………… , and

- Shri …………………………….. S/o………………………..etc...

For Companies

M/s ………………………a company duly incorporated under the Indian Companies Act, 1956 and having its registered office at …………………..in the state of ………………….(hereinafter called the said Contractor which expression shall unless the context requires otherwise include its successors and assign).

FORM OF PERFORMANCE SECURITY

BANK GUARANTEE BOND

(To be used by approved Scheduled Banks)

1. In consideration of the BHARAT SANCHAR NIGAM LIMITED (hereinafter called “the BSNL”) having agreed under the terms and conditions of agreement No._________________________ Dated __________made between _______________ and __________________________ (hereinafter called “the said contractor(s)”) for the _______________________work (hereinafter called “the said agreement”) for compliance of his obligation in accordance with the terms and conditions in the said agreement.

We _______________________________ (indicate the name of the Bank) (hereinafter referred to as “as Bank) hereby undertake to pay to the BSNL and amount not exceeding Rs.___________(Rupees ___________________only) on demand by the BSNL.

2. We________________________________________(Indicate the name of the Bank) do hereby undertake to pay the amount due and payable under this Guarantee without any demure, merely on a demand from the BSNL stating that the amount claimed is required to meet the recoveries due or likely to be due from the said contractor(s). Any such demand made on the Bank shall be conclusive as regards the amount due and payable by the bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs._________________(Rupees___________________ only).

3. We undertake to pay to the BSNL any money so demanded notwithstanding any dispute or disputes raised by the contractor (s) in any suit or proceeding pending before any court or Tribunal relating thereto our liability under this present being absolute and unequivocal.

The payment made by us under this bond shall be valid discharge of our liability for payment to there-under and the contractor(s) shall have no claim against us making such payment.

4. We ____________________________(Indicate the name of Bank) further agree that the guarantee herein contained shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the BSNL under or by virtue of the said agreement have been fully paid and it is claims satisfied or discharged or till Engineer-in-charge on behalf of the BSNL certifies that the terms and conditions of the said Agreement have been fully and properly carried out be the said contractor(s) accordingly discharges this guarantee.

5. We ___________________________(indicate the name of Bank) further agree with the BSNL that the BSNL shall have the fullest liberty without our consent and without affecting any manner our obligations hereunder to vary any of the terms and conditions of the said agreement or to extend time of performance by the said contractor(s) from time to time or to postpone for any time to time any of the powers exercisable by the BSNL against the said contractor(s) and to forebear or enforce any of the terms and conditions relating to the said agreement shall not be relieved from our liability by reasons of any such variation or extension being granted to the said contractor(s) or for any forbearance act of omission on that part of the BSNL or any indulgence by the BSNL to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effected or so relieving us.

6. The guarantee will not be discharged due to the change in the constitution of the Bank or the contractor(s).

7. We ________________________________________(indicate the name of Bank) lastly undertake not to revoke this guarantee except with the previous consent of the BSNL in writing.

8. This guarantee shall be valid upto _______________ unless extended on demand by BSNL. Notwithstanding any  thing mentioned above our liability against this Guarantee is restricted to  Rs.___________ (Rs. ___________ ________________only) and unless a claim in writing is lodged with us within six months of the date of expiry or the extended date of expiry of this guarantee, all our liabilities under the Guarantee shall stand discharged.

Date the ________________ date of__________

for ________________________

(Indicate the name of Bank)

ANNEXURE – (i)

# AFFIDAVIT

# I/We have submitted a bank guarantee for the work______________________________ _____________________________     ( Name of Work), Agreement No. ____________________

# Dated: _______________________ from ________________________________ (Name of the Division) with a view to seek exemption from payment of performance guarantee in cash. This Bank guarantee expires on ________________________________

# I/We undertake to keep the validity of the bank guarantee intact by getting it extended from time to time at my/our own initiative upto a period of _______________________________ months after the recorded date of completion of the work or as directed by the Engineer in charge.

I/We also indemnify the Bharat Sanchar Nigam Limited against any losses arising out of non-encashment of the bank guarantee if any.

(Deponent)

# Signature of Contractor

Note: The affidavit is to be given by the Executants before a first class Magistrate.

APPENDIX-XV

Notice for appointment of Arbitrator

[Refer Clause 25]

To

The Chief Engineer (Civil)

BSNL, Civil North Zone

Shimla

Dear Sir,

In terms of clause 25 of the agreement, particulars of which are given below, I/we hereby give notice to you to appoint an arbitrator for settlement of disputes mentioned below:

1. Name of applicant

2. Whether applicant is Individual/Prop. Firm/Partnership Firm/Ltd. Co.

3. Full address of the applicant

4. Name of the work and contract number in which arbitration sought

5. Name of the Division which entered into contract

6. Contract amount in the work

7. Date of contract

8. Date of contract Date of initiation of work

9. Stipulated date of completion of work

10. Actual date of completion of work (if completed)

11. Total number of claims made

12. Total amount claimed

13. Date of intimation of final bill (if work is completed)

14. Date of payment of final bill (if work is completed)

15. Amount of final bill (if work is completed)

16. Date of request made to SE for decision

17. Date of receipt of SE’s decision

18. Date of appeal to you

19. Date of receipt of your decision.

Specimen signatures of the applicant

(Only the person/authority who signed the contract should sign)

I/We certify that the information given above is true to the best of my/our knowledge. I/We enclose following

documents.

1. Statement of claims with amount of claims.

2.

3.

4.

Yours faithfully,

(Signatures)

Copy in duplicate to:

1. The Executive Engineer,

BSNL Civil Division.

Shimla.

|  | (Copy of Price Bid --- For View Purpose Only) |  |
| --- | --- | --- |
| SCHEDULE OF QUANTITIES |
|  | Name of Work:- Renovation of Block 18A & 18B, and Interior Designing of the O/o Director Medical Education & Research, Kasumpti, Shimla (SH- Furniture Works). |
|  | Name of Bidder |  |
| Sr.No. | Description of Item | Quantity | Rate (Rs) | Unit | Amount (Rs) |
| 1 | Providing and fixing ARISTO TABLE 2350 LH RU 1200 PDL of Godrej make or equivalent, main Desk Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Gromet provided on work surface for wire management Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shadeconfirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping.Handle is provided for ease of opening. Storage is provided with cam lock for security. | 1.00 | No. | 0 | Each | 0.00 |
| 2 | Providing and fixing LA SEDE HIGH BACK chair of Godrej make or equivalent, the cushioned seat should be made of injection molded plastic outer & inner. plastic inner should be upholstered with pure leather and moulded high resilience (hr) polyurethane foam of density 45±2 kg/m3,and hardness load 16 ± 2 kgf for 25% compression. The cushioned back should be made of pu foam with insitu molded ms e.r.w round tube of size 1.9±0.03cm x 0.16 ±0.0128cm. it upholstered with pure leather. seat size : 47.6 cm. (w) x 49.2 cm. (d).back size : 47.5 cm. (w) x 77 cm. (d). Armrests: the armrest top should be moulded from polyurethane(pu), upholstered in pure leather and mounted on to a drop lift adjustable type tubular armrest support made of 03.81±0.03 cm x 0.2±0.01 cm thk m.s e.r.w tube having chrome plated finish.the armrest height adjustable up to 6.5±0.5cm in 5 steps. active bio-synchro mechanism: the adjustable tilting mechanism should be designed with the following features:360° revolving type. front-pivot for tilt with feet resting on ground and continuous lumbar support ensuring more comfort.tilt tension adjustment can be operated in seating position.5-position tilt limiter giving option of variable tilt angle to the chair.seat/back tilting ratio of 1: 2.the mechanism housing should be made up of hpdc aluminium black powder coated.seat depth adjustment: seat depth adjustment should be integrated in the seat through a sliding mechanism. seat depth adjustment range should be of 6.0±0.5 cm. 5 adjustable back support: back frame should be connected to the up/dn mechanism housed in plastic t spine. it can be adjusted in the range of 7.42±0.5 cm for the comfortable back support to suit individual need.pneumatic ht. adjustment: the pneumatic height adjustment has an adjustment stroke of 10.0±0.3 cm.pedestal assembly the pedestal should be high pressure die cast polished aluminium and fitted with 5 nos. twin wheel castors. the pedestal should be 65.0 ± 0.5cm. pitch-center dia.(75.0 ± 1.0cm. with castors.).twin wheel castors:the twin wheel castors should be injection moulded in black polypropylene. | 1.00 | No. | 0 | Each | 0.00 |
| 3 | Providing and fixing LA SEDE VISITOR chair of Godrej make or equivalent, The cushioned seat should be made of injection molded plastic outer & inner. plastic inner should be upholstered with pure leather and moulded high resilience (hr) polyurethane foam of density 45±2 kg/m3,and hardness load 16 ± 2 kgf for 25% compression.the cushioned back should be made of pu foam with insitu molded ms e.r.w round tube of size 1.9±0.03cm x 0.16 ±0.0128cm. it upholstered with pure leather.Seat size : 47.6 cm. (w) x 49.2 cm. (d) Back size : 46.5 cm. (w) x 59.5 cm. (d) Visitor tubular frame: the tubular frame should be cantilever type and made of ø2.54± 0.03 cm x 0.02 ± 0.016cm thick ss 202 tube. the back should be connected to frame through chrome plated high pressure die case connector piece. | 3.00 | No. | 0 | Each | 0.00 |
| 4 | Providing and fixing PISA 1 SEATER SOFA of Godrej make or equivalent, the seat is made of PU ‎foam with Density ‎28‎± ‎2 ‎kg‎/‎cu‎.‎mtr having an ‎additional top layer of super soft ‎PU foam in Density ‎32 ‎± ‎2 ‎kg‎/‎cu‎. ‎upholstered with fabric ‎or leatherette‎. ‎BACK ‎FOAM‎: ‎The back is ‎made of PU foam with ‎Density ‎28 ‎± ‎2 ‎kg‎/‎cu‎. mtr with two additional ‎top layer of supersoft ‎ foam of density ‎32‎±‎2 ‎kg‎/‎cu‎. ‎mtr‎, ‎upholstered ‎ with fabric or leatherette .‎UNDERSTRUCTRE ‎: ‎Understructure is made ‎up of ‎1‎.‎2‎±‎0‎.‎1 ‎cm‎. ‎thick ‎hot pressed plywood ‎( moisture resistance & termite proof as per IS: 303) & pinewood of cross section devoid of major knots & surface defects 6 nos. per seat & 3.8 mm Dia zigzag spring assembly is mounted over understructure for cushioning purpose 6 nos. per seat & 3.8 mm Dia zigzag spring assembly is mounted over understructure for cushioning purpose. ‎LEG ASSEMBLY‎: ‎It is ‎a welded assembly ‎made in Stainless steel ‎(‎grade SS ‎202‎) ‎tube ‎& ‎plate‎ with plastic endcap. (W) 86.0* (D) 90.5(H) 85.5 cm seat (H) 45.0 cm. | 4.00 | No. | 0 | Each | 0.00 |
| 5 | Providing and fixing PISA CENTER TABLE of Godrej make or equivalent, glass shall be 12+/-0.3mm thick black tinted toughened glass UV glued with bushes made in SS 202 grade for fixing with understructure. It shall be a welded assembly made in SS202 grade having dia. 12+/-0.04 as per IS:1762. overall dimensions of table shall be Width of table= 112.0 cm, Depth=60.0 cm, height=35.1 cm. | 1.00 | No. | 0 | Each | 0.00 |
| 6 | Providing and fixing ARISTO TABLE 1800 LH RU 1200 PDL of Godrej make or equivalent, main Desk Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Gromet provided on work surface for wire management Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shadeconfirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping.Handle is provided for ease of opening. Storage is provided with cam lock for security. | 1.00 | No. | 0 | Each | 0.00 |
| 7 | Providing and fixing MARVEL HIGH BACK chair of Godrej make or equivalent, The Cushioned seat is made of Injection molded Plastic outer & inner. Plastic Inner is upholstered with leatherette and moulded High Resilience (HR) Polyurethane foam of Density 45±2 kg/m3,and hardness load 16 ± 2 kgf as per IS:7888 for 25% compression. *Seat SIZE : 47.0 cm. (W) x 48.0 cm. (D) BACK ASSEMBLY: The Cushioned back is made of PU Foam with insitu molded MS E.R.W Round Tube of size 1.9±0.03cm x 0.16 ±0.0128cm. It upholstered with Leatherette. *MID BACK SIZE: 47.7 cm. (W) x 60.1 cm. (D) The armrest top is moulded from polyurethane(PU) and mounted on to a drop lift adjustable type tubular armrest support made of 03.81±0.03 cm x 0.2±0.01 cm thk M.S. E.R.W tube having chrome plated finish.The armrest height adjustable up to 6.5±0.5cm in 5 steps. The adjustable tilting mechanism is designed with the following features:360' revolving type.Front-pivot for tilt with feet resting on ground and continuous lumbar support ensuring more comfort.Tilt tension adjustment can be operated in seating position.5-position Tilt limiter giving option of variable tilt angle to the chair.Seat/back tilting ratio of 1: 2The mechanism housing is made up of HPDC Aluminium black powder coated. Seat depth adjustment is integrated in the seat through a sliding mechanism. Seat depth adjustment range is of 6.0±0.5 cm. Back Frame is connected to the Up/Dn mechanism housed in Plastic T spine. It can be adjusted in the range of 7.42±0.5 cm for the comfortable back support to suit individual need. The pneumatic ht adjustment has an adjustment stroke of 10.0±0.3 cm. The pedestal is High Pressure Die cast polished Aluminium and fitted with 5 nos. twin wheel castors. The pedestal is 65.0 ± 0.5cm. pitch-center dia.(75.0 ± 1.0cm. With castors. | 3.00 | No. | 0 | Each | 0.00 |
| 8 | Providing and fixing MARVEL VISITOR chair of Godrej make or equivalent, the armrest top is moulded from polyurethane(PU) and mounted on to a drop lift adjustable type tubular armrest support made of 03.81±0.03 cm x 0.2±0.01 cm thk M.S. E.R.W tube having chrome plated finish.The armrest height adjustable up to 6.5±0.5cm in 5 steps. The Cushioned seat is made of Injection molded Plastic outer & inner. Plastic Inner is upholstered with leatherette and moulded High Resilience (HR) Polyurethane foam of Density 45±2 kg/m3,and hardness load 16 ± 2 kgf as per IS:7888 for 25% compression.*Seat SIZE : 47.0 cm. (W) x 48.0 cm. (D) BACK ASSEMBLY: The Cushioned back is made of PU Foam with insitu molded MS E.R.W Round Tube of size 1.9±0.03cm x 0.16 ±0.0128cm. It upholstered with Leatherette.Tabular frame is cantilever type & made of 02.54±0.03 cm x 0.2±0.016 cm thk S.S 202 tube.The back connected to frame through chrome plated high pressure die cast connector piece. | 6.00 | No. | 0 | Each | 0.00 |
| 9 | Providing and fixing PISA 3 SEATER SOFA of Godrej make or equivalent, the seat should be made of pu foam with density 32 ± 2 kg/cu.mtr having an additional top layer of j pu foam with density 28 ± 2 kg/cu. seat should be upholstered with fabric or leatherette. 2) back foam: the back should be made of pu foam with density 28 ± 2 kg/cu. mtr with two additional top layer of supersoft foam of density 23±2 kg/cu. mtr, upholstered with fabric or leatheretteunderstructre : understructure should be made up of 1.2±0.1 cm. thick hot pressed plywood ocp-qlta-pl14-18 4. dia 4mm zigzag spring assembly should be mounted in understructure for support and additional cushioning purpose leg assembly: it should be a welded assembly made in stainless steel (grade ss 202) tube & plate. | 2.00 | No. | 0 | Each | 0.00 |
| 10 | Providing and fixing IMPRESS MAIN DESK + ERU+PEDESTAL 1800 of Godrej make or equivalent, The Main table shall be of size 1800 Width mm x 900 mm Depth x 750 mm height. Top surface of the table shall made up of MDF (Medium density fibre ) board duly finished with Veneer and final coating of PU. The Main desk should contain in built key board pull out tray for keeping keyboard of computer. The front modesty panel of the table shall be made up of MDF board of size 1640 mm x 600 mm x 16mm which shall also be duly finished with Veener and PU coating. For personal storage one mobile pedestal (3 drawer unit) shall be provided of size 510 mm Width x 635 mm Height and 445 mm Depth. The storage pedestal shall also be made up of MDF duly finished with veener & final coating of PU. The Side shall be of size 1200mm Width x 445mm Depth x 660 mm Height. The side unit shall be made up of MDF board duly finshed with Veneer and final finish by PU Coating. The design of the side unit shall be such that it can be placed on either side of the main table. The side unit shall contain open space for keeping cpu in extreme right side, one closed storage shutter at extreme left end & open space in the middle with one shelf for keeping files. The thickness of the top of the side unit shall be 25mm. The Size of the Back unit shall be 2215mm width x 410 mm Depth x 2000mm height. The back unit shall be made up of MDF board duly finished with veneer & final finish by PU coating. Below storage shall be provided with wooden shutters & the upper left & right side of the back unit shall also be provided with wooden shutters. The middle 3 door shutters should be of glass of minimum 5mm thick for display purpose. The hardness of the PU coating shall be 1.5H.The Size of the Back unit shall be 2215mm width x 410 mm Depth x 2000mm height. The back unit shall be made up of MDF board duly finished with veneer & final finish by PU coating. Below storage shall be provided with wooden shutters & the upper left & right side of the back unit shall also be provided with wooden shutters. The middle 3 door shutters should be of glass of minimum 5mm thick for display purpose. The hardness of the PU coating shall be 1.5H | 5.00 | No. | 0 | Each | 0.00 |
| 11 | Providing and fixing VERSA NEO HIGH BACK chair of Godrej make or equivalent, The cushioned seat should be made of injection molded plastic outer & inner. plastic inner should be upholstered with stitched cover and moulded high resilience polyurethane foam of density 45±2 kg/m3,and hardness load 16 ± 2 kgf for 25% compression.the stitched cover should be made from spacer fabric and leatherette. cushioned back should be made of pu foam with insitu molded ms e.r.w round tube of size 1.9±0.03cm x 0.16 ±0.0128cm. it upholstered with spacer fabric and leatherette. Seat size : 47.0 cm. (w) x 48.0 cm. (d) Back size : 45 cm. (w) x 60.5 cm. (d) Armrests the armrest top should be moulded from polyurethane(pu) and mounted on to a drop lift adjustable type tubular armrest support made of 03.81±0.03 cm x 0.2±0.01 cm thk ms e.r.w tube. the armrest height adjustable up to 6.5±0.5cm in 5 steps.the armrest structure should be powder coated (dft 40-60 micron). Active bio-synchro mechanism (fu3401/3402): the adjustable tilting mechanism should be designed with the following features: 360° revolving type. Front-pivot for tilt with feet resting on ground and continuous lumbar support ensuring more comfort. Tilt tension adjustment can be operated in seating position. 5-position tilt limiter giving option of variable tilt angle to the chair. Seat/back tilting ratio of 1: 2 The mechanism housing should be made up of hpdc aluminium black powder coated. Seat depth adjustment seat depth adjustment should be integrated in the seat through a sliding mechanism. seat depth adjustment range should be of 6.0±0.5 cm. Adjustable back supportback frame should be connected to the up/dn mechanism housed in plastic t spine. it can be adjusted in the range of 7.42±0.5 cm for the comfortable back support to suit individual need. Pneumatic ht. adjustment the pneumatic ht adjustment has an adjustment stroke of 10.0±0.3 cm. Twin wheel castor : 5 nos. twin wheel castors should be injection moulded in plastic having 6.0±0.1cm wheel diameter and assembled to pedestal. | 5.00 | No. | 0 | Each | 0.00 |
| 12 | Providing and fixing VERSA NEO VISITOR chair of Godrej make or equivalent, The cushioned seat should be made of injection molded plastic outer & inner. plastic inner should be upholstered with stitched cover and moulded high resilience polyurethane foam of density 45±2 kg/m3,and hardness load 16 ± 2 kgf for 25% compression.the stitched cover should be made from spacer fabric and leatherette. cushioned back should be made of pu foam with insitu molded ms e.r.w round tube of size 1.9±0.03cm x 0.16 ±0.0128cm. it upholstered with spacer fabric and leatherette. Seat size : 47.0 cm. (w) x 48.0 cm. (d) Back size : 45 cm. (w) x 60.5 cm. (d) Armrests the armrest top should be moulded from polyurethane(pu) and mounted on to a drop lift adjustable type tubular armrest support made of 03.81±0.03 cm x 0.2±0.01 cm thk ms e.r.w tube. the armrest height adjustable up to 6.5±0.5cm in 5 steps.the armrest structure should be powder coated (dft 40-60 micron). Active bio-synchro mechanism (fu3401/3402): the adjustable tilting mechanism should be designed with the following features: 360° revolving type. Front-pivot for tilt with feet resting on ground and continuous lumbar support ensuring more comfort. Tilt tension adjustment can be operated in seating position. 5-position tilt limiter giving option of variable tilt angle to the chair. Seat/back tilting ratio of 1: 2 The mechanism housing should be made up of hpdc aluminium black powder coated. Seat depth adjustment seat depth adjustment should be integrated in the seat through a sliding mechanism. seat depth adjustment range should be of 6.0±0.5 cm. Adjustable back supportback frame should be connected to the up/dn mechanism housed in plastic t spine. it can be adjusted in the range of 7.42±0.5 cm for the comfortable back support to suit individual need. | 11.00 | No. | 0 | Each | 0.00 |
| 13 | Providing and fixing PARTO PLUS 1ST IN SYN LTH IN BLACK one seater sofa of Godrej make or equivalent, Diamension (in cm )- Width 92x Depth87x Height78x Seat Height 43 STITCHING: THREAD : Poly Proplin. LEATHER/PVC/FABRIC: PVC. Thickness (mm) : 0.9. Weight (GSM) : 575. FRAME MATERIAL (PINE WOOD): Moisture Content ( 10 – 12 %) : Less then 12%. Standard of Plywood used: {Required Standard : IS 303 Commercial Plywood} SEAT FOAM: (DENSITY, TYPE) Thickness (mm) : 69, 22 & 10 mm Density (Kg/m3): BACK FOAM: (DENSITY, TYPE) Thickness (mm) : 45 mm Density (Kg/m3): 28 d ARMREST FOAM: (DENSITY, TYPE) Thickness (mm) : 45 mm Density (Kg/m3): 26 d BELT/ WEBBING MATERIAL: Width of belt (mm) : 68mm - 48mm Total length of belt used (mm): 68mm :- 2500mm (2) 48mm :- 2000mm LEG MATERIAL: Fixing of Leg : (Self Tapping Screw / Insert with metric threading) :-Woodscrew provided on frame in addition to M-8 / T-Nut * Material of leg : (Plastic / Insert Moulding / Wooden/ MS / SS) :- Plastic * Bush for Leg bottom : (PVC bush / Felt Pad) :- Pvc. Bush STAPLING PINS: * Size of Pin : (Zinc Plated) * No. Of Pins : 80/12 :- 1100 , 90/35 :- 95 , 100/50 :- 70 | 4.00 | No. | 0 | Each | 0.00 |
| 14 | Providing and fixing GLAZE COFFEE TABLE of Godrej make or equivalent, MATERIALS & DIMENSION (+/- 2mm)-1100*600*150*500. TABLE LEGS METERIALS & SIZE : OVAL METAL TUBE THICK-1.5 mm Color : SILVER POWER COATING TABLE TOP MATERIALS & SIZE : (DENSITY / TYPE) L X W X T -1100 X 600 X 8 MM FULL BLACK TEMPERED GLASS TABLE BOTTOM MATERIALS & SIZE : (DENSITY / TYPE) L X W X T-1100 X 600 X 6 MM Color : FULL BLACK TEMPERED GLASS | 1.00 | No. | 0 | Each | 0.00 |
| 15 | Providing and fixing GLAZE CORNER TABLE of Godrej make or equivalent, MATERIALS & DIMENSION (+2mm)600*600*450*330. TABLE LEGS METERIALS & SIZE : OVAL METAL TUBE THICK-1.5 mm. Color : SILVER POWER COATING. TABLE TOP MATERIALS & SIZE : (DENSITY / TYPE) L X W X T-600 X 600 X 8 MM. Color : PARTIAL BLACK TEMERED GLASS TOP. TABLE BOTTOM MATERIALS & SIZE : (DENSITY / TYPE) L X W X T-500 X 500 X 5 MM. Color : FULL BLACK TEMPERED GLASS | 1.00 | No. | 0 | Each | 0.00 |
| 16 | Providing and fixing SENATE CONFERENCE TABLE WITH WIRE MANAGER 17 SEATER of Godrej make or equivalent, Senate Conference Table With Wire Manager size shall be Single seater 760 Width mm x 600 Depth mm , Two seater 1360 Width mm x 600 Depth mm , Half Round (2 Seater ) R 713 + Quarter Round ( 1 Seater ) R 713 . The top shall be 31.6 mm thick (18 mm + 12 mm + 0.6 mm DL ( both sides ) + 0.4 mm Membrane ) Edge Profile shall be waterfall edge 10 mm radius on top edge and 5 mm at bottom . In Understructure the Legs shall be made from 25 mm PPB having a straight profile with half round edges and clad with 0.6 mm thick post Forming laminate . Overall thickness of leg shall be 26.2 mm The modesty panel in understructure shall be mae from PLT ( Pre laminated twin) boards of 18 mm thick . There shall be Wire Management wire carrier shall be made from 0.6 mm thick CRCA painted and carrier cover shall be made of 12 mm thick MDF painted all over. | 1.00 | No. | 0 | Each | 0.00 |
| 17 | Providing and fixing MARVEL MID BACK chair of Godrej make or equivalent, The Cushioned seat is made of Injection molded Plastic outer & inner. Plastic Inner is upholstered with leatherette and moulded High Resilience (HR) Polyurethane foam of Density 45±2 kg/m3,and hardness load 16 ± 2 kgf as per IS:7888 for 25% compression.*Seat SIZE : 47.0 cm. (W) x 48.0 cm. (D) BACK ASSEMBLY: The Cushioned back is made of PU Foam with insitu molded MS E.R.W Round Tube of size 1.9±0.03cm x 0.16 ±0.0128cm. It upholstered with Leatherette. *MID BACK SIZE: 47.7 cm. (W) x 60.1 cm. (D) The armrest top is moulded from polyurethane(PU) and mounted on to a drop lift adjustable type tubular armrest support made of 03.81±0.03 cm x 0.2±0.01 cm thk M.S. E.R.W tube having chrome plated finish.The armrest height adjustable up to 6.5±0.5cm in 5 steps. The adjustable tilting mechanism is designed with the following features:360' revolving type.Front-pivot for tilt with feet resting on ground and continuous lumbar support ensuring more comfort.Tilt tension adjustment can be operated in seating position.5-position Tilt limiter giving option of variable tilt angle to the chair.Seat/back tilting ratio of 1: 2The mechanism housing is made up of HPDC Aluminium black powder coated. Seat depth adjustment is integrated in the seat through a sliding mechanism. Seat depth adjustment range is of 6.0±0.5 cm. Back Frame is connected to the Up/Dn mechanism housed in Plastic T spine. It can be adjusted in the range of 7.42±0.5 cm for the comfortable back support to suit individual need. The pneumatic ht adjustment has an adjustment stroke of 10.0±0.3 cm. The pedestal is High Pressure Die cast polished Aluminium and fitted with 5 nos. twin wheel castors. The pedestal is 65.0 ± 0.5cm. pitch-center dia.(75.0 ± 1.0cm. With castors. | 25.00 | No. | 0 | Each | 0.00 |
| 18 | Providing and fixing CIGNUS TABLE 2100 LH RU 1200 PDL of Godrej make or equivalent, Main Desk Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Made of 25mm thick MDF one side pre-aminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top. Softclosing access flap with in-build power box are provided on work surface for wire management.Made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping.Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Drawer fronts made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top Pedstal construction is BOX-BOX-FILE type which Uses powder coated 400 MM long metal Panel Drawer Slides. Drawer extension is 325 MM. Drawers have a soft closing & anti slam mechanism. Handles are provided for ease of opening. Pedestal is provided with lock for security. | 1.00 | No. | 0 | Each | 0.00 |
| 19 | Providing and fixing PARTO PLUS 3ST IN SYN LTH IN BLACK three seater sofa of Godrej make or equivalent, Diamension (in cm )- Width 175x Depth87x Height78x Seat Height 43 STITCHING: THREAD : Poly Proplin. LEATHER/PVC/FABRIC: PVC. Thickness (mm) : 0.9. Weight (GSM) : 575. FRAME MATERIAL (PINE WOOD): Moisture Content ( 10 – 12 %) : Less then 12%. Standard of Plywood used: {Required Standard : IS 303 Commercial Plywood} SEAT FOAM: (DENSITY, TYPE) Thickness (mm) : 69, 22 & 10 mm Density (Kg/m3): BACK FOAM: (DENSITY, TYPE) Thickness (mm) : 45 mm Density (Kg/m3): 28 d ARMREST FOAM: (DENSITY, TYPE) Thickness (mm) : 45 mm Density (Kg/m3): 26 d BELT/ WEBBING MATERIAL: Width of belt (mm) : 68mm - 48mm Total length of belt used (mm): 68mm :- 2500mm (2) 48mm :- 2000mm LEG MATERIAL: Fixing of Leg : (Self Tapping Screw / Insert with metric threading) :-Woodscrew provided on frame in addition to M-8 / T-Nut * Material of leg : (Plastic / Insert Moulding / Wooden/ MS / SS) :- Plastic * Bush for Leg bottom : (PVC bush / Felt Pad) :- Pvc. Bush STAPLING PINS: * Size of Pin : (Zinc Plated) * No. Of Pins : 80/12 :- 1100 , 90/35 :- 95 , 100/50 :- 70 | 4.00 | No. | 0 | Each | 0.00 |
| 20 | Providing and fixing modular WISH WORKSTAION 1500X1500X600 of Godrej make or equivalent, with partition thickness as 52.4 mm thk and ht - 1200 including powder coated aluminium trims. Tiles on main spine: Combination of top tiles are fabric magneitc,fabric tackable and white board. Bottom tiles - Plain metal. INTERMEDIATE BLOCKS on main spine Intermediate blocks are given in fabric + Fabric finish. Wire Management - Wires shall be taken into the system through cable ducts from the junction boxes and it is carried upto the panels through concealed conduits inside the blocks. MODESTY PANELS WITH ASSEMBLY LEG - 25 MM THK PLB modesty has been given on the front of the main worktop which is attached to the partition on one end with gable end bkts and on the other end with metal powder coated frontier leg. Legs - metal powder coated legs at the end and shared condition. System shall also have 120 mm high powder coated standalone panel legs to give the system an elevated look. Worksurface - Main table recta out of 25 mm thk prelam particle board with flat pvc lipping edge banding of size 1350 mm w x 600 mm d and ERU table recta of size 900 mm w x 450 mm d. Pedestals - Nova pedestal flat metal front, full ht free standing central locking of size 390 mm w x 435 mm d x 646 mm ht 3dr = 2box+1file. CPU trolley - with castors KBPT with mousetray - metal Note: All partitions and side panels have levelling screws for adjustment in case of Uneven floor to take care of +/- 40 mm of uneven flooring. | 24.00 | No. | 0 | Each | 0.00 |
| 21 | Providing and fixing BRAVO MID BACK chair of Godrej make or equivalent, The seat and back shall be made up of 1.2 ±0.1cm. thick hot-pressed plywood measured as per QA method described in OCP-QLTA-P14-18 and upholstered with fabric upholstery covers and moulded Polyurethane foam. The back foam shall be designed with contoured lumbar support for extra comfort. The seat shall be extra thick foam on front edge to give comfort to popliteal area. The dimensions of back shall be 47.5 cm(W) x 58.0 cm(H) and of seat shall be 47.0 cm (W) x 48.0 cm (D). The HR polyurethane foam shall be moulded with density= 45±2 kg/m3 and hardness load 16 ± 2 kgf as. per IS:7888 for 25% compression. The one-piece armrests shall be injection moulded from black Co.polymer Polypropylene. The mechanism shall be designed with 360° revolving type, Upright-position locking, Tilt tension adjustment, Seat/back tilting ratio of 1:3. The pneumatic height adjustment shall has an adjustment stroke of 12.0 ±0.3cm. The bellow shall be 3 piece telescopic type and injection moulded in black Polypropylene. The pedestal shall be injection moulded in black 33% glass-filled Nylon-66 and fitted with 5 nos. twin wheel castors. The pedestal shall be 66.3 ±0.5cm. pitch-center dia. (76.3 ±1.0cm with castors). The twin wheel castors shall be injection moulded in Black Nylon. Overall Dimensions of Chair shall be Seat Height - min 42.5 to max 54.5cm, Height - min85.5 to max 97.5cm, Width & Depth of Chair as measured from pedestal - Width-76.3 cm and Depth-76.3 cm. | 24.00 | No. | 0 | Each | 0.00 |
| 22 | Providing and fixing VSDU-12 WITH WOODEN TOP of Godrej make or equivalent, Overall Dimensions of VSDU - 12 shall be 1200mm(W)x450mm(D)x1192.5mm(H) . The top shall be wooden top PLB(25 mm add in unit height ) . The Rigid Knock Down Construction , Back , Sides and Door shall be made from 0.7 mm high yield strength CRCA ,rest in 0.8 mm CRCA . CRCA - 'D' Grade as per IS-513 . Sliding door arrangement shall have sliding door wth top hanging arrangement to prevent derailment . Each door shall be provided with 2 plastic roller having steel ball bearing for smooth movement of door & less noise . Locking shall be 5 lever cam lock for safe locking . Handle shall be plastic flush & recessed handle . Shelving shall have Height wise adjustable shelf mounting . Uniformly Distributed Load Capacity of the shelf is 40 Kg maximum . VSDU - 12 shall have 4 no. of adjustable half shelves . Accessories optional shall be cradle with pipes for hanging godrej instadex files . Leveler shall be screw type leveler with hex plastic base and overall finish shall be epoxy polyester coated to the thickness of 50 microns . For VSDU 12 - A4 size box file can be stored vertically on two shelves and clear space above third shelf is 295 mm . | 8.00 | No. | 0 | Each | 0.00 |
| 23 | Providing and fixing FINNESSE TABLE -5026+ ERU 3616 LHS + FREE STANDING PEDESTAL WITH CASTORS of Godrej make or equivalent, Finesse Table - 5026 size shall be 1500 Width mm x 750 Depth mm x 740 Height mm .Table top shall be 25 mm thick plain particle board (PPB) Clad with 0.6 mm thick post formed laminate and 1 mm thick backing laminate (bdl) .Flat edge Duly sealed with 2 mm thick PVC beading.The modesty shall be 18 mm thick plain particle board ( ) PPB Clad with 1.0 mm thick decorative laminate (DL) on both sides. Edge Sealed with 2 mm thick PVC beading.Finesse ERU -3616 LHS size shall be 1050 Width x 450 Depth x 705 Height. The top of Finesse ERU -3616 LHS shall be 25 mm thick plain particle board (PPB) Clad with 0.6 mm thick post formed laminate and 1 mm thick Backing Laminate ( BDL).Flat Edge duly sealed with 2 mm thick PVC beading. The Modesty shall be 18 mm thick plain particle board (PPB) Clad with 1.0 mm thick Decorative Laminate (DL) on both sides. Edge sealed with 2 mm thick PVC Beading.Overall Dimensions of Free Standing Ped With Castors For Finnesse Table shall be 390mm(W)x440mm(D)x646mm(H). The construction & Material used shall be welded assembled , 0.8 mm thick CRCA for body shell , drawer front & tray , front side stiffener ,rear aide stiffener and 1.2 mm thick CRCA Top stiffener & Bottom stoffener . The drawer fronts shall be metal front straight edge . Locking shall be 10 lever cam lock & Central RH locking with actuator & lock channel mechanism for box-box-file Pedestal . The top panel shall be metal straight edge top . Castor should be swiveling non - lockable castors mounted below the body shell for free standing full height mobile pedestal and M8 Leveling stud for free standing pedestal . The anti-tipping mechanism shall have fifth roller arrangement mounted below file drawer to avoid toppling of unit when file drawer is pulled out . Partition in drawer shall be 1 no. Partition in box drawers with lock mounted . Plastic pencil tray shall be optional accessory . Finish shall be epoxy polyester powder coated to the thickness of 50 microns . Application shall be suitable for pushing below work surface which has got a clear height of 725 mm from below . For drawer pulling side wise tapered recess provided in shell behind drawer fronts . | 1.00 | No. | 0 | Each | 0.00 |
| 24 | Providing and fixing BRAVO HIGH BACK chair of Godrej make or equivalent, The seat and back shall be made up of 1.2 ±0.1cm. thick hot-pressed plywood measured as per QA method described in OCP-QLTA-P14-18 and upholstered with fabric upholstery covers and moulded Polyurethane foam. The back foam shall be designed with contoured lumbar support for extra comfort. The seat shall be extra thick foam on front edge to give comfort to popliteal area. The dimensions of back shall be 47.5 cm(W) x 69.5 cm(H) and of seat shall be 47.0 cm (W) x 48.0 cm (D). The HR polyurethane foam shall be moulded with density= 45±2 kg/m3 and hardness load 16 ± 2 kgf as. per IS:7888 for 25% compression. The one-piece armrests shall be injection moulded from black Co.polymer Polypropylene. The mechanism shall be designed with 360° revolving type, Upright-position locking, Tilt tension adjustment, Seat/back tilting ratio of 1:3. The pneumatic height adjustment shall has an adjustment stroke of 12.0 ±0.3cm. The bellow shall be 3 piece telescopic type and injection moulded in black Polypropylene. The pedestal shall be injection moulded in black 33% glass-filled Nylon-66 and fitted with 5 nos. twin wheel castors. The pedestal shall be 66.3 ±0.5cm. pitch-center dia. (76.3 ±1.0cm with castors). The twin wheel castors shall be injection moulded in Black Nylon. Overall Dimensions of Chair shall be Seat Height - min 42.5 to max 54.5cm, Height - min97.0 to max 109.0cm, Width & Depth of Chair as measured from pedestal - Width-76.3 cm and Depth-76.3 cm. | 1.00 | No. | 0 | Each | 0.00 |
| 25 | Providing and fixing BRAVO VISITOR chair of Godrej make or equivalent, The seat and back shall be made up of 1.2 ±0.1cm. thick hot-pressed plywood measured as per QA method described in OCP-QLTA-P14-18 and upholstered with fabric upholstery covers and moulded Polyurethane foam. The back foam shall be designed with contoured lumbar support for extra comfort. The seat shall be extra thick foam on front edge to give comfort to popliteal area. The dimensions of back shall be 47.5 cm(W) x 58.0 cm(H) and of seat shall be 47.0 cm (W) x 48.0 cm (D). The HR polyurethane foam shall be moulded with density= 45±2 kg/m3 and hardness load 16 ± 2 kgf as. per IS:7888 for 25% compression. The one-piece armrests shall be injection moulded from black Co.polymer Polypropylene. Overall Dimensions of Chair shall be Seat Height - 46.5cm, Height - 89.5cm, Width & Depth of Chair as measured from pedestal - Width-61.4 cm and Depth-64.5 cm. | 2.00 | No. | 0 | Each | 0.00 |
| 26 | Providing and fixing 2 bay 12 body compactor / OPTIMIZER of Godrej make or equivalent, Overall Dimensions of SS2 - Single Static 2 Bay Push Pull Type(U/C + Fittings) shall be 830mm(W)x381mm(D)x2180mm(H). The Construction shall be rigid knock down made out of 0.8 thick CRCA steel conforming to IS : 513 . Each body shall have a main unit plus add on units (1,2,3,4,5) . Finish shall be Epoxy polyester powder coated thickness of 40 microns . Shelf construction shall be made from CRCA steel 0.8 mm thick IS :513 .Uniformly distributed load capacity of 80 Kg . Undercarriage shall have construction in welded frame made of HR sheet 3.15 mm thick conforming to IS : 10748 . Finish shall be epoxy polyester powder coat of approved color & shade with a dry film thickness of minimum 40 microns . The movements of the system shall be Push pull configuration (TYPE-P1/TYPE-P2) : Movement of units achieved by pushing or pulling chrome plated 'C' Handle fitted onto 1.6 mm thick plate (mounted on each double & single movable units) & rigidly fixed at suitable height on body side . Each movable undercarriage has 4 nos. of antifriction ball bearings for rolling onto channels & 4 no. of antifriction ball bearings for guiding between channels & 'J' section . Fittings shall be centralized locking arrangement through locking stiffener mounted onto back of single last unit so that it gets locked on channels when all the units are brought together . The Recess handle lock is of Godrej make & placed at suitable height . This arrangement occupies a space of 90.0 mm . When the last unit is twin movable , hinged doors are provided for the end bodies, so in this case locking stiffener is mounted onto drive unit cover ; and with tile fascia option , it will be mounted in the recess of vertical trim . Each Drive Type units shall have Locking Knob near the drive wheel for manual locking of individual units when a person is using those units . Knob shall be rotated to unlock position when units are to be moved . End stoppers shall be provided to prevent derailment . Door locking shall be having hinged doors of recessed die cast handle cum lock giving 3 way locking through a lever & shooting bolts . Guide channels shall have 'J' section 2 mm thick HR & 25 mm Square bright bar . Easteners shall be galvanized/blackodized/Zn plated .The label holder shall be made from 2 mm thick clear transparent acrylic sheet . Also total no. of loading levels per understructure shall be 10 for SS2 | 1.00 | No. | 0 | Each | 0.00 |
| 27 | Providing and fixing MATRIX 3 SEATER COMMON ARM of Godrej make or equivalent, The seat shell shall be a welded assembly of seat,back and side frame. The seat and back shall be made of 0.12±0.013cm thk CR steel sheet with oblong perforations.They shall be welded to sideframe of size 3.2±0.05cm x 0.5 ± 0.05 cm thk HR steel. The welded assembly shall be powder coated ( DFT 40-60 microns). The seat shall has a front water fall edge to provide popliteal clearance for comfortable seating. It also shall has a buttock support curve that not only provides rear support but also prevents small children from falling through the gap between seat and back. Clean and flat surfaces of seat and back shall aids in easy maintenance. The dimensions of seat shall be 47.8 cm (W) x 44.6 cm (D) and of back shall be 41.6 cm (W) x 23. cm (H). Understructure assembly shall consists of connecting beam and leg assembly made of M.S.E.R.W. oblong tube of size 7.5±0.03cm x5.0±0.03cm x 0.02±0.016cm thk.The welded structure assembly shall be powder coated (DFT 40-60 microns ).The leg assembly shall be fitted with shoes and levellers in Nylon. The leg structure shall be designed with minimal area of contact close to ground providing easy access for cleaning purposes. The shoes fiited to leg assembly shall help in aligning the structure for back to back arrangements. Levelers should take care of uneven flooring .Connecting beam shall be fitted with snap locking end cap.It also aids in side-by-side understructure alignment. Armrest assembly shall consists of armrest frame and armrest pad. The armrest frame shall be made up of size 3.175±0.05cm x 0.47±0.027cm thk HR steel and it shall be powder coated (DFT 40-60 microns). Armrest pad shall be injection molded in Nylon and shall be fitted onto the armrest frame. Overall Dimensions shall be Seat Height - 44.1 cm, Height - 78.5 cm, Width & Depth of Chair as measured from pedestal - Width-169.5cm and Depth-63.8 cm. | 4.00 | No. | 0 | Each | 0.00 |
|  |  |  |  | Total | Rs | 0.00 |