| Office of the Executive Engineer (C) BSNL Civil Division, Block No-5, 4th Floor, Phase-III, Sector-6, Kangnadhar, New Shimla-171009. Telephone: 0177 2673088 Fax: 2673828 |  |
| --- | --- |

| QUOTATION Issued to : Address : |
| --- |
| SCHEDULE OF QUANTITIES |
| Name of the work : Overflow pipes arrangement for overhead tanks in Block No-60 Sector 2 New Shimla (HP) |
| I.No. | Description of Item | Quantity | Rate | Unit | Amount |
|  | Sub-Head : WATER SUPPLY |
| 1 | Job of making effective overflow pipe arrangement for 10 No overhead PVC tanks in 40mm G.I pipe with necessary fittings i.e sockets, elbows, tee, unions, nipples, tank nipples, plugs etc. Re-arrangements of tanks including balancing the intrruption of flushing and re-filling , monitoring with residents the water supply for day to day regular operation and making connection in existing down pipes to prevent severe overflow problem of tanks in high pressure conditions and making locking arrangements in inlet of roof opening to prevent ingress of local residents all complete as per the direction of Engineer-in-charge. | 1.00 job |  | One Job |  |
|  | (Rate in words : Rs ................... ................. ......... ............ ........... .............. ....... ) |
|  |  |  | Total Rs:- |  |

Executive Engineer (C)