S C H E D U L E O F Q U A N T I T Y

Name of work :-

Removal of blockage of sewerage line in BSNL Colony Chamba Distt. Chamba [HP].

| S no | Description of items | Quantity | Unit | Rate (both in words & figures) Rs. | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
|  | SH: Earth Work |  |  |  |  |
| 1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : |  |  |  |  |
| a) | All kinds of soil |  |  |  |  |
| (i) | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 12.00 Metre | One Running Metre |  |  |
|  | Sub-Head : Drainage |  |  |  |  |
| 2 | Providing and Laying unplasticised Rigid PVC pipes conforming to IS : 13592 Type A of working pressure not less than 4.00 Kg/Sqcm, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i)Single socketed pipes. |  |  |  |  |
| a) | 110 mm diameter | 12.00 Metre | One Running Metre |  |  |
|  | Sub-Head : Miscellaneous Work |  |  |  |  |
| 3 | Cleaning of choked manhole and connected sewer lines by any suitable means including disposal of sewage , testing and spreading disinfectant (Phenyle) after cleaning the surrounding area complete in all respect as per the direction of the Engineer in charge. | 4.00 Nos | Each |  |  |

SUB DIVISIONAL ENGINEER (C),

BSNL CIVIL SUB DIVISION ,

CHAMBA

Last corrected on 06/06/2019