| Office of the Sub Divisional Engineer (C) BSNL, Civil sub Division-II, Block No-5, Set No-4, Phase-III, Sector-6, Kangnadhar, New Shimla-9 Telephone: 0177 2673528. |  |
| --- | --- |

| QUOTATION Issued to : Address : |
| --- |
| SCHEDULE OF QUANTITIES |
| Name of work: Providing and fixing of Antistatic flooring (NTP Room) in Telephone Exchange Building at Lossar, Tehsil Kaza, Distt. Lahaul Spiti (HP) |
| S.No. | Description of Items | Quantity | Unit | Rate | Amount |
| 1 | Providing and fixing 2.00 thick Antistatic PVC sheet of TUSKER or equivalent make in flooring and skirting in approved pattern on a smooth and damp proof base using rubber based good quality adhesive SR-998 or equivalent including rolling with light wooden roller weighting about 5 kgs. all complete as per the directions of Engineer in Charge. | 6.00 | Sqm. |  |  |
| 2 | Providing and fixing copper strips for ensuring proper earthing as per the direction of Engineer in charge. | 0.350 | kg |  |  |
|  |  |  |  | Total Rs- |  |

Sub Divisional Engineer (C)