###### BHARAT SANCHAR NIGAM LIMITED

भारत संचार निगम लिमिटेड

(A Govt. of India Enterprise )

(भारत सरकार का उपक्रम)

O/o  Sub Divisional  Engineer  (E),BSNL Electrical Sub Division, 1st Floor Block No. 35 Kasumpati   Shimla-171009

कार्यालय उप मंडल  अभियंता ( विद्दुत )  भारत संचार निगम लिमिटेड ब्लॉक न. ३५  शिमला

No:-314SDE/E/BSNL/ESD./SML/18-19/ 	69				           	 Dated:- 18.09.2018

Notice Inviting Quotation

The Sub Divisional Engineer (Elect) BSNL, Electrical Sub Division, 1st Floor Block No.35 Kasumpati  Shimla-171009 invites the sealed quotation for the work name mentioned above. The quotations must reached on       20-09-2018 up 15.00 Hrs.at this office & will be opened on the same day at 15.30 Hrs. The nature of job and quantum of work has been explained in the schedule given below. The quotations can be downloaded from  www.hp.bsnl.co.in

| NAME OF WORK: - Servicing & minor repair of 30 KVA DEA Set ( Escort G-40 ) at BTS Dapela Khumb |
| --- |
| S. No. | Description of items | Qty | Rate | Unit | Amount |
| 1 | Servicing of following rating Engine coupled with alternator i/c replacement of lub. Oil, lub. Oil filter, diesel filter, cleaning of air filter, complete cleaning of the DEA set, testing on load all as required. |  |  |  |  |  |
| (a) | 30KVA (Escort G-40) | 1 | Job. |  | Job. |  |
| 2 | Replacement of following faulty items in the existing DEA set complete with connections, testing all as required. |  |  |  |  |  |
| (a) | Coolant | 5 | Ltrs. |  | Ltrs. |  |
| (b) | LLOP Sensor | 1 | Job. |  | Job. |  |
| (C) | Water Temprature Sensor | 1 | Job. |  | Job. |  |
| 3 | Supplying and installation of following capacity maintenance free battey for DG Set including new battery terminals, connecting leads etc. complete as required. |  |  |  |  |  |
|  | a) 130 AH, 12 Volt (M/s Exide/ Amara Raja / AMCO / Farukawa / Hitachi / Prestolite / Standard make) | 1 | Job. |  | Job. |  |
| 4 | S/f Steel wire braided return fuel pipe with both side benzo Tee and steel tee tec as required( App. 3mtr) | 1 | Job. |  | Job. |  |
|  | Note :- Dismentalled material will be propert of contractor rate should quoted accordingly |  |  |
|  | Total |  |  |  |  |  |

Note:-

1 The work shall  be  done as per the specification of department.

2. The work shall be supervised by the qualified Engineer-in-charge or his duly authorized representative at the site of   work.

3.  The layout of the work will be given by the Engineer-in-charge or his duly authorized representative at the site of  work.

4. Any damage done to the building by the contractor during the execution of work shall be made good by the contractor at his risk and cost, if the damage   are not made good by the contractor in reasonable time determine by the Engineer-in-charge the same will be got done at his cost departmentally after   serving notice to him.

5. No extra payment will be made for any kind of transportation.

6 The rates quoted should be inclusive of all taxes & duties but  excluding GST which will be paid extra

7.Time allowed for completion of work shall be 3 Days from the

--Sd----

Sub Divisional  Engineer (Elect)

BSNL Electrical Division

Shimla

Contractor Signature with Seal

NIO:

Copy to :-   All Enlisted Contractor & BSNL HP Web Site  www.hp.bsnl.co.in

EE(E),BSNL,EZ,Shimla for information please