BHARAT SANCHAR NIGAM LIMITED

OFFICE OF THE GENERAL MANAGER TELECOM DISTT. SOLAN-173211(HP)

#### TENDER FORM FOR

##### REPAIRING OF WINDOW/SPLIT TYPE AIR CONDITIONERS IN SOLAN SSA

NIT No.:- GMTD/Sol/Tender/AC Repair/2014-15/03.                            Dated  04/06/2014.

Cost of the Tender Form = Rs. 1000/- + 138/-(VAT) = Rs.1138/-

FORM No. :- AC Repair/___.					Issued By :

Date 		:

for General Manager

Telecom Distt, SOLAN-173211

#### BHARAT SANCHAR NIGAM LIMITED

(A. GOVT. OF INDIA ENTERPRISE)

##### OFFICE OF THE GENERAL MANAGER TELECOM DISTT., SOLAN

-----------------------------------------------------------------------------------------------------------------

No GMTD/Sol/Tender/AC Repair/2014-15/03                             Dated at SOLAN 04/06/2014.

-----------------------------------------------------------------------------------------------------------------

Notice Inviting Tenders

The General Manager Telecom Distt., SOLAN invites Wax/ PVC sealed tender on behalf of Bharat Sanchar Nigam Limited for  Repair/Maintenance of Air Conditioners (Window/Split Type)  in SOLAN SSA “from experienced contractors”.

Tender form (showing the details) can be obtained from the O/o The General Manager Telecom Distt., SOLAN on cash payment of Rs.1000/-+ VAT   (Rs One thousand + VAT)=Rs.1138/- (Non-refundable) on cash counter of Accounts Officer (Cash) O/o GMTD SOLAN on all working days w.e.f. 06/06/2014 to 26/06/2014  between 11.00 hrs. to 15.00 hrs.

| Name of Tender | Estimated Cost Rs. | E.M.D. Rs. | S.D. Rs. | Last date of issuing of tender form | Last date of submission of tender form | Date of opening of tender |
| --- | --- | --- | --- | --- | --- | --- |
| Tender for Repairing / replacing part of Split/Window type ACs . | 10,00,000/- | 25,000/- | 1,00,000/- | 26/06/2014 up to 15-00 hrs. | 27/06/2014 Up to 15-00 hrs. | 27/06/2014 at 15-30 hrs. |

Note: -

1. Experience certificate as described in detailed tender form should be from competent authority such as not below the rank of AGM/TDE/DGM/GMTD describing approval of their tender, work carried out and amount paid only for Window type AC Repair Works.

2.   Tenderer must clearly indicate whether his firm is a proprietor or partnership concern.

3.   If tenderer fails to submit any of the documents as required in Tender Form, GMTD. SOLAN may reject the tender.

4.   GMTD SOLAN reserves all the rights either to accept the tender on quoted rates or reject the whole or part of tender or relax the tender conditions wherever required without assigning any reason.

5. E.M.D. should be submitted in form of Cash/Demand Draft drawn in favour of A.O. (Cash) O/o GMTD BSNL SOLAN payable at SOLAN only.

6. The tender will be evaluated on single package basis only.

7. The tender form can be downloaded from the web-site www.hp.bsnl.co.in/tender, but while submitting the tender form the tender form cost amount DD in favor of A.O. (Cash) O/o GMTD BSNL SOLAN payable at SOLAN should be attached with it.

8. The GMTD Solan can also accept or reject any/all tenders without assigning any reason.

Asst. General Manager (NWP)

O/o GMTD SOLAN-173211

BHARAT SANCHAR NIGAM LIMITED

O/o GENERAL MANAGER TELECOM DISTT. SOLAN

TERMS & CONDITIONS

No-GMTD/Sol/Tender/AC Repair/2014-15/03                             Dated at SOLAN 02/06/2014.

- The General Manager Telecom Distt., SOLAN invites Wax/ PVC sealed tender on behalf of Bharat Sanchar Nigam Limited for “Repair of  Split/Window type Air Conditioners” situated at various places under the jurisdiction of General Manager SOLAN for a period of one year. The requirement will be spread over through out the year. If required the validity of tender may be extended up to six months by u/s under the same rates and conditions for maximum period of one year or till the finalization of new tender.

- The tenderer should quote  as ‘at par/%below/%above’ in a single package basis for repairing/ replacement of the spare parts as per Annexure-I(Financial Bid).

- While servicing if any part found faulty and necessary to replace the same, only spare part charges will be paid, and no extra replacement charges will be paid. All faulty items replaced should be deposited with the custodian of the AC Unit except the compressor. The firm is responsible to keep workable and critical spares and consumables for performance of the contract.

- As the A/Cs are staggered in the District at various telephone exchanges/offices, the rates to be quoted considering the servicing at site/location of exchange/offices.

- If tenderer fails to attend the repair/Replacement of the air conditioners within stipulated period as per Work order issued by AGM (NWP) O/o GMTD Solan, the repair/Replacement will be carried out from the open market and charges will be recovered from contractor’s bill/EMD/SD.

- For delay in repair/Replacement within the ordered limit, GMTD is empowered to impose 10% penalty. Maximum period of delay along with penalty is permitted for 10 days only. After 10 days GMTD may cancel the tender and forfeit the EMD/SD and black list the firm as well.  The General Manager Telecom Distt., SOLAN may relax the above said penalty etc. The decision given by him on the matter will be final and binding to the tenderer.

- The period of warranty shall be of twelve months from the date of receipt of commissioning of equipment/items. It becomes necessary for the supplier to replace or renew any defective part/portion, the warranty shall be of twelve months from the date of replacement and such period may be the period of 12 months without prejudice to any other right on receipt by consignee and certificate to this effect that quantity and physical condition have been verified and found correct, the bill will be released.

- Tenderer will have to deposit Rs. 25,000/- As Earnest money Deposit (EMD) in the form of Cash/DD drawn in favour of A.O. (Cash), O/o GMTD SOLAN payable at SOLAN and receipt thereof should be attached with tender. Without EMD tender will not be accepted/ considered. EMD will be refunded to unsuccessful tenders after finalization of the tender without any interest.

- The accepted tenderers will have to deposit 10% of the tender cost as  security deposit in the form of Bank Guarantee/FDR within ten days after receipt of the intimation regarding acceptance of tender duly pledged in favour of Accounts Officer (Cash) BSNL O/o GMTD Solan. The work order will be issued only after getting the S.D. and signing of agreement. Failing to which the tender will be cancelled and EMD will be forfeited.

- The completed tender duly sealed and superscribed on a cover as “Tender for repair of Air Conditioners in Solan SSA” addressed to AGM (NWP) O/o GMTD SOLAN should reach this office upto 1500 hrs. of 27/06/2014  The same will be opened at 15:30 hrs. of 27/06/2014 in presence of intending tenderer or their representative. If the date of opening is a holiday, it will be opened on next working day at the same time and at the same venue.

- The GMTD SOLAN reserves all the rights to reject / accept any or all tender without assigning any reason. If any matter of dispute, the decision of the GMTD SOLAN will be final and binding to all.

- The contractor should be responsible for register himself with labour commissioner under labour act and its implementation as per act, if any work  involves employment of labour by contractors.

- The contractor shall be responsible for any losses/damages etc. that may have occurred during execution of work and shall pay compensation to his/ their workman payable under workman compensation act 1923 (VII) for injuries caused to workman. If such compensation is paid by the BSNL as principle under sub section (I) of the section 12 of the same act, on behalf of the contractor, it shall be recovered by the BSNL from the contractor under section (II) of the said section from the security deposit or any dues payable by the BSNL to the contractors or any account.

- General Manager Telecom Distt. SOLAN reserves the right to interpret, relax contract at any time without assigning any reason and his decision will be final.

- General Manager Telecom Distt. SOLAN is free to accept one or more contractors for the said work depending upon the quantity of work if necessary.

- Conditional tenders will not be accepted or conditions entered by the tenderer will not be accepted.

- S.D. will be refunded to contractors without interest after one year of termination of contract and verification of no dues certificate from the field units.

- Experience certificate :- Two years AC repairing experience in previous Five years amounting at least Rs. Five Lakhs should be of competent authority such as not below the rank of AGM/TDE/DGM in case of B.S.N.L., describing approval of their tender, work carried out and the Amount paid only for mtce. of Air Conditioners. In case of state government same type of certificate under the signature of not below the rank of EE/SE may be submitted.

- The Contractor shall be solely responsible for the safe custody of the window type AC from the time they are made over to him till they are utilized on the work and the balance quantity returned to BSNL SOLAN. The contractor shall also to maintain a proper record of the AC also received from the Govt. their utilization on the work and the balance in stock work or his other raised representative may conduct surprise check of the stock in hand and tally the same with the balances as arrived at him accounts books, within 15 days of the completion of working respect of particular work order the contractor shall render an account of the stores / materials used in the work and arrange to returns the balance quantity of the stores to the Engineer I/C of the work. This shall be a prerequisite for passing the final bill of the contractor in respect of the work carried out under a particular work order given from time to time. The contractors shall commence work in respect of particulars work order within fifteen days from the date of issue of stipulated in the work order any failure on the part of the contract to adhere to the time stipulated as a stated above would make him liable to the penalties as per the Tender form.

- If any item of work / operation not provided for in the work order read with the “Specification and Scope of Work Contract” is required to be performed by the contractor under the order of Engineer I/C of the work then the work shall be paid for at the rates determined by the GMTD SOLAN whose decision on the matter shall be final and binding on the contractor.

- The Contractor shall take / any take all precautionary measures against any accidents that may take place during the period of work. These measures shall comprise or putting up of a barricade prominent signboards and warning lights (Red) during night time. The Contractor shall indemnify the Govt. and keep the Govt. harmless and indemnified against any claims or damages due to neglianca or otherwise in taking due precaution any measures by the contractors.

- In the event of the contractor being adjusted involvents or receiving an order made against them under the insolvency act or in the case of contractors are a company, then in the event of the passing any resolution for appointment of a provisional official liquidator, or making of an order for winding up whether voluntary or otherwise or in the conditions herein specified the GMTD SOLAN in addition to his other right and powers to terminate the contract within any prior notice. In such an event the GMTD SOLAN may at the risk and on account of the contractors make as he thinks fit on receipt of such terminations notice the contractors shall forthwith make over the Engineer I/C of the work all Govt. property with them within seven days of the termination notice / order. If the contractor fail to do so within the specified period event of the contractors failing to which any of the GMTD SOLAN will have a right to the contractor an amount equal to the cost of such stores which will be determined by the GMTD SOLAN and his decision in this regard shall be final and binding on the contractor. The recovery may be made from any sums then due to the contractor or which at any time thereafter may become due to the contractor under this agreement or any other agreement made by the said contractor with the BSNL SOLAN or may be set off against any securities of the contractor available with the BSNL SOLAN under this or any other agreement.

- In the event of any question, dispute, difference, arising out of this agreement or in connection therewith (Except as to the matters the decision of which is specifically provided under this agreement) the same shall be referred to the sole arbitration the CGMT (HP Circle) Shimla or any person nominated by him.

- Subject to the aforesaid provisions, the arbitration act 1940 and the rules made there under and any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

- Upon every and any reference as aforesaid, the assessment of costs and of incidental expenses in the proceedings for the award shall be in the discretion of the from which the acceptance not is issued or such other place as the arbitrator at his discretion may determine.

- The contractor is bound by the Terms and Conditions of this tender form

- The work can be increased or decreased by 25% of the tender cost, in the interest of BSNL with the approval of GMTD Solan.

- There will be two bids viz Technical and financial in tender.

Envelope 1: The Technical bid will contain duly filled and signed tender form along with necessary documents and Cash Receipt/DD for EMD, superscripted as “Technical Bid of Tender for AC Repairs”.

Envelope 2: Financial bid will contain only Annexure-I (quoted rates) duly signed by the contractors superscripted as “Financial Bid of Tender for AC Repairs”.

Both the Envelops be kept in one main envelope superscripted as Tender for AC Repairs and addressed to the Asstt. General Manager (NWP) % GMTD, SOLAN.

- Contractor has to furnish the certificate that entry made in history sheet of AC unit and expenditure incurred up to current bill from the concerned field unit.

- Bidder should have his own workshop & necessary document should be enclosed with the tender form.

- No sub-contracting is permissible by BSNL.

- The near relatives of all BSNL employees (Non-Executive employees working in HP Telecom Circle & executives (also called Group- A & Group-B officers working in HP Telecom Circle either directly recruited or on deputation are prohibited from participation in this tender.  The near relatives for this purpose are defined as:

    - Members of a Hindu Undivided Family,

    - The husband and wife,

    - The one is related to the other in the manner as father, mother son(s), son’s wife (daughter-in-law), Daughter(s) & daughter’s husband (son-in-law), brother(s) & brother’s wife, sister(s) & sister’s husband (brother-in-law).

Enclosures with Technical Bid:

        - Receipt of EMD or DD in favour of Accounts Officer (Cash) BSNL O/o GMTD. SOLAN payable at SOLAN(HP).

2. Experience certificate :- Two years AC repairing experience in previous Five years amounting at least Rs. Five Lakhs should be of competent authority such as not below the rank of AGM/TDE/DGM in case of B.S.N.L., describing approval of their tender, work carried out and the Amount paid only for mtce. of Air Conditioners. In case of state government same type of certificate under the signature of not below the rank of EE/SE may be submitted.

3.       No near Relative Certificate as per page no.8.

4.       Documents pertaining to the Workshop in the name of the Bidder.

5.       Attested Copy of PAN Card/IT Return.

6.      Valid Service Tax Registration certificate.

- Copy of EPF Registration if applicable.

- Copy of CST/VAT registration (if applicable)

- Copy of  ESIC Registration (if applicable)

- Attested copies of the registration of the firm, Authenticated copy of partnership           deed in cases of partnership firm.

- Original “Power of Attorney” in case person other than the tenderer has signed the tender documents.

- Tender document(s), in original ,duly filled in and signed by tenderer or his authorized representative along with seal on each page. All corrections and overwriting must be initialed with date by the tenderer or his authorized representative.

13.    Solvency certificate from the banker of the Tenderer – upto works costing Rs. 20 Lakhs-Rs.2 Lakhs; For works costing more than 20 Lakhs-Rs. 5 Lakhs. The solvency certificate shall not be older then the date of issue of the NIT.

All documents duly attested by the Gazetted Officer.

The tender will be straight away rejected if the above documents are not submitted along with the Tender form.

In case of any dispute relating to the Tender, please contact following officers:

| S. No. | Officer | Tel. No. | FAX No. |
| --- | --- | --- | --- |
| 1 | The Chief General Manager Telecom, HP Circle, Kusumpti,BSNL Shimla-171009. | 0177-2620220 | 0177-2625325 |
| 2 | The General Manager Telecom Distt. SOLAN. | 01792-224700 | 01792-220200 |
| 3 | S. D. E. (Vig) % The G. M. Telecom Distt. SOLAN | 01792-228100 | 01792-220200 |

Asst. General Manager (NWP)

O/O General Manager Telecom

SOLAN-173211.

DRAFT CERTIFICATE

(Affidavit or duly notarized on stamp paper of Rs.100/-)

I……………………………………………………………………….

S/o………………………………..r/o ………………………………………….

hereby certify that none of my relative(s) as defined in the tender document is/are employed in B.S.N.L. unit as per details given in tender document. In case at any stage, it is found that information given by me is false/incorrect. B.S.N.L. shall have the absolute right to take any action as deemed fit/without any prior intimation to me.

DRAFT AGREEMENT

This agreement (for repair & maintenance of Split/Window type Air-Conditioners with in the jurisdiction of GMTD Solan ) executed at Solan the on _______________(day)______(month) 2014 between AGM (NWP) O/o GMTD Solan on behalf of BSNL (hereinafter called BSNL) and M/s _________________________________________________ (therein called “Contractor”) which shall mean include, unless repugnant to the context, his heirs, executives, administrators, legal and personal representative witness as follows:

Whereas BSNL requires the work of  repair & maintenance of Split/Window type Air-Conditioners with in the jurisdiction of GMTD Solan and the Contractor has agreed to execute the item of work as per Tender rate finalized (Schedule of rates attached in Annexure –A) and whereas contractor has to deposit Performance security @ 10% (amounting Rs. __________________) of total tender cost of work as per the details: -

- The EMD @ 2.5% of estimated cost  amounting Rs.____________________ already deposited by the bidder shall be converted to the performance security.

- Remaining amount ___________________ so as to make security deposit as per desired amount shall be deposited in form of FDR/PBG from any scheduled bank duly pledged in the name of AO (Cash) BSNL O/o GMTD Solan.

The validity of the agreement shall be of one year w.e.f. ____________________.

It is hereby agreed to abide by all the terms and conditions including NIT as enumerated in the Tender document for the said work. In case of violation of the Tender condition the penalty shall be imposed as per penalty clauses of the Tender.

In witness where of  the afore mentioned parties have affixed their signatures.

Contractor									On behalf of BSNL

Witness:-									(AGM-NWP, Solan)

1.

2.

Standard Schedule of Rates ( per item) in r/o Tender for Repair of Split/Window type Air-Conditioners in Solan SSA

| S. No | Particulars | Schedule of rate in Rs. | SOR (in Words) in Rupees |
| --- | --- | --- | --- |
| 1 | Metal Clad Top & Socket | 350/- | Three Hundred Fifty only. |
| 2 | Gas Refillilling per Kg. | 950/- | Nine Hundred Fifty only. |
| 3 | OLP | 350/- | Three Hundred Fifty only. |
| 4 | Thermostat Switch | 475/- | Four Hundred Seventy Five only. |
| 5 | Relay | 425/- | Four Hundred Twenty Five only. |
| 6 | 1.5 Ton Compressor | 8400/- | Eight Thousand Four Hundred only. |
| 7 | 2 Ton Compressor | 9400/- | Nine Thousand Four Hundred only. |
| 8 | Cooling Coil | 2400/- | Two Thousand Four Hundred only. |
| 9 | Selector Switch | 325/- | Three Hundred Twenty Five only. |
| 10 | Labour Charges / Servicing Charges per AC | 400/- | Four Hundred only. |
| 11 | Fan Blade | 600/- | Six Hundred only. |
| 12 | 20 Amp MCB | 200/- | Two Hundred only. |
| 13 | Rewinding of Fan | 700/- | Seven Hundred only. |
| 14 | Repair of Stabilizer | 1300/- | One Thousand Three Hundred only. |
| 15 | Condenser coil | 2400/- | Two Thousand Four Hundred only. |
| 16 | All type of Capacitors | 350/- | Three Hundred Fifty only. |
| 17 | 2 T Compressor Replacement against defective | 6900/- | Six Thousand Nine Hundred only. |
| 18 | 1.5 T Compressor Replacement against defective | 6750/- | Six Thousand Seven Hundred Fifty only. |
| 19 | Wiring Looms for AC | 500/- | Five Hundred only. |
| 20 | Capacitor Tube per foot | 150/- | One Hundred Fifty only. |
| 21 | Fan Blower | 600/- | Six Hundred only. |

Note: -

- Rate to be quoted above or below as par of the standard schedule of rates.

- Rates are inclusive of all type of Taxes excluding Service Tax.

Annexure-I

Financial Bid

To,

The SSA Head

BSNL, Solan.

Ref.: 	__________________________________________________________________.

# Sub.: Our Financial Bid for  “ Repair & Maintenance work of Split/Window type Air-Conditioners in Solan SSA”w.r.t. NIT No.:- GMTD/Sol/Tender/AC Repair/2014-15/03,Dated 2/06/2014.

Dear sir,

# Having examined the tender documents, terms and conditions stipulated therein, specifications of work etc., we the under signed offer to execute the Repair & Maintenance work of Split/Window type Air-Conditioners in Solan SSA” in conformity with the said specifications and conditions of contract at the percentage (Below/at per/above) an standard schedule rates quoted as under: -

In figures ………………………….……%

In words ……………………………….. Percent .

OR

In words ………………………………...

# OR

In figures ………………………………..%

In words ……………………………….. Percent .

If our Bid is accepted, we shall submit the securities as per the conditions mentioned in the contract.

We agree to abide by this Bid for a period of 240 days from the date of opening of financial bid and it shall remain binding upon us and may be accepted at any time before the expiry of that period.

Date : __________

(Signature of tenderer)

Name:-

Address:-___________________

___________________________

___________________________

Contact No.__________________

# Text boxes

#### BELOW

#### AT PAR

#### ABOVE