Serial No.______

BID DOCUMENT

Tender For REPAIR of SMPS Power Plants including modules in Mandi-SSA on call Basis.

TENDER NO …………………………………..

O/O GENERAL MANAGER

TELECOM DISTRICT MANDI-175001

BHARAT SANCHAR NIGAM LIMITED

MANDI-175001

__________________________________________________________________

1.   Name & Address of Contractor      _______________________________

2.  Date of receipt of application in the office:  ________________________

- Date of issue of Tender Document:   _____________________________

TABLE OF contents

| Section | Title | Page No. |
| --- | --- | --- |
| I | Notice Inviting Tender | 3 |
| I-A | Undertaking & Check List | 4-7 |
| II | Instructions to bidders | 8-14 |
| III | General (Commercial) Conditions of the contract | 15-19 |
| IV | Special Conditions of the Contract | 20-21 |
| V | Technical Specifications | 22 |
| VI | Schedule of Works | 23 |
| VII | PART-I Bid Form | 24 |
|  | PART-II Price Schedule (Financial Bid) | 25 |
| VIII | Letter of Authorization for attending Bid Opening | 26 |
| IX | Power Plant details in Mandi-SSA | 27-31 |

### bHARAT SANCHAR NIGAM LIMITED

#### O/o GENERAL MANAGER TELECOM DISTRICT MANDI (H.P.) 175001

# NOTICE INVITING TENDER

No:-  GMTD/MND/Tender/POWER PLANT/2014-15/01		Dated : 09-10-2014.

The General Manager, Telecom Distt MANDI (HP), invites (Wax or PVC tape) sealed tenders, for repair of  SMPS Power Plants of different types and make including modules/control panels  in MANDI SSA on call Basis, as per following details:-

| Area of Work | Name of Work | Estimated cost of Work in Rs. | E.M.D. | Bid document Cost |
| --- | --- | --- | --- | --- |
| Mandi SSA | Repair of SMPS Power Plants including modules | Rs. 12 lacs | Rs. 30,000/- | Rs. 569/- |

Eligibility:-

The Bidders who are manufacturers of Power plants or authorized dealers of manufacturers of Power plants or having experience certificate (The experience certificate should have been issued by DET or above level officer of DoT/BSNL/MTNL/Other PSUs) for repair of SMPS Power Plants of different makes amounting  to minimum of Rs 3.0 Lacs during any one financial years in the spell of last five financial years i.e. 2009-10 to 2013-14.

Period of Contract:-

One year from the date of agreement or completion of work put to tender

Sale of Tender Document:-

From D.E.(CFA), O/O GMTD, Mandi, H.P.-175001. Between 11:00 Hrs. 14:00 Hrs. on or before 29-10-2014.

Pre-Bid Meeting:-

At office of  D.E.(CFA), O/O GMTD Mandi,HP-175001 at 11:00 Hrs. on 21-10-2014.

Last Date & Time for submission of Tender Document:-

At office of  D.E.(CFA), O/O GMTD Mandi,HP-175001 up to 12:00 Hrs. on 30-10-2014.

Date & Time of Bid Opening:-

At 12:30 Hrs. on 30-10-2014 in the office of D.E.(CFA) O/O GMTD Mandi H.P.-175001.

The bid document can also be downloaded from our website www.hp.bsnl.co.in. If bid document is downloaded from website then  the cost of bid document should be submitted through a demand draft of Rs 569/-( Five Hundred & sixty nine only) in a separate envelope marked as “Cost of Bid Document” and “Name of the Firm” along with the bid, while submitting the bid. The bid will be opened only if the cost of Bid Document is submitted as specified in the NIT.

GMTD MANDI reserves the right to reject any or all bids without assigning any reason.

DE (CFA)

O/o GMTD, BSNL

MANDI (HP)

# UNDERTAKING BY the BIDDER

# No:-  GMTD/MND/Tender/POWER PLANT/2014-15/01		DateD : 09-10-2014

The General Manager, Telecom District MANDI (H.P.) – 175001 for repair of SMPS Power Plants including modules, on call basis,  in MANDI SSA.

Tender Form No…………………………

- Name  & address of the tenderer

- Status of the tenderer, whether

Proprietary concern /Partnership firm/

Limited Company

- Name of the authorized signatory who is

empowered to sign the agreement, other

Documents and correspondence with BSNL

- Details  of  past experience :

- EMD Particulars :

Amount in Rs.

Name  of the  Bank

Branch Particulars

DD No. & date

- Certified that:

- I/ We………….. have  read, understood and agree with all the terms and conditions, specifications included in the tender documents & offer to execute the work at the rates quoted by us in the tender form.

- If  I/We fail to enter into agreement &commence the work in time, the EMD/ SD deposited by us will stand forfeited to the BSNL.

- I have not changed, omitted, modified any clause in the downloaded/ purchased bid document for repair of SMPS Power Plants including modules.

- The tenderer hereby covenants and declares that:-

- All the information, Documents, Photo copies of the Documents/Certificates enclosed along with the Tender offer are correct.

- If anything is found false and/or incorrect and/or reveals any suppression of fact at any time, BSNL reserves the right to debar our tender offer/ cancel the LOA/ Purchase/Work order if issued and forfeit the EMD/ SD/ Bill amount pending with BSNL. In addition, BSNL may debar the contractor from participation in its future tenders.

…………………………..

Signature of Tenderer

Date: …….....................						Name  of  Tenderer

Designation :

Place:………………….						Full  Address with seal

Phone No.

Mob.No.

# Check LIST FOR Techno- Commercial Bid

Important:-  This list of enclosure is only for convenience of the  bidders. Actual documents required to be submitted must be verified by bidder from the tender document.

| SN | TICK | List of Enclosures: (indicating sheet serial Nos. ) Attested and Self Attested Please ensure and tick the document which are included in the Bid | (Please indicate Yes / No.) | No. of sheets with Sl. Nos. |
| --- | --- | --- | --- | --- |
| a. |  | Registration with NSIC (if any attested by sole Proprietor) |  |  |
|  |  | In case offer by constituted Attorney in Favour of the signatory of tender officer is to be Submitted. |  |  |
| b |  | Registration with NSIC (if any, attested by Authorized signatory) |  |  |
|  |  | All Pages of Partnership Deed signed by all Partners with their full names duly attested by Notary Public with his full name, seal & Signature. |  |  |
|  |  | General Power of attorney in Favour of the signatory of Tender office. |  |  |
| c |  | Registration with NSIC (if any attested by Authorized signatory) |  |  |
|  |  | Memorandum & Articles of the Association with Certificate of Registration of Companies. |  |  |
|  |  | List of present Directors with their full name & signatures if the same is not included in the Memorandum & Articles of the Association along with Annual Return of the Company. |  |  |
|  |  | Minutes of the Board of Directors authorizing the Signatory of tender offer to act on behalf of the company as per company’s Board Minutes signed by Chairman with his full name & acceptence by the signatory of tender offer. |  |  |
|  |  | General Power of Attorney in Favour of the Signatory of Tender offer. |  |  |
| d |  | Approval from Reserve bank of India / SIA in case of foreign collaboration. |  |  |
| e. |  | Authorization by the manufacturer (in case bidder is not manufacturer) – in original. |  |  |
| f. |  | Bid security in accordance with Clause 12, (Section –II). |  |  |
| g. |  | Signed Bid form (Section VII, PART-I) |  |  |
| h |  | Experience certificate of Rs 4 Lakh/year during any financial year of last five financial years. |  |  |
| i. |  | Documentary, evidence for financial, technical, production and supply capability necessary to perform the contract. Turnover Certificate issued by the Chartered Accountant should be furnished. |  |  |
| j. |  | A clause – by – clause compliance on the purchaser’s Technical specifications ( supporting technical documents must be enclosed ) and Commercial Conditions demonstrating Substantial responsiveness to the Technical Specifications and commercial Conditions. |  |  |
| k. |  | Tender Document with seal & Signature on each page (without Price Schedule which is to be submitted in Financial Bid.) |  |  |
| l. |  | Other Document Please indicates. |  |  |

The envelope must be wax sealed or tape sealed other wise bid will be rejected

The envelope is properly marked as techno commercial Bid.

# Check list for Financial Bid / Price Schedule

Important: - This Enclosure is only for convenience of the bidders. Actual documents required to be submitted must be verified by bidder from the tender document.

The Financial bid is to be properly filled on the prescribed price Schedule (Section VII, Part-II) of the Tender Document only.

Bid  likely to be rejected  if filled on self-made or Tailored Price Schedule.

The envelope must be wax sealed or tape sealed other wise bid will be rejected.

The envelope is properly marked as Financial Bid.

Both the envelopes are further put in a big cover and WAX or tape sealed.

I declare that I have read the bid document and ensured that all the necessary documents are enclosed with bid. I have also verified with checklist.

Dated this …………………… day of …………….. 2014.

Signature of the bidder

Or

Officer authorized to sign the Bid

Documents on behalf of the Bidder

(Name in Block Letter of the Signatory)

In capacity of …………………..

Duly authorized to sign the bid for and on behalf of ………………..

# SECTION-II

## INSTRUCTIONS TO BIDDERS

- INTRODUCTION

  - DEFINITIONS

- “The Purchaser” means the Bharat Sanchar Nigam Limited or General Manager, Telecom District, MANDI acting on behalf of Bharat Sanchar Nigam Limited.

- “The Bidder” means the individual or firm who participates in this tender and submits its bid.

- “The Suppliers/ Contractor” means the successful bidder giving services under the contract.

- “SSA” stands for Secondary Switching Area  of  Telecom District of BSNL.

- “Contract” means document forming the tender and acceptance thereof and the formal agreement executed between “ Supplier/Contractor’ together with documents referred to therein including the conditions of the contract, specifications and instructions issued by GMTD from time to time and all these documents taken together  shall be deemed to form one contract and shall be complimentary to one another.

- “In charge” Means concerned JTO/LM/RM of exchange /BTS where power plant under contract is located.

- “SDO” Sub divisional officers of telecom district Mandi.

2. 	ELIGIBILITY CONDITIONS:

The Bidders who are manufacturers of Power plants or authorized dealers of manufacturers of Power plants or 	having experience certificate(The experience certificate should have been issued by DET or above level officer 	of DoT/BSNL/MTNL/Other PSUs) for repair of SMPS Power Plants of different makes amounting  to 	minimum of Rs 3.0 Lacs during any one financial years in the spell of last five financial years i.e. 2009-10

to 2013-14.

3      COST OF BIDDING:

The bidder shall bear all costs associated with the preparation and submission of the bid. The Purchaser, will in no case, be responsible or liable for these costs, regardless of the contract or outcome of the bidding process.

- THE BID DOCUMENTS:

4        BID DOCUMENTS:

The goods required, bidding procedures and contract terms are prescribed in the Bid Document. The Bid Document includes:

- Notice inviting tender

- Instructions to Bidders

- General Conditions of the contract.

- Special Conditions of Contract

- Technical Specifications

- Schedule of Works

- Bid Form

- Price Schedule

- Letter of Authorization for Attending Bid Opening

- Detail of Power Plants in Mandi-SSA.

  - The Bidder is expected to examine all instructions, forms, terms and specifications in the Bid Document. Failure to furnish all information required as per the Bid Document or submission of bids not substantially responsive to the Bid Document in every respect will be at the bidders risk and shall result in rejection of the bid.

- CLARIFICATION OF BID DOCUMENTS:

  - A prospective bidder, requiring any clarification of the Bid Document shall notify the Purchaser in writing at the Purchaser’s mailing address indicated in the invitation for Bids. The Purchaser shall respond in writing to any request for clarification of the Bid Documents, which it receives not later than 7 days prior to the last date for the submission of bids. Copies of the query (without identifying the source) and clarifications by the Purchaser shall be sent to all prospective Bidders who have purchased the bid document.

  - Any clarification issued by BSNL in response to query raised by prospective bidders shall form an integral part of bid documents and shall amount to an amendment of the relevant clauses of the bid documents.

- AMENDMENT OF BID DOCUMENTS:

  - At any time, prior to the last date of submission of bids, the Purchaser may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective Bidder, modify the bid document by amendments.

  - The amendments shall be notified in writing or by FAX to all prospective bidders on the address intimated at the time of purchase of Bid Document and these amendments will be binding on them.

  - In order to get reasonable time by the bidder to includes the amendments into account in preparing their bids, the GMTD Mandi may at its discretion, extend the deadline for the submission of bids suitably.

##### PREPARATION OF BIDS:

- DOCUMENTS COMPRISING THE BID:

7.1	Techno-Commercial Bid

The Techno-commercial bid prepared by the bidder shall be submitted with covering letter in the format given in Section VII, Part-I and shall comprise the following components:

  - Documentary evidence to establish that the bidder is eligible to bid and is qualified to perform the contract if its bid is accepted, detailed in clause 10 of this section.

  - Bid Security in the form of Demand draft only as per clause 12 of this Section.

  - All the pages of original tender document, duly signed by bidder or his authorized signatory, confirming the bidder’s acceptance of the clauses mentioned on the pages. The decision of GMTD, MANDI will be final in this regard.

  - Financial bid :

Price schedule pages (Section VII, Part-II) are required to be cut from the original bid-document. Only these pages in original be completed, signed and required to be put in a separate financial bid cover.

- BID SUBMISSION FORM:

8.1  The bidder shall use the Bid Form (as available in Section VII, Part-I) as the format for the covering letter while submitting the techno-commercial bid.

  - Bid document purchased from office of GMTD Mandi is not transferable.

  - Bids submitted by the tenderers in his own proforma are liable to be rejected.

8.4    Bids submitted by altering the bid documents downloaded from the website will be rejected.

- BID PRICES:

9.1  The bidder shall give the net total price inclusive of all levies and taxes excluding service tax. Service tax should be bifurcated in the bill/invoice as per the latest guidelines i.e service tax to be paid by Receiver (50%) and to be paid by provider (50%). The net unit price inclusive of all taxes excluding service tax need to be indicated against the items proposed to be repaired under the contract, strictly as per price schedule given in Section VII, Part-II. The offer shall be firm in Indian Rupees. No foreign exchange shall be made available by the Purchaser.

  - Bidder must quote the prices for all the items given in the price schedule. (Except for optional items for which he may or may not quote) strictly in the price schedule format (in original). No separate sheet need to be attached.

  - The prices quoted by the bidder shall remain fixed during the entire period of contract and  shall not be subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as non-responsive and shall be rejected. Prices quoted should be free from any preconditions regarding payments etc. or otherwise bid is liable to be rejected.

  - . “Discount”, if any, offered by the bidders shall not be considered unless they are specifically indicated in the Price Schedule, Bidders desiring to offer discount shall therefore modify their offers suitably while quoting and shall quote clearly net price taking all such factors  like discount, free supply etc. into account.

  - DOCUMENTS ESTABLISHING BIDDER’S ELIGIBILITY AND QUALIFICATIONS:

  - The bidder shall furnish, as part of this bid, documents establishing the bidder’s eligibility. The following documents shall be attached and self attested.

    - In Case of Proprietary Firm

In case offer signed by constituted Attorney of the Sole Proprietor, General Power of Attorney in Favour of the signatory of Tender Offer is to be submitted.  OR

10.1.2	 In Case of Partnership Firm

10.1.2.1	All pages of partnership Deed signed by all Partners with their full names duly attested by Notary Public with his full name, seal & Signature.

      - General Power of Attorney in Favour of the signatory of Tender Offer OR

10.1.3      In Case of Limited Company

10.1.3.1    Memorandum & Articles of the Association with Certificate of Registration of Companies.

      - List of present Directors with their full names & signatures if the same is not included in the Memorandum &

Articles of the Association along with Annual Return of the Companies.

      - Minutes of the Board of Directors authorizing the Signatory of tender offer to act on behalf of the company as   per Company’s Minutes Board signed by Chairman with his full name & accepted by the signatory of tender  offer.

    - In case of MSE a valid certificate as a proof for the various exemptions on the EMD of Tender cost required as per clause 12.5 of this section.

  - Bid security in accordance with Clause 12.

  - Signed Bid form (Section VII, PART-I)

  - Experience Certificate: The bidders intending to submit their tender/bid should have successfully carried out the repair of SMPS power plant or should have repaired the SMPS power plants and their modules in BSNL/MTNL/Other PSUs. anywhere in India for any financial year during last five financial years. The total payment received by the contractor for successful execution of Repair of SMPS power plant during that period should be more than or equal to Rs 4 Lakh/Year. The experience certificate should be issued by DET or above level officer of BSNL/MTNL/Other PSUs.

  - The bidder must have ability to meet the technical specifications.

- DOCUMENTS ESTABLISHING GOODS CONFORMITY TO BID DOCUMENTS:

  - The bidder shall furnish, as part of this techno-commercial bid, documents establishing the conformity of his bid to the bid document with respect to all goods and services, which he proposes to supply/render under the contract.

  - The strict adherence to all the characteristics/ components/accessories mentioned in the Technical specifications or higher configuration of the goods is desired, or else bid may be rejected

- BID SECURITY:

  - The bidders shall furnish as part of his bid, a bid security for an amount of Rs 30,000/-  (Rs. Thirty Thousand  only)  in form of DD only, payable at MANDI, from any nationalized Bank, in favour of AO (Cash), BSNL % GMTD MANDI (HP) in Envelope A.

  - The bid security is required to protect the Purchaser against the risk of bidder’s conduct, which would warrant the security’s forfeiture.

  - The bid security shall be in the form of DD only payable at MANDI, from any nationalized Bank, in favour of AO (Cash), BSNL % GMTD MANDI (HP)

  - The bid security of the successful bidder will be converted into performance security deposit after the finalization of the tender.  The security of the Bidders whose bids are not opened shall be returned as early as possible.

  - The MSE bidders are exempted from payment of bid security:

- A proof regarding valid registration with body specified by Ministry of Micro, Small & Medium Enterprise for

the tendered items will have to be attached along with the bid.

- The enlistment certificate issued by MSME should be valid on the date of opening of tender.

- MSE unit is required to submit its monthly delivery schedule.

- If a vender registered with body specified by Ministry of Micro, Small & Medium Enterprise claiming

concessional benefits is awarded work y BSNL and subsequently fails to obey any of the contractual

obligations, he will be debarred from any further work/ contract by BSNL for One year from the date of issue  of 	  such order.

  - The bid security may be forfeited :

- If a bidder withdraws his bid during the period of bid validity or

- In the case of a successful bidder, if the bidder fails to deposit Performance security deposit and/or fails to sign the agreement within the period specified on his being called upon to do so, after acceptance of his tender evidenced by the issue of Letter of Intent.

  - The purchaser will not be liable to pay interest on the bid security

- PERIOD OF VALIDITY OF BIDS:

  - Bid shall remain valid for 150 days after the date of bid opening. A bid valid for a shorter period shall be rejected by the Purchaser as non-responsive. If the bidder withdraws his offer before the said period or makes any modifications in the terms and conditions of the offer, which are not acceptable to the purchaser, then, the purchaser or his representative officer shall without any prejudice to any other right/remedy be at liberty to forfeit the bid security of the bidder.

  - In exceptional circumstances, the purchaser may request the bidder’s consent for an extension to the period of bid validity. The request and the responses thereto shall be made in writing. The period of validity of bid security provided under previous clause shall also be suitably extended. The bidder may refuse the request without forfeiting his bid security. A bidder accepting the request will not be permitted to modify his bid.

- FORMAT AND SIGNING OF BID :

  - The bidder shall submit the bids in the following manner :

  - Envelops A-cost of bid documents if downloaded from website.

  - Envelope B-Techno-commercial Bid as per clause 7.1.

  - Envelope C- Price Schedule (Financial Bid) as per clause 7.2.

  - The bid shall be signed by the bidder or a person or persons duly authorized to bind the bidder to the contract.  The letter of authorization shall be indicated by written power-of-attorney accompanying the bid. The person or persons signing the bid shall sign all pages of the bids except for un-amended printed literature.

  - The bid shall contain no interlineations, erasures or overwriting except as necessary to correct errors made by the bidder in which case such corrections shall be signed by the person or persons signing the bid.

D. SUBMISSION OF BIDS:

- SEALING, MARKING & SUBMISSION OF BIDS :

  - The bidder shall arrange the documents properly in accordance with clause 14. All the 3 envelopes will be individually sealed properly using wax/tape and super scribed “Repair of SMPS Power Plant and its Modules in Mandi SSA”. These envelopes shall then be placed inside an outer envelope, which should be properly sealed and super scribed.  The seal used should be the personal seal of the bidder.

  - All the envelopes (3 inner and 1 outer) shall be addressed to :

Divisional Engineer (CFA)

o/o General Manager,

Telecom District MANDI (HP)-175001.

  - The inner and outer envelopes shall indicate the name and address of the bidder to enable the bid to be returned unopened in case it is declared ‘late’/invalid.

  - Bids shall either be sent by Registered Post or delivered in person, so as to be received by purchaser at the address mentioned above not later than the due time on the due date. The responsibility for ensuring that bids are delivered in time would rest with bidder. Purchaser shall not be responsible if bids are delivered elsewhere.

  - The Purchaser may, at its discretion, extend deadline for the submission of bids in which case all rights and obligations of Purchaser and bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

  - Not more than one offer shall be permitted from the same bidder.

- LATE BIDS:

Any bid received by the Purchaser after the deadline for submission of bids prescribed by the Purchaser, shall be rejected & returned unopened to the bidder.

- MODIFICATION AND WITHDRAWAL OF BIDS:

  - The bidder may modify or withdraw his bid after submission provided that the written notice of the modification or withdrawal is received by the purchaser prior to the deadline prescribed for submission of bids.

  - The bidder’s modification or withdrawal notice shall be prepared, sealed marked and dispatched as required in case of bid submission. A withdrawal notice may also be sent by Fax but followed by a signed confirmation copy by hand/ by registered post marked not later than the deadline for submission of bids.

  - No bid shall be modified subsequently to the deadline for submission of bids.

E    	BID OPENING AND EVALUATION:

18. 	OPENING OF BIDS BY PURCHASER:

  - (i) The purchaser shall open Envelope “A” containing the Bid Security in the presence of bidders or their authorized representatives, who are present. Authority letter to this effect shall be submitted by the bidder before they are allowed to participate in bid opening (format is given in Section VIII of this document). The Envelope B (containing the Techno-Commercial Bid) of only those Bidders will be opened on the same day whose bid security is as per tender conditions.

(ii) The Financial Bid (Envelope C) of the Bidders whose bids are technically and commercially responsive shall be opened on the same day or at a later date and time to be informed by the Purchaser.

  - A maximum of one representative for any bidder shall be authorized and permitted to attend the bid opening.

  - The Bidder’s names, modifications, bid withdrawals and such other details as the Purchaser at its discretion, may consider appropriate will be announced at the opening.

  - In case the due date fixed for opening of bids is subsequently declared as holiday by BSNL, the bids shall be opened on the next working day, time and venue remaining unaltered.

19. 	CLARIFICATION OF BIDS:

19.1	To assist in the examination, evaluation and comparison of bids the Purchaser may at its discretion ask the bidder for the clarification of its bid. The request for clarification and the response shall be in writing. However, no post bid clarification at the initiative of the bidder shall be entertained.

##### 20.	PRELIMINARY EVALUATION:

20.1	Purchaser shall evaluate the bids to determine whether they are complete, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

20.2	Prior to the detailed evaluation, purchaser will determine substantial responsiveness of each bid to the Bid documents. For purposes of this clause, a substantially responsive bid is one which conforms, to all the terms and conditions of the Bid documents without material deviations, The purchaser’s determination of bid’s responsiveness is to be based on the contents of the bids itself without recourse to extrinsic evidence.

20.3	The purchaser will reject a bid, determined as substantially non-responsive and shall not subsequent to the bid opening be made responsive be the Bidder by correction of the non-conformity.

20.4	 Purchaser may waive any minor infirmity or non-conformity or irregularity in a bid, which does not constitute a material deviation, provided such waiver, does not prejudice or affect the relative ranking of any bidder.

21   	EVALUATION AND COMPARSION OF SUBSTANTIALLY RESPONSIVE BIDS

21.1	The Purchaser shall evaluate in detail and compare the bids previously determined to be substantially responsive.

21.2 	In the priced schedule, arithmetical errors shall be rectified on the following basis. If there is discrepancy between the unit price and total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected by the purchaser. If there is discrepancy between the figures and words, the amount in words shall prevail. If the bidder does not accept the correction of the errors, his bid may be rejected.

21.3	For arriving at L-1 rate, weightage of on site rate will be 20% and weightage of centralized location repair rate will be 80%.

21.4	Separate L-1 bidders will be decided for each type of module (25, 50A, 100A etc.).

22	POST TENDER OFFER AND/ OR CONTACTING THE PURCHASER

22.1	No bidder shall try to influence the Purchaser on any matter relating to its bid, from the time of the bid opening till the time the contract is awarded.

22.2	Any effort by a bidder to influence the purchaser in the Purchaser’s bid evaluation, bid comparison or contract award decisions shall result in the rejection of the bid.

22.3 	No post-tender offer by any bidder will be entertained.

23. 	AWARD OF CONTRACT

23.1	The Purchaser shall consider placement of orders for entering in repair contract on those eligible bidder/ bidders whose offers have been found technically, commercially and financially acceptable.

24. 	PURCHASER’S RIGHT TO VARY QUANTITIES

24.1	The Purchaser reserves the right during the currency of the contract to increase or decrease by up to 25% of the total quantity of goods and services to be maintained as given in schedule of requirement without change in unit price or other terms and conditions at the time of award of contract and this will be binding on the supplier/contractor.

25. 	PURCHASER’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

25.1 	The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids, at any time prior to award of contract without assigning any reason whatsoever and without thereby incurring any liability to the affected bidder or bidders on the grounds of the Purchaser’s action.

25.2      The purchaser is not bound to award contract at the lowest price received in the tender and reserves the right to            negotiate on fair and reasonable price of the goods/ service tendered.

26. 	Issue of Letter of Intent/Acceptance Letter

26.1 	The issue of letter of intent/acceptance letter shall constitute the intention of purchaser to enter into the contract with the bidder.

26.2	The bidder shall within 14 (Fourteen) days of issue of acceptance letter  give his acceptance strictly along with performance security Deposit to the GMTD MANDI as per clause no 3 of section III

##### 27	SIGNING OF CONTRACT

27.1 	The signing of agreement shall constitute the award of contract on the bidder.

28. 	ANNULMENT OF AWARD

28.1	Failure of successful bidder to submit security deposit shall constitute sufficient ground for the annulment of the award and forfeiture of the bid security in which event the purchaser may make the award to any other bidder at its own discretion or call for new bids.

28.2	The purchaser reserves the right to blacklist a bidder for a suitable period in case he fails to honour his bid without sufficient ground.

# SECTION –III

GENERAL CONDITIONS OF CONTRACT

    - GENERAL

(i) The contractor during the period of contract shall carry out the works as described in Scope and description of work and as per technical specifications..

(ii) The contractor shall employ the requisite number of workmen with means, material and tools required for the proper execution of work within the time prescribed in the bid document.

(iii) The contractor shall not charge any extra amount for traveling or transport expenses, overtime allowance and charges for material used by him and will not be entitled to get compensation for any damage or loss in the course of execution of works.

(iv) The contractor shall execute the work in the most efficient manner in every respect and in strict accordance with the instructions given to him from time to time by GMTD MANDI or his representative, including the instructions contained in the agreement.

(v) The warrantee of repaired module will be three months from the date of repair of the module. If the modules become faulty within three months, contractor will repair the same module free of cost.

2. 	INDEMNIFICATION

(i)The contractor shall indemnify BSNL against all third party claims of infringement of Patent, trademark or industrial design rights, if any, as and when they arise.

(ii) In every case in which by virtue of the provisions of Workmen Compensation Act, BSNL is obliged to pay compensation to a workmen employed by the contractor in execution of work, BSNL will be entitled to recover from the contractor the amount of compensation paid. The BSNL shall not be bound to contest any claim against it under the Act except on the written request of the contractor and upon his giving to BSNL full security for all costs for which the BSNL might become liable in consequence to contesting such claim.

(iii) The contractor shall indemnify BSNL against all other damages, costs, charges, and expenses for which the BSNL may be held liable or incur or pay on account of the negligence of the contractor or his servants or any person under his control whether in respect of injury to the person or damages to the property of any member of the public or any other concern during executing the works or otherwise and against all claims and demands in respect thereof.

3. 	PERFORMANCE SECURITY

  - The Supplier shall furnish security deposit in the form of Demand draft or FDR pledged to AO(Cash) o/o GMTD, Mandi to the Purchaser for an amount of 7.5% (Seven and half percent) of the contract value, within 14 (fourteen) days of issue of the letter of intent/Acceptance Letter. 2.5 % of EMD/Bid security of successful bidder will be converted in to performance security making total performance security amounting to 10 % of contract cost.

  - The proceeds of the security shall be payable to the purchaser as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the contract.

  - The purchaser will discharge the Security deposit after completion of the Supplier’s performance obligations including any Warranty obligations (Three months after completion of repair contract) under the contract, and after the Supplier has handed over all the SMPS power plant and Modules under repair contract in complete and working conditions to the field units. In view of the above, the supplier shall furnish SATISFACTORY WORKING REPORT-CUM-NO DEMAND CERTIFICATE from the FIELD UNITS to the authority placing the purchase order after verification of his record that there are no dues outstanding from the contractor.

- PERIOD OF VALIDITY: The contract shall be valid for one year from date of agreement. However,

GMTD Mandi reserves the right to extent the contract for up to six months on same terms and conditions

- PAYMENT TERMS:

  - The Bill of Contractor will be paid by A.O. (cash) B.S.N.L.O/o G.M.T.D.  Mandi on submission of bills in triplicates through concerned SDO duly verified from in-charge of exchange/JTO giving necessary verification certificate countersigned by DET concerned. Bill should bear the agreement number and/or work order No (in case of Call basis).

  - Work order will be issued by this office on receipt of the requisition from SDO in charge of the exchange duly recommended by DET. However, authorized officer of BSNL can convey the faults telephonically also and such a telephonic intimation from the designated officer will be considered sufficient for attending to the fault. The designated officer will ensure that Work Orders are issued for such intimations in case of power plants under call basis. Normally the module will be repaired at a centralized place only.

  - Penalty if any will be imposed and amount deducted from the bill as per tender condition and also based on field report.

  - No interest on any deferred/delayed payments arising out of this contract shall be payable in any case whatsoever.

  - The bill should indicate bifurcation of Service tax portion to be paid by Service Provider (50%) and Service Receiver (50%).

6.	PRICES

6.1     	a) Prices charged by the Supplier for services performed under the Contract shall not be higher than the prices                  quoted by the supplier in his Bid.

b) In case of revision of Statutory Levies/Taxes during the finalization period of the   tender, the Purchaser reserves the right to ask for reduction in the price.

6.2	a) Prices once fixed will remain valid during the scheduled period of repair contract .Increase of taxes/duties will not affect the price during this period.

b) Any increase in taxes and other statutory duties/levies shall be to the contractor’s account. However, benefit of any decrease in these taxes/duties shall be passed on to the BSNL by the contractor.

  - Service Tax should be paid as per the latest guidelines as per clause no 9.1 of section II.

    - CHANGES IN PURCHASE ORDERS/ WORK ORDER :

7.1       The purchaser may, at any time, by a written order given to the contractor, make changes within the general scope of the contract in any one or more of the following

(a) The technical specifications of the Goods to be supplied or services to be rendered under the Contract.

  - If any such changes causes an increase or decrease in the cost or the time required for the execution of the contract an equitable adjustment shall be made in the contract.

    - QUALITY ASSURANCE REQUIREMENTS

  - All hardware items and components to be replaced if any should have been designed/developed and manufactured in accordance with the prevailing International quality standards. Purchaser reserves the right to ask from supplier to furnish quality assurance certificate of the Hardware items from the manufacturer (OEM) of the product, OR ask for submitting bench-marking certificate/report issued by internationally reputed Bench-marking organizations.

  - All components to be replaced should be original one and from the reputed companies. All subsystems in a system should be from same OEM. No subsystem of any other make should be included unless it is certified by the OEM that the particular subsystem is not in its product line.

9.	SUBCONTRACTS

No subcontracting is allowed for this work.

10. 	WARRANTY

10.1 	The warranty of repaired module will be three (3) months from the date of repair of module. If the module becomes faulty within the three months, contractor will repair the same module free of cost.  The contractor shall warrant that service provided shall be free form all defects and faults in material, workmanship and manufacture and shall be of the highest grade and consistent with the established and generally accepted standards for quality and in full conformity with the specifications. The contractor shall be responsible for any defects that may develop under the conditions provided by the contract and under proper use, arising from faulty materials, design or workmanship such as corrosion of the replaced equipment, inadequate quality of materials to meet equipment requirements and shall remedy such defects at his own cost when called upon to do so by the field units and shall state in writing in what respect the items are faulty. This warranty shall survive inspection or payment for, and acceptance of goods, but shall expire in respect of complaints notified three months after the expiry of repair contract.

  - If it becomes necessary for the contractor to replace or renew any defective portion of the equipment under this clause, the provisions of the clause shall apply to the portion/portion equipment so replaced or renewed or until the end of the above mentioned period of twelve months. If any defect is not remedied within a reasonable time, the Purchaser may proceed to do the work at the contractor’s risk and expenses, but without prejudice to any other right which the Purchaser may have against the contractor in respect of such defects.

  - Replacement under warranty clause shall be made by the contractor free of all charges at site including freight, insurance and other incidental charges.

11	DELAYS IN THE SUPPLIER’S PERFORMANCE:

11.1     The performance of services shall be made by the Supplier in accordance with the time schedule specified in the tender document. In case the performance of services is not completed in the stipulated period, as indicated in the             tender document, purchaser reserves the right either to short close/ cancels the contract and/or recovers penalty            charges. The Cancellation/ short closing of the contract shall be at the risk and responsibility of the contractor and BSNL reserves the right to get undone services at the risk and cost of the defaulting supplier.

  - Delay by the Supplier in the performance of its service obligations shall render the Supplier liable to any or all of     these sanctions: forfeiture of its performance security. Imposition of penalty charges, termination of the contract for default.

12	PENALTY CHARGES

12.1  All the complaints/faults notified for centralized repair should be cleared within 2 weeks of date handover of faulty module.  These two weeks will include time for repairing, testing and returning of repaired module. During the period of fault repair supplier/contractor must arrange module from his imprest stock for running of exchange/BTS. In case delay is beyond 2 weeks Purchaser shall be entitled to recover penalty @ 100/- per day of delay per module for 25Amps module & @ 200/- per day of delay per module for 50/100Amps module.

12.2	All on site repair shall be executed within 48 hours of notification by designated officers. Any delay beyond forty eight hours will attract a penalty of Rs. 1000/- per day / module.

  - In no case exchange services should be hampered, contractor will repair such emergent nature fault on telephone intimation. If exchange services are interrupted due to power plant failure and services are not restored within 24 hrs of intimation, the Purchaser shall be entitled to recover Rs 2000-00 per day as penalty for the delayed provisioning of services, for each day of delay for a period up to 7 days and thereafter at the rate of Rs 5000-00 of the value of the delayed provisioning of services for each day of delay thereafter. Quantum of liquidated damaged assessed and levied by the Purchaser shall be final and then not challengeable by the supplier.

  - The total penalty charges for the penalty under clause 12.1 and 12.2 shall be limited to 10 % of the total Repair contract cost.

  - In case either contractor abandon the work or is removed for delay in work or for want of quality and inefficiency, the work may be allotted to other party or manufacturer and excess amount thus paid to new party shall be recovered from the security deposit or pending bills of the supplier/contractor.

13 	FORCE MAJEURE

If, at any time, during the continuance of this contract, the performance in whole or in part by either party of any obligation under this contract is prevented or delayed by reasons of any war or hostility, acts of the public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (hereinafter referred to as events) provided notice of happenings of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any  claim for damages against  other in respect of such non-performance or delay in performance, and  services under the contract shall be resumed as soon as practicable after such an event come to an end or cease   to exist, and the decision of the GMTD MANDI as to whether the services have been so resumed or not shall be final and conclusive.  Further that if the performance in whole or part of any obligation under this contract is prevented or delayed by reasons of any such event for a period exceeding 60 days, either party may, at its option, terminate the contract.

14 	TERMINATION FOR DEFAULT

14.1    The GMTD MANDI may, without prejudice to any other remedy for breach of contract, by written notice of             default, sent to the Supplier, terminate this Contract in whole or in part.

  - If the Contractor fails to deliver any or all of the services within the time period (s) specified in the Contract or any extension thereof granted by the GMTD MANDI.

  - If the Contractor fails to any other obligation (s) under Contract, or

  - If the Contractor, in either of the above circumstance (s), does not remedy his failure within a period of 30 days (or such longer period as Purchase may authorize in writing) after receipt of the default notice from GMTD MANDI.

  - In the event the GMTD MANDI terminates the contract in whole or in part, the GMTD MANDI may get services from other contractor upon such terms and in such manner as seems appropriate, similar to those undelivered and the contractor shall be liable to the GMTD MANDI for any excess cost for such similar services. However, the contractor shall continue performance of the contract to the extent not terminated.

- TERMINATION FOR INSOLVENCY

The GMTD Mandi may, at any time terminate the contract by giving written notice to the supplier, without compensation to Supplier, if the Supplier becomes bankrupt to otherwise insolvent as declared by the competent court provided that such termination will not prejudice or affect any right or remedy which accrued or will accrue thereafter to the Purchaser.

- ARBITRATION

  - In the event of any question, dispute of difference arising under this agreement or in connection therewith except as to matter the decision of which is specifically provided under this agreement, the same shall be referred to sole arbitration of the General Manager, Telecom Distt.,MANDI or in case his designation is changed or his office shifted to other city or abolished then in such a case to the sole arbitration of the officer for the time being entrusted with the function of the General Manager Telecom Distt.MANDI or by whatever designation such officers may be called (hereinafter referred to as the said officer) and if the General Manager Telecom District,MANDI or the said officer in unable or unwilling to act as such then to the sole arbitration of some other person appointed by the General Manager, or the said officer. The appointment of the arbitrator will be in accordance with the Arbitration and Conciliation Act, 1996. There will be no objection to any such appointment that the arbitrator is Government Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as Government Servant he has expressed views on all or any of the matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever such General Manager or the said officer shall appoint another person to act as arbitrator and the person so appointed shall be entitled to proceed from the stage at which it was left out by predecessor.

  - The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award. Subject to aforesaid Indian Arbitration and Conciliation Act 1996 and the Rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

  - The venue of the arbitration proceeding shall be the office of the  General Manager Telecom District,MANDI or any other city where his office may shift or such other places as the arbitrator may decide.

- SET OFF

Any sum of money due and payable to the contractor (including security deposit refundable to him) under this contract may be appropriated by the BSNL or any other persons or persons contracting through BSNL and set off the same against any claim of BSNL or such other person or persons for payment of a sum of money arising out of this contract made by the Contractor with Purchaser or BSNL or such other persons contracting through BSNL.

******************************************************

SECTION    -     IV

SPECIAL CONDITIONS OF CONTRACT

1.	The “Special conditions of contract” shall supplement the “Guidelines and Instructions to Bidders” as contained in Section II & “General Conditions of Contract” as contained in Section III and wherever there is a conflict, the provisions herein shall prevail over those in Section II and/or Section III.

2. 	BSNL reserves the right to disqualify such bidders who have a record of not meeting contractual obligations against earlier contracts entered into with the BSNL /MTNL erstwhile DoT.

3.	BSNL reserves the right to black list a bidder for suitable period in case he fails to honor his bid without sufficient grounds. It is understood and agreed that the contractor have carefully studied and satisfied himself as to the nature and location of the work, condition of equipment and facilities needed preliminary and during the execution of work the general and detailed description of the work to be done and the way in which work is to be carried out within the schedule of specification the entire work are to be read together.

    - During maintenance period and thereafter during warranty period if any, the Supplier/contractor shall provide prompt service whenever called by GMTD Mandi through adequately qualified, trained and experienced person.

    - The successful bidder will have to guarantee that the spares for replacement against damaged or burnt items will be made available in original during the period of contract at contractors cost. The contractor shall keep adequate storage of spare parts and delay on account of non availability of these items will not be accepted.

    - During the warrantee period and repair, if some equipment purchased from some third party is brought into the system/ network, the contractor shall provide all assistance in its integration to the main system/ network. Any clarification on the detail of work can be obtained from the concerned officer.

    - Even if not explicitly mentioned in schedule of requirement or technically specifications, any accessories etc for

    - fruitful utilization and integration of equipment in the system will have to be arranged by contractor without any extra cost to the purchaser.

    - If any system is upgraded during the implementation period of thereafter, then the contractor shall work on the upgraded system

    - BSNL shall be free to move the equipment within its jurisdiction. The intimation to contractor in this regard is not necessary.

    - Act of Secrecy: All deliverables, services, contract are to be maintained as confidential and not to be demonstrated or make available in any form by the contractor to any other party without the written consent of GENERAL MANAGER, BSNL, Telecom District MANDI.

    - The successful bidder shall be solely responsible for the repair of the SMPS power plants and modules  thereof and BSNL shall not be liable to interact with the partner/ collaborations or sub-contractors of the Contractor.

    - GMTD reserves the right to extend the contract period at his discretion if situation so warrants.

13    The warrantee of repaired module will be three months from date of repair of module. If the module

become faulty within the three months, contractor will repair the same module free of cost.

14.		SCOPE AND DESCRIPTION OF WORK:

14.1. INTRODUCTION:

14.1.1  Total around 219 exchanges, WLL BTS and mobile BTS are working in Mandi-SSA comprised of Mandi

revenue district. All these exchanges are working on SMPS power plants.

    - The detail of SMPS power plants in MANDI-SSA is given in Section IX.

    - Only SMPS power plants with modules shall be covered under Repair contract on call basis. It must be noted that control part of Power plant (which includes circuitry other than module) will be treated as one module. In case there is fault in control panel of power plant work order of one module will be given and payment will be considered for one module.

15 	 SCOPE AND DISCRIPTION OF THE WORK

15.1    Any accessories required for maintenance should be arranged by contractor.

15.2    All the components and cards if any should be replaced with original one. The parts replaced during the contract period shall be of good quality and guaranteed for proper functioning..

15.3   The contractor will attend the fault of each power plant and module on work order issued by the O/O

GMTD Mandi as per requirement received from field units. The location of repair will be specified in the work order issued to him.

Section V

#### Technical specifications

The Repair contract of SMPS power plants on call basis includes repair of SMPS power plant modules of 25 A, 50 A, & 100 A. In addition to repair the control part of Power plant containing cards like PSC card, TEMCO Card, Display Card, Alarm Card, Volt Meter, Ammeter, MCBs etc will be considered a module for the purpose of repair.

Power plant modules will be repaired as per the choice of BSNL. The choice of BSNL will be

      - At site of installation (Where Power plant is working).

      - At central location ( Sundernagar)

Transportation of module for carrying out central repair i.e. at Sundernagar will be borne by the department, whereas for repair at site no transportation charges should be given to supplier/contractor. Bidder must quote separate rate for at site and repair at central site. The decision of choice of repair of module will be of BSNL and contractor must abide by it.

SECTION VI

##### SCHEDULE OF WORKS

(Repair contract of following Power Plants)

| S.N. | Name of Item |
| --- | --- |
| 1 | SMPS Power Plant with 25 A modules along with all control cards of Power Plants like PSC card, TEMCO Card, Display Card, Alarm Card, Volt Meter, Ammeter, MCBs etc |
| 2 | SMPS Power Plant with 50 A modules along with control cards of Power Plants like PSC card, TEMCO Card, Display Card, Alarm Card, Volt Meter, Ammeter, MCBs etc |
| 3 | SMPS Power Plant with 100 A modules along with control cards of Power Plants like PSC card, TEMCO Card, Display Card, Alarm Card, Volt Meter, Ammeter, MCBs etc |

SECTION-VII (PART-I)

# BID FORM

Tender No:								Dated:

To

The General Manager,

Telecom District, MANDI,

Dear sir,

      - Having examined the conditions of contract as in Section II, III, IV ,V and VI including addenda Nos ……, the receipt of which is hereby duly acknowledged, we undersigned, offer to provide Repair contract for SMPS power plants including Modules in Mandi SSA, in conformity with the conditions of contract and specifications attached herewith and made part of this Bid for the sum shown in schedule of prices attached.

      - We undertake, if our Bid is accepted, to commence services immediately and to comply the conditions specified in the contract. We undertake to take over the equipments under as detailed at section IX from date of agreement. We have thoroughly examined the details of power plants in Section IX of bid document and are fully satisfied that the equipment proposed to be covered by Repair contract will work in full throughout the Repair contract period.

      - We agree to abide by this Bid for a period of 150 days from the date fixed for Bid opening and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

      - We undertake to extend a comprehensive warrantee cover, for a period of three months, starting from the date of expiry of Repair contract.

      - Until a formal Contract is prepared and executed, this Bid together with your written acceptance thereof in your notification of award shall, constitute a binding contract between us.

      - Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement.

      - We also declare that the printed terms and conditions, if any at the back of our tender quotation or any other paper enclosed are not applicable.

      - If our Bid is accepted, we will submit security deposit for an amount equal to 10 % ( Including 2.5 % EMD) of the value of Repair contract for due performance of contract.

      - We understand that you are not bound to accept the lowest or any bid, you may receive.

Dated this …………………. Day of ……………………. 2013.

Name in Block Letters of the Signatory:………………………..

Signature:……………………………………………………..

In capacity of  ……………………………………………………

Duly authorized to sign the bid for and on behalf of …………………………………………

Witness ………………….

Signature………………….

Address ………………….

Note :- In case of authorized signatory the authorization letter on letter head of the firm must accompany.

# SECTION-VII

PART-II

PRICE SCHEDULE

FINANCIAL BID

Schedule of Rates

With reference to your tender notice, -----------------------------------------------

I/We hereby tender my/our rates for Repair of

Power Plants (25 Amp/50 Amp/100Amp) on Call basis in Mandi S.S.A.

QUOTATION OF RATES:

(Rate running, contract for one year for Repair of SMPS Power Plants)

| S.No | Description of Power Plant with module of (SMPS) | Repair rate per module all makes (on Call Basis) Repair at Site. | Repair rate per module all makes (on Call Basis) Repaired at Central Location (Sundernagar) |
| --- | --- | --- | --- |
|  |  | Rate in figure | Rate in figure | Rate in figure | Rate in figure |
| 1 | 25Amp |  |  |  |  |
| 2 | 50Amp |  |  |  |  |
| 3 | 100Amp |  |  |  |  |

## NOTES:

1.	Rates should be quoted for repairing charges including the cost of spares to be used.

- All tools required for job will be arranged   by the contractor himself.

- Rates should be inclusive of transportation charges for labour and material.

- Rates should be inclusive of all taxes such as Income Tax, Excise duty, Octroi and

Trade Tax etc, but excluding of service tax as per prevailing instructions.

- No TA/DA will be admissible to Service Engineer.

- Boarding and Lodging facility will not be provided by the BSNL.

- Handing over/Taking over of the material will be done at the respective site / central site only.

SECTION VIII

AUTHORISATION FOR ATTENDING BID OPENING

TO

GMTD,

Mandi (HP)

Subject:- Authorization for attending bid opening.

Reference: GMTD MANDI Tender no._______________________________________

dated________________.

Following persons are hereby authorized to attend the bid opening for the tender mentioned on behalf of ______________________________________________ _____________________________________________________________(Bidder) in the order of preference given below.

Order of Preference.   		Name					Specimen Signature.

1st.

2nd

Signature of Bidder.

| SECTION IX |
| --- |
| LIST OF POWER PLANT IN MANDI SSA |
| S.No. | Exchange | Sub division | SDCA | Type of Power Plant | Rating | Make | No of Modules |
| 1 | BAGGI | BNGT | MND | SMPS | 50A | EXECOM | 5 |
| 2 | BHANGROTU | BNGT | MND | SMPS | 100A | Ador Powertron | 4 |
| 3 | LEDA | BNGT | MND | SMPS | 100A | ITI | 4 |
| 4 | LOHAKHAR | BNGT | MND | SMPS | 25A | UPTRON | 3 |
| 5 | MAIRA MASIT | BNGT | MND | SMPS | 100A | ITI | 4 |
| 6 | NAINADEVI BTS | BNGT | MND | SMPS | 100A | ITI | 4 |
| 7 | REWALSAR | BNGT | MND | SMPS | 100A | ITI | 4 |
| 8 | SADHYANI | BNGT | MND | SMPS | 25A | UPTRON | 3 |
| 9 | SARDHWAR | BNGT | MND | SMPS | 25A | ITI | 4 |
| 10 | AHJU BTS | CNTR | JNR | SMPS | 100A | EXECOM | 4 |
| 11 | CHAUNTRA | CNTR | JNR | SMPS | 100A | ITI | 4 |
| 12 | KARSAL | CNTR | JNR | SMPS | 25A | UPTRON | 4 |
| 13 | KHADDAR | CNTR | JNR | SMPS | 25A | UPTRON | 4 |
| 14 | KHAZOOR | CNTR | JNR | SMPS | 25A | UPTRON | 4 |
| 15 | LAD BHAROL | CNTR | JNR | SMPS | 100A | ITI | 4 |
| 16 | NERI LANGNA | CNTR | JNR | SMPS | 25A | UPTRON | 4 |
| 17 | OOTPUR | CNTR | JNR | SMPS | 25A | UPTRON | 4 |
| 18 | PANDOL | CNTR | JNR | SMPS | 100A | ITI | 4 |
| 19 | TULLAH | CNTR | JNR | SMPS | 25A | UPTRON | 4 |
| 20 | GANGOTI | CNTR | JNR | SMPS | 25A | XL TL | 4 |
| 21 | BERI | DMP | MND | SMPS | 25A | ITI | 3 |
| 22 | CHHATTER | DMP | MND | SMPS | 25A | UPTRON | 3 |
| 23 | DHALARA | DMP | MND | SMPS | 25A | UPTRON | 1 |
| 24 | DHARAMPUR | DMP | MND | SMPS | 100A | ITI | 4 |
| 25 | MARHI | DMP | MND | SMPS | 25A | XL TL | 1 |
| 26 | SAJAOPIPLOO | DMP | MND | SMPS | 100A | ITI | 3 |
| 27 | Sandhole | DMP | MND | SMPS | 100A | Ador Powertron | 4 |
| 28 | SEOH | DMP | MND | SMPS | 100A | Ador Powertron | 3 |
| 29 | SIDHPUR | DMP | MND | SMPS | 25A | UPTRON | 1 |
| 30 | BANERDI | DMP | MND | SMPS | 50A | DELTA | 3 |
| 31 | LONGNI | DMP | MND | SMPS | 25A | XL.TELECOM | 4 |
| 32 | SARI | DMP | MND | SMPS | 25A | ITI | 4 |
| 33 | KAMLAH BTS | DMP | MND | SMPS | 50A | ITI | 4 |
| 34 | BAGSAID | GHRT | SNR | SMPS | 100A | EXECOM | 4 |
| 35 | CHIUNI | GHRT | SNR | SMPS | 25A | SYSTRON | 3 |
| 36 | GOHAR | GHRT | SNR | SMPS | 100A | HBL | 8 |
| 37 | JACHH | GHRT | SNR | SMPS | 25A | ITI | 4 |
| 38 | JAHAL | GHRT | SNR | SMPS | 25A | XL TL | 4 |
| 39 | Janjehali | GHRT | SNR | SMPS | 100A | Ador Powertron | 4 |
| 40 | Kathiala WLL BTS | GHRT | SNR | SMPS | 100A | EXECOM | 5 |
| 41 | KELODHAR | GHRT | SNR | SMPS | 25A | ITI | 3 |
| 42 | MOVISERI | GHRT | SNR | SMPS | 25A | AFCO SET | 4 |
| 43 | SIYANJ | GHRT | SNR | SMPS | 25A | ITI | 2 |
| 44 | Thunag | GHRT | SNR | SMPS | 100A | Ador Powertron | 4 |
| 45 | SIKAWARI | GHRT | SNR | SMPS | 25A | XL TL | 4 |
| 46 | DHANGYARA WLL BTS | GHRT | SNR | SMPS | 100A | HECL | 4 |
| 47 | KALIGARH WLL BTS | GHRT | SNR | SMPS | 100A | XL TL | 3 |
| 48 | DHARGALU WLL BTS | GHRT | SNR | SMPS | 100A | HECL | 4 |
| 49 | BAROT | JNRT | JNR | SMPS | 25A | ITI | 4 |
| 50 | Bhararu | JNRT | JNR | SMPS | 25A | Ador Powertron | 4 |
| 51 | DRUBBAL | JNRT | JNR | SMPS | 100A | SALORA | 4 |
| 52 | GHATASNI (BTS) | JNRT | JNR | SMPS | 25A | AFCO SET | 3 |
| 53 | JNR | JNRT | JNR | SMPS | 100A | ITI | 4 |
| 54 | JNR | JNRT | JNR | SMPS | 100A | ITI | 2 |
| 55 | KUFRI | JNRT | JNR | SMPS | 25A | UPTRON | 4 |
| 56 | MAKRERI | JNRT | JNR | SMPS | 25A | ITI | 4 |
| 57 | NAUHLI | JNRT | JNR | SMPS | 25A | UPTRON | 4 |
| 58 | PADHAR | JNRT | JNR | SMPS | 100A | SALORA | 4 |
| 59 | SUDHAR | JNRT | JNR | SMPS | 25A | ITI | 4 |
| 60 | THALTUKHOD | JNRT | JNR | SMPS | 25A | UPTRON | 4 |
| 61 | TIKROO | JNRT | JNR | SMPS | 100A | HFCL | 4 |
| 62 | URLA | JNRT | JNR | SMPS | 25A | XL.TL | 4 |
| 63 | PHULADHAR BTS | JNRT | JNR | SMPS | 100A | XL.TL | 4 |
| 64 | GUMMA | JNRT | JNR | SMPS | 25A | ITI | 4 |
| 65 | SAINTHAIL BTS | JNRT | JNR | SMPS | 50A | DELTA | 4 |
| 66 | Ghoghardhar BTS | JNRT | JNR | SMPS | 25A | ELTEK | 4 |
| 67 | ASLA | KSGT | SNR | SMPS | 25A | ITI | 4 |
| 68 | BROKHARI | KSGT | SNR | SMPS | 25A | ITI | 2 |
| 69 | CHARKHARI | KSGT | SNR | SMPS | 25A | ITI | 2 |
| 70 | CHATRI | KSGT | SNR | SMPS | 100A | Ador Powertron | 4 |
| 71 | CHURAG | KSGT | SNR | SMPS | 100A | Ador Powertron | 4 |
| 72 | KARSOG | KSGT | SNR | SMPS | 100A | ITI | 4 |
| 73 | KARSOG | KSGT | SNR | SMPS | 100A | EXECOM | 6 |
| 74 | SERI | KSGT | SNR | SMPS | 25A | ITI | 1 |
| 75 | MAHOG | KSGT | SNR | SMPS | 25A | ITI | 2 |
| 76 | MAHOG BTS | KSGT | SNR | SMPS | 100A | EXECOM | 4 |
| 77 | MAHUNAG | KSGT | SNR | SMPS | 100A | ITI | 3 |
| 78 | NIHRI | KSGT | SNR | SMPS | 25A | ITI | 2 |
| 79 | PANGNA | KSGT | SNR | SMPS | 25A | ITI | 4 |
| 80 | RECHTADHAR BTS | KSGT | SNR | SMPS | 100A | EXECOM | 4 |
| 81 | SAINJ BAGRA | KSGT | SNR | SMPS | 25A | ITI | 2 |
| 82 | TATTAPANI | KSGT | SNR | SMPS | 25A | ITI | 1 |
| 83 | THAKARTHANA BTS | KSGT | SNR | SMPS | 100A | ADOR | 4 |
| 84 | JASSEL BTS | KSGT | SNR | SMPS | 100A | EXCOM | 5 |
| 85 | Nihri M/W | KSGT | SNR | SMPS | 100A | SABNIFE | 5 |
| 86 | ChindiBTS | KSGT | SNR | SMPS | 50A | DELTA | 3 |
| 87 | GSM PALI | MNDT | MND | SMPS | 25A | ITI | 4 |
| 88 | BARAGRAON | MNDT | MND | SMPS | 25A | UPTRON | 4 |
| 89 | BATHERI | MNDT | MND | SMPS | 25A | UPTRON | 4 |
| 90 | BIR(MND) | MNDT | MND | SMPS | 100A | ITI | 4 |
| 91 | DARANG | MNDT | MND | SMPS | 100A | SALORA | 4 |
| 92 | GAMDHOL | MNDT | MND | SMPS | 25A | UPTRON | 4 |
| 93 | GOKHARA | MNDT | MND | SMPS | 100A | ITI | 4 |
| 94 | KARKOH | MNDT | MND | SMPS | 25A | ITI | 4 |
| 95 | KATAULA | MNDT | MND | SMPS | 25A | UPTRON | 4 |
| 96 | KATHLAG | MNDT | MND | SMPS | 100A | EXECOM | 4 |
| 97 | KHAD KHALYANA | MNDT | MND | SMPS | 25A | EXECOM | 4 |
| 98 | KOT | MNDT | MND | SMPS | 25A | UPTRON | 4 |
| 99 | KOTLI | MNDT | MND | SMPS | 100A | EXECOM | 7 |
| 100 | NAVLAY | MNDT | MND | SMPS | 25A | XL TL | 4 |
| 101 | RANDHARA | MNDT | MND | SMPS | 25A | ITI | 4 |
| 102 | Katindi | MNDT | MND | SMPS | 100A | ITI | 4 |
| 103 | Bhiuli | MND (P) | MND | SMPS | 100A | Ador Powertron | 4 |
| 104 | Tarna M/W | MND (P) | MND | SMPS | 100A | SABNIFE | 4 |
| 105 | Bhiuli BTS | MND (P) | MND | SMPS | 50A | DELTA | 4 |
| 106 | Khaliar BTS | MND (P) | MND | SMPS | 50A | DELTA | 4 |
| 107 | Purani Mandi BTS | MND (P) | MND | SMPS | 50A | DELTA | 4 |
| 108 | Jail Road BTS | MND (P) | MND | SMPS | 50A | DELTA | 5 |
| 109 | Ram Nagar BTS | MND (P) | MND | SMPS | 50A | DELTA | 4 |
| 110 | AUT | PNHT | MND | SMPS | 100A | ITI | 4 |
| 111 | Balichowki | PNHT | MND | SMPS | 25A | ITI | 4 |
| 112 | BALU | PNHT | MND | SMPS | 25A | UPTRON | 3 |
| 113 | GADAGUSHAN | PNHT | MND | SMPS | 25A | ITI | 3 |
| 114 | Shiwabadar | PNHT | MND | SMPS | 25A | XL TL | 4 |
| 115 | JWALAPUR | PNHT | MND | SMPS | 25A | UPTRON | 3 |
| 116 | JWALAPUR WLL BTS | PNHT | MND | SMPS | 100A | ITI | 4 |
| 117 | NAGWAIN | PNHT | MND | SMPS | 100A | ITI | 4 |
| 118 | PANDOH | PNHT | MND | SMPS | 100A | EXECOM | 3 |
| 119 | PANJAIN | PNHT | MND | SMPS | 25A | ITI | 3 |
| 120 | ROPA | PNHT | MND | SMPS | 25A | ITI | 3 |
| 121 | SAROA | PNHT | MND | SMPS | 25A | XL TL | 3 |
| 122 | SOJHA | PNHT | MND | SMPS | 25A | ITI | 3 |
| 123 | THACHI | PNHT | MND | SMPS | 100A | EXECOM | 5 |
| 124 | SURATH | PNHT | MND | SMPS | 100A | EXECOM | 4 |
| 125 | MAJHWAR | PNHT | MND | SMPS | 25A | XL TL | 4 |
| 126 | KOTMOSRE | PNHT | MND | SMPS | 25A | XL TL | 4 |
| 127 | HANOGI | PNHT | MND | SMPS | 25A | XL TL | 4 |
| 128 | SUDHARANI | PNHT | MND | SMPS | 25A | XL TL | 4 |
| 129 | GSM SHIVABADAR | PNHT | MND | SMPS | 25A | ITI | 3 |
| 130 | BALDWARA | SKGT | MND | SMPS | 100A | Ador Powertron | 4 |
| 131 | Balhra | SKGT | MND | SMPS | 25A | ITI | 4 |
| 132 | BHADERWAR | SKGT | MND | SMPS | 25A | ITI | 4 |
| 133 | BHAMBLA | SKGT | MND | SMPS | 100A | ITI | 4 |
| 134 | CHANDESH | SKGT | MND | SMPS | 100A | ITI | 4 |
| 135 | CHOLANGARH | SKGT | MND | SMPS | 25A | ITI | 4 |
| 136 | CHOLTHARA | SKGT | MND | SMPS | 100A | ITI | 6 |
| 137 | DHALWAN | SKGT | MND | SMPS | 100A | ITI | 4 |
| 138 | DURGAPUR | SKGT | MND | SMPS | 25A | ITI | 4 |
| 139 | FATEHPUR | SKGT | MND | SMPS | 100A | EXECOM | 4 |
| 140 | GADIDHAR | SKGT | MND | SMPS | 25A | UPTRON | 4 |
| 141 | PATRIGHAT | SKGT | MND | SMPS | 25A | UPTRON | 4 |
| 142 | RAKHOH | SKGT | MND | SMPS | 100A | ITI | 4 |
| 143 | ROPRI | SKGT | MND | SMPS | 100A | Ador Powertron | 4 |
| 144 | SARKAGHAT | SKGT | MND | SMPS | 100A | EXECOM | 6 |
| 145 | THONA | SKGT | MND | SMPS | 25A | ITI | 4 |
| 146 | TIHRA | SKGT | MND | SMPS | 100A | ITI | 4 |
| 147 | TRIFALGHAT | SKGT | MND | SMPS | 25A | XL.TL | 4 |
| 148 | CHANDYAL | MNDT | MND | SMPS | 100A | Ador Powertron | 4 |
| 149 | Mandi OCB/TAX | SDE-I/D | MND | SMPS | 100A | HECL | 11 |
| 150 | Mandi OCB/TAX | SDE-I/D | MND | SMPS | 100A | ELTEK | 8 |
| 151 | CHATROKHARI | SNR-P | SNR | SMPS | 100A | ITI | 4 |
| 152 | SUNDER NAGAR | SNR-P | SNR | SMPS | 100A | HECL | 14 |
| 153 | BADHU | SNR-T | SNR | SMPS | 25A | UPTRON | 2 |
| 154 | BANGLOO | SNR-T | SNR | SMPS | 25A | ITI | 4 |
| 155 | DEHAR | SNR-T | SNR | SMPS | 100A | ITI | 4 |
| 156 | DINAK | SNR-T | SNR | SMPS | 100A | Ador Powertron | 4 |
| 157 | JAIDEVI | SNR-T | SNR | SMPS | 25A | UPTRON | 2 |
| 158 | JAROL | SNR-T | SNR | SMPS | 100A | EXECOM | 4 |
| 159 | MALOH | SNR-T | SNR | SMPS | 25A | UPTRON | 2 |
| 160 | SLAPPER | SNR-T | SNR | SMPS | 100A | Ador Powertron | 4 |
| 161 | SAINJI | SNR-T | SNR | SMPS | 25A | XL-TL | 4 |
| 162 | SUKKIBAIN | SNR-T | SNR | SMPS | 25A | XL-TL | 4 |
| 163 | TELELI | SNR-T | SNR | SMPS | 25A | XL-TL | 4 |
| 164 | SLAPPER BTS | SNR-T | SNR | SMPS | 100A | ITI | 2 |
| 165 | PUARAKHITHI | SNR-T | SNR | SMPS | 25A | ITI | 4 |
| 166 | Muraridevi BTS (GSM/WLL ) | SNR-T | SNR | SMPS | 100A | Exicom | 4 |
| 167 | Maloh BTS (GSM/WLL ) | SNR-T | SNR | SMPS | 100A | ITI | 4 |
| 168 | Saneehan BTS (WLL ) | SNR-T | SNR | SMPS | 100A | ITI | 4 |
| 169 | BAGGI BTS | BGU | MND | SMPS | 50A | Delta | 5 |
| 170 | KANAID BTS | BGU | SNR | SMPS | 50A | Delta | 4 |
| 171 | MUNDRU BTS | BGU | MND | SMPS | 50A | Delta | 4 |
| 172 | CHOPRU(THUNAG) BTS | GHR | SNR | SMPS | 50A | Delta | 4 |
| 173 | THIMA DEVI BTS | GHR | SNR | SMPS | 50A | Delta | 4 |
| 174 | BASAHIDHAR BTS | JNR | JNR | SMPS | 50A | Delta | 4 |
| 175 | JIMJIMA BTS | JNR | JNR | SMPS | 50A | Delta | 4 |
| 176 | LADBHROL BTS | LBR | JNR | SMPS | 50A | Delta | 4 |
| 177 | BHARGAON | MNDT | MND | SMPS | 100A | Exicom | 4 |
| 178 | BIR GSM BTS | MNDT | MND | SMPS | 50A | Delta | 4 |
| 179 | KATAULA GSM BTS | MNDT | MND | SMPS | 50A | Delta | 4 |
| 180 | KEHNWAL WLL BTS | MNDT | MND | SMPS | 50A | Delta | 3 |
| 181 | LAGDHAR GSM BTS | MNDT | MND | SMPS | 50A | Delta | 4 |
| 182 | SEHLI GSM BTS | MNDT | MND | SMPS | 50A | Delta | 4 |
| 183 | BALI CHOWKI BTS | POH | MND | SMPS | 50A | Delta | 4 |
| 184 | PANDOH-II BTS | POH | MND | SMPS | 50A | Delta | 4 |
| 185 | PANJAIN BTS | POH | MND | SMPS | 50A | Delta | 4 |
| 186 | BALHRA(Baldwara) BTS | SKT | MND | SMPS | 50A | Delta | 4 |
| 187 | BHADERWAR BTS | SKT | MND | SMPS | 50A | Delta | 4 |
| 188 | GOPALPUR BTS | SKT | MND | SMPS | 50A | Delta | 4 |
| 189 | HUKKAL BTS | DMR | MND | SMPS | 50A | Delta | 4 |
| 190 | PARSADA BTS | SKT | MND | SMPS | 50A | Delta | 4 |
| 191 | BBMB SUNDER NAGAR BTS | SNRP | SNR | SMPS | 50A | Delta | 4 |
| 192 | BHOJPUR BTS | SNRP | SNR | SMPS | 50A | Delta | 4 |
| 193 | CHATROKHADI BTS | SNRP | SNR | SMPS | 50A | Delta | 4 |